## Labour Rates
Labour Rates - BMS 2026 |  | Example for Claude. Showing how this appears on the Wiring Line Item
Single Rates | Labour Cost €
AGV | 12.144
Panta BMS Tech | 21.5
Panta BMS Engineer | 32
Pair Rates
AGV + AGV | 24.288
AGV + Panta BMS Tech | 33.644
How they are used in quotes:
1) AGV Pair | 24.288
2) BMS Pair | 33.644
3) BMS Tech - Single Rate | 21.5
4) BMS Engineer - Always Single Rate | 32

## Wiring Installation
Wiring Installation - Material + Labour
Notes to Claude:
The installation of cabling is made up of material & labour.
The material is made of the wire itself, and also containment.
The wiring and containment is measure in a cost of Euros per metre.
The labour is measured as Euros per metre too.
The table below will reflect this for different types of wiring.
I always express the amount of containment as a percentage of the total length of the wire. That percentage can be 0%, where there is no containment required. Or 100% where there is containment required for every metre of the wiring.
Each time there is a wiring line item, there should also automatically be a containment line item below it. I can make the adjustment for containment by adjusting length. (eg if there is 1000m wiring, and I need 25%, then I can just add the 250m contrainment in the line item.)
Here are the types of Cable:
Description | Part No | per metre, landed | installation
3 Core Signal Cable with 0.75mm Diameter | 3c0.75mm | 0.5 | 0.11
4 Core Signal Cable with 0.75mm Diameter | 4c0.75mm | 0.55 | 0.11
Cat 6 Cable | Cat6
Modbus Cable | Modbus | 0.82 | 0.11
Here are the types of Containment
20mm Galvanised |  | 3.66 | 0.15
25mm Galvanised |  | 2.88 | 0.15
20mm PVC |  | 1.21 | 0.15
25mm PVC |  | 1.25 | 0.15
Example for Claude. Showing how this appears on the Wiring Line Item
|  |  |  | Internal Code | Internal Code Number | No Idea - Always There | Internal Code Number | Rate | Rate Total | Labour | Labour Total
50 | metre | 25mm Galvanized |  | BMSE_001 | 421 | (__) | 3 | 3.66 | 183 | 0.15 | 0
100 | metre | Wiring - 3c 0.75mm Signal Cabling |  | BMSE_001 | 421 | (__) | 3 | 0.55 | 55 | 0.11 | 0

## Cost Codes for Claude
Erection materials | 501 | 1
Busbar Trunking | 505 | 1
Switchgear | 510 | 2
MCC Equipment | 511 | 2
BMS Equipment | 512 | 2
PVC Pipes / Ducts | 520 | 1
High/medium voltage switchgear | 530 | 2
Power Transformers | 550 | 2
Control Panels | 570 | 2
Electrical Single Core Cables | 615 | 2
Electrical Multicore Cables | 616 | 2
ELV/BMS/Special Cables | 617 | 2
Cables accessories | 620 | 2
Galv. Cable Trays | 650 | 1
PVC Cable Trays | 651 | 1
Galv. Cable Basket | 652 | 1
Galv. Cable Ladder | 654 | 1
Galv. Cable Trunking | 675 | 1
Alum. Cable Trunking | 676 | 1
PVC Cable Trunking | 680 | 1
Underfloor Cable Trunking | 681 | 1
Galv. Conduit | 690 | 1
PVC Conduit | 700 | 1
Wiring Accessories | 705 | 3
Dimming Equipment | 706 | 3
Fire Alarm Equipment | 725 | 3
Fire Barriers | 726 | 3
Security Alarm System | 750 | 3
Access Control | 751 | 3
Hotel Electronic Lock | 752 | 3
Sub-Contracting Installation Elec | 753 | 3
Timing Equipment | 770 | 3
Public Address | 790 | 3
Voice Alarm Equipment | 791 | 3
Lightning / Bonding System | 810 | 3
T.V System | 815 | 3
UPS/Voltage Stabilisers | 820 | 2
Data Network Equipment | 821 | 3
Light Fittings | 835 | 3
Generators, AMF Panels | 845 | 2
Telephone Equipment | 855 | 3
Intercom | 856 | 3
Mechanical for Electrical | 857 | 3
Nurse Call | 858 | 3
C.C.T.V. Equipment | 865 | 3
Tools and Instruments | 870 | 4
Consumbles | 875 | 1
Drawings/Manuals | 880 | 3
Spare Parts | 885 | 4
Labour | 900 | 3
Dismantling (Labour Only) | 901 | 1
Testing & Commissioning | 902 | 3
Sub-Contracting Works | 960 | 4
Enemalta Application | 961 | 3
Crainage and Transportation | 962 | 1
Controllers | 410 | 4
Controller Modules | 411 | 4
Signal Cable | 412 | 4
Modbus Cable | 413 | 4
CAT Cable | 414 | 4
Control Panels MCC DDC Security Fire | 415 | 4
Field Devices | 416 | 4
DALI - KNX | 417 | 4
Fire Equipment | 418 | 4
Data Networks Equipment | 419 | 4
Panel Building | 420 | 4
Termination, Point Testing, FAT | 421 | 4
Provisional Sum | 970 | 4

## Blocks
|  | Basic EF Control Panel - DoL | [5 empty] | n
[11 empty] | 0 |  | #REF!
1 | No | Wall‑mounted enclosure 1 door IP66 H=500 W=400 D=300mm | Schrack | WSA5040300 | BMSE_001 | 415 | (__) |  | 3 | 80.91 | 80.91 |  | #REF!
1 | No | Wall-mounting brackets for WSA, WKT, WKA and BUS enclosures | Schrack | WSAWB004 | BMSE_001 | 415 | (__) |  | 3 | 3.43 | 3.43 |  | #REF!
1 | No | Knitted earthing cable 260mm long, blank | Schrack | WSTCUF260 | BMSE_001 | 415 | (__) |  | 3 | 2.55 | 2.55 |  | #REF!
1 | No | Selector switch, 3 pos, stay-put, clamp handle | Schrack | MM216872 + accessories | BMSE_001 | 415 | (__) |  | 3 | 8 | 8 |  | #REF!
1 | No | Motor Protection Circuit Breaker BE2, 3-pole, 6-10A | Schrack | BE201000 | BMSE_001 | 415 | (__) |  | 3 | 9.55 | 9.55 |  | #REF!
2 | No | Screw earth terminal 6/10 mm², type AVK 6/10 T | Schrack | IK622010 | BMSE_001 | 415 | (__) |  | 3 | 1.25 | 2.5 |  | #REF!
2 | No | Auxiliary contact, front-mounting for BE2 | Schrack | BE2ZAF11 | BMSE_001 | 415 | (__) |  | 3 | 0.094 | 0.188 |  | #REF!
1 | No | CAPUS Panel - Switch-disconnector 3 pole 25A | Schrack | SI338120 | BMSE_001 | 415 | (__) |  | 3 | 16.91 | 16.91 |  | #REF!
1 | No | CAPUS Panel - Set connection space cover | Schrack | SI336940 | BMSE_001 | 415 | (__) |  | 3 | 5.57 | 5.57 |  | #REF!
1 | No | CAPUS Panel - Extension shaft, length 300 mm | Schrack | SI336820 | BMSE_001 | 415 | (__) |  | 3 | 5.7 | 5.7 |  | #REF!
1 | No | CAPUS Panel - Rotary handle for door coupling drive, black | Schrack | SI336650 | BMSE_001 | 415 | (__) |  | 3 | 7.4 | 7.4 |  | #REF!
1 | No | LED-indicator monobloc 230VAC/DC red | Schrack | BZ501215-B | BMSE_001 | 415 | (__) |  | 3 | 0.98 | 0.98 |  | #REF!
1 | No | LED-indicator monobloc 230VAC/DC green | Schrack | BZ501218-B | BMSE_001 | 415 | (__) |  | 3 | 0.98 | 0.98 |  | #REF!
3 | No | LED‑indicator monobloc 230VAC/DC white | Schrack | BZ501219-B | BMSE_001 | 415 | (__) |  | 3 | 0.98 | 2.94 |  | #REF!
0 | No | Digital 1 channel day/week timer | Schrack | BZH14071 | BMSE_001 | 415 | (__) |  | 3 | 24.4 | 0 |  | #REF!
5 | No | Miniature Circuit Breaker (MCB) AMPARO 10kA, B 2A, 1-pole | Schrack | AM018102 | BMSE_001 | 415 | (__) |  | 3 | 2.42 | 12.1 |  | #REF!
1 | No | Single Phase Control Transformer 230V/24V, 100VA, IP00 | Schrack | LP602010T | BMSE_001 | 415 | (__) |  | 3 | 30 | 30 |  | #REF!
1 | No | Contactor 3‑pole, CUBICO Classic, 5,5kW, 12A, 1NO+1NC, 24VAC | Schrack | LZDC12B0 | BMSE_001 | 415 | (__) |  | 3 | 7 | 7 |  | #REF!
1 | No | Consumables | Misc |  | BMSE_001 | 415 | (__) |  | 3 | 50 | 50 |  | #REF!
1 | No | Panel Building | Catania |  | BMSE_001 | 420 | (__) |  | 3 | 250 | 250 |  | #REF!
|  | Basic EF Control Panel - With Inverter | [5 empty] | n
[11 empty] | 0 |  | 0
1 | No | Wall‑mounted enclosure 1 door IP66 H=500 W=400 D=300mm | Schrack | WSA5040300 | BMSE_001 | 415 | (__) |  | 3 | 80.91 | 80.91 |  | 0
1 | No | Wall-mounting brackets for WSA, WKT, WKA and BUS enclosures | Schrack | WSAWB004 | BMSE_001 | 415 | (__) |  | 3 | 3.43 | 3.43 |  | 0
1 | No | Knitted earthing cable 260mm long, blank | Schrack | WSTCUF260 | BMSE_001 | 415 | (__) |  | 3 | 2.55 | 2.55 |  | 0
1 | No | Selector switch, 3 pos, stay-put, clamp handle | Schrack | MM216872 + accessories | BMSE_001 | 415 | (__) |  | 3 | 8 | 8 |  | 0
1 | No | Motor Protection Circuit Breaker BE2, 3-pole, 6-10A | Schrack | BE201000 | BMSE_001 | 415 | (__) |  | 3 | 9.55 | 9.55 |  | 0
2 | No | Screw earth terminal 6/10 mm², type AVK 6/10 T | Schrack | IK622010 | BMSE_001 | 415 | (__) |  | 3 | 1.25 | 2.5 |  | 0
2 | No | Auxiliary contact, front-mounting for BE2 | Schrack | BE2ZAF11 | BMSE_001 | 415 | (__) |  | 3 | 0.094 | 0.188 |  | 0
1 | No | CAPUS Panel - Switch-disconnector 3 pole 25A | Schrack | SI338120 | BMSE_001 | 415 | (__) |  | 3 | 16.91 | 16.91 |  | 0
1 | No | CAPUS Panel - Set connection space cover | Schrack | SI336940 | BMSE_001 | 415 | (__) |  | 3 | 5.57 | 5.57 |  | 0
1 | No | CAPUS Panel - Extension shaft, length 300 mm | Schrack | SI336820 | BMSE_001 | 415 | (__) |  | 3 | 5.7 | 5.7 |  | 0
1 | No | CAPUS Panel - Rotary handle for door coupling drive, black | Schrack | SI336650 | BMSE_001 | 415 | (__) |  | 3 | 7.4 | 7.4 |  | 0
1 | No | LED-indicator monobloc 230VAC/DC red | Schrack | BZ501215-B | BMSE_001 | 415 | (__) |  | 3 | 0.98 | 0.98 |  | 0
1 | No | LED-indicator monobloc 230VAC/DC green | Schrack | BZ501218-B | BMSE_001 | 415 | (__) |  | 3 | 0.98 | 0.98 |  | 0
3 | No | LED‑indicator monobloc 230VAC/DC white | Schrack | BZ501219-B | BMSE_001 | 415 | (__) |  | 3 | 0.98 | 2.94 |  | 0
0 | No | Digital 1 channel day/week timer | Schrack | BZH14071 | BMSE_001 | 415 | (__) |  | 3 | 24.4 | 0 |  | 0
5 | No | Miniature Circuit Breaker (MCB) AMPARO 10kA, B 2A, 1-pole | Schrack | AM018102 | BMSE_001 | 415 | (__) |  | 3 | 2.42 | 12.1 |  | 0
1 | No | Single Phase Control Transformer 230V/24V, 100VA, IP00 | Schrack | LP602010T | BMSE_001 | 415 | (__) |  | 3 | 30 | 30 |  | 0
1 | No | Inverter Added per Specific Fan Requirement | Fuji Electric | [6 empty] | 0 | 0 |  | 0
1 | No | Consumables | Misc |  | BMSE_001 | 415 | (__) |  | 3 | 50 | 50 |  | 0
1 | No | Panel Building | Catania |  | BMSE_001 | 420 | (__) |  | 3 | 250 | 250 |  | 0
2.55 | No | Labour - Delivery etc | BMS Team |  | BMSE_001 | 420 | (__) |  | 3 | 0 | 0 | 1 | 0
|  | Basic ERV Control Panel | [5 empty] | n
[11 empty] | 0 |  | 0
4 | No | Duct/Immersion Temperature sensor 300mm – NTC10K | Distech | TS-DI 300 | BMSE_001 | 416 | (__) |  | 3 | 20 | 80 |  | 0
2 | No | Air Differential Pressure switch, 100..1500 Pa | Distech | PS-DPS1500 | BMSE_001 | 416 | (__) |  | 3 | 20 | 40 |  | 0
1 | No | 4th Pole for LTS63‑LTS80 E | Shrack | IN809003 | BMSE_001 | 416 | (__) |  | 3 | 7.16 | 7.16 |  | 0
1 | No | Indicator light flat, white | Shrack | MM216771 | BMSE_001 | 416 | (__) |  | 3 | 1.61 | 1.61 |  | 0
2 | No | Indicator light flat, red | Shrack | MM216772 | BMSE_001 | 416 | (__) |  | 3 | 1.6 | 3.2 |  | 0
1 | No | Push-button flat, spring-return, black | Shrack | MM216590 | BMSE_001 | 416 | (__) |  | 3 | 1.69 | 1.69 |  | 0
1 | No | Single Phase Control Transformer 230V/24V, 100VA, IP00 | Shrack | LP612010T | BMSE_001 | 416 | (__) |  | 3 | 27.29 | 27.29 |  | 0
1 | No | Buzzer, continous tone, 18 - 30VDC | Shrack | MM229025 | BMSE_001 | 416 | (__) |  | 3 | 6.57 | 6.57 |  | 0
1 | No | Fuse Carrier 3-pole, 32A, 10x38 | Shrack | IS506103 | BMSE_001 | 416 | (__) |  | 3 | 3.53 | 3.53 |  | 0
2 | No | Fuse Carrier 1-pole, 32A, 10x38 | Shrack | IS506101 | BMSE_001 | 416 | (__) |  | 3 | 1.1 | 2.2 |  | 0
4 | No | Cylindrical fuse link 10x38, 1A, characteristic gG, 500VAC | Shrack | ISZ10001 | BMSE_001 | 416 | (__) |  | 3 | 0.33 | 1.32 |  | 0
1 | No | Mini Contactor 3NO + 1NC, 20A, 230 VAC | Shrack | LA100923 | BMSE_001 | 416 | (__) |  | 3 | 12.15 | 12.15 |  | 0
1 | No | Cylindrical fuse link 10x38, 4A, characteristic gG, 500VAC | Shrack | ISZ10004 | BMSE_001 | 416 | (__) |  | 3 | 0.31 | 0.31 |  | 0
1 | No | Miniature Circuit Breaker (MCB) DC-C6/1, 10kA | Shrack | BM015106 | BMSE_001 | 416 | (__) |  | 3 | 5.12 | 5.12 |  | 0
2 | No | Miniature Circuit Breaker (MCB) DC-C2/1, 10kA | Shrack | BM015102 | BMSE_001 | 416 | (__) |  | 3 | 8.5 | 17 |  | 0
2 | No | Auxiliary contact front, 1NO+1NC | Shrack | BE082882 | BMSE_001 | 416 | (__) |  | 3 | 3.29 | 6.58 |  | 0
5 | No | Legend plate holder black, without plate | Shrack | MM216392 | BMSE_001 | 416 | (__) |  | 3 | 0.24 | 1.2 |  | 0
2 | No | Auxiliary contact side, 1NO+1NC BE5/6 | Shrack | BE072896 | BMSE_001 | 416 | (__) |  | 3 | 2.92 | 5.84 |  | 0
2 | No | Exhaust Filter 109x109x19mm, IP54, for IUKNF1523A | Shrack | IUKNE150 | BMSE_001 | 416 | (__) |  | 3 | 7.89 | 15.78 |  | 0
1 | No | Miniature Circuit Breaker (MCB) AMPARO 10kA, B 16A, 1-pole | Shrack | AM018116 | BMSE_001 | 416 | (__) |  | 3 | 1.53 | 1.53 |  | 0
1 | No | Motor Protection Circuit Breaker, 3-pole, 4.0-6.3A | Shrack | BE506300 | BMSE_001 | 416 | (__) |  | 3 | 4 | 4 |  | 0
1 | No | Wall-mounted enclosure 1 door IP65 H=600 W=400 D=155 mm | Shrack | WSA6040150 | BMSE_001 | 416 | (__) |  | 3 | 72.35 | 72.35 |  | 0
1 | No | Wall-mounted enclosure 1 door IP65 H=600 W=400 D=155 mm | Shrack | WSA6040150 | BMSE_001 | 416 | (__) |  | 3 | 72.35 | 72.35 |  | 0
1 | No | Connected System Controller - Control, Automation and Connectivity Server with support of up to 28 I/O points and 3 Modbus devices. Embedded ENVYSION Studio & Viewer. | Distech | ECY-S1000E-28 | BMSE_001 | 416 | (__) |  | 3 | 250 | 250 |  | 0
1 | No | 14 point I/O extension module for Connected System Controller. Inputs: (8) Universal inputs. Outputs: (6) Universal outputs. | Distech | ECY-8UI6UO | BMSE_001 | 416 | (__) |  | 3 | 205 | 205 |  | 0
1 | No | 100 to 240VAC power supply module for Connected System Controller | Distech | ECY-PS100-240 | BMSE_001 | 416 | (__) |  | 3 | 50 | 50 |  | 0
4 | No | Narrow Industrial Relay, 2 CO, 24VAC, 5A, LED | Shrack | RXT21R24 | BMSE_001 | 416 | (__) |  | 3 | 2.22 | 8.88 |  | 0
4 | No | Screw socket, logical arrangement for 2-pole RXT relay | Shrack | YRXT2010 | BMSE_001 | 416 | (__) |  | 3 | 1.05 | 4.2 |  | 0
1 | No | Panel Building | Mark Catania |  | BMSE_001 | 420 | (__) |  | 3 | 250 | 250 |  | 0
|  | Basic HRU Control Panel | [5 empty] | n
0 | No | Duct/Immersion Temperature sensor 300mm – NTC10K | Distech | TS-DI 300 | BMSE_001 | 416 | (__) |  | 3 | 20 | 0 |  | 0
3 | No | Air Differential Pressure switch, 100..1500 Pa | Distech | PS-DPS1500 | BMSE_001 | 416 | (__) |  | 3 | 20 | 60 |  | 0
2 | No | Duct Humidity and Temperature (2%) transducer - 140mm - 2x 0..10 V | Distech | HS-D TH 140 VV | BMSE_001 | 416 | (__) |  | 3 | 103.17 | 206.34 |  | 0
1 | No | CAPUS Panel - Switch-disconnector 3 pole + N, 80A | Shrack | SI338890-- | BMSE_001 | 416 | (__) |  | 3 | 49.46 | 49.46 |  | 0
1 | No | CAPUS Panel - Set connection space cover | Shrack | SI336980-- | BMSE_001 | 416 | (__) |  | 3 | 5.29 | 5.29 |  | 0
1 | No | CAPUS Panel Rotary handle for door coupling drive yellow-red | Shrack | SI336660-- | BMSE_001 | 416 | (__) |  | 3 | 7.4 | 7.4 |  | 0
1 | No | CAPUS Panel - Extension shaft, length 300 mm | Shrack | SI336820-- | BMSE_001 | 416 | (__) |  | 3 | 5.7 | 5.7 |  | 0
1 | No | CAPUS Panel - Set connection space cover | Shrack | SI336950-- | BMSE_001 | 416 | (__) |  | 3 | 6.27 | 6.27 |  | 0
4 | No | Indicator light flat, white | Shrack | MM216771 | BMSE_001 | 416 | (__) |  | 3 | 1.61 | 6.44 |  | 0
4 | No | Indicator light flat, red | Shrack | MM216772 | BMSE_001 | 416 | (__) |  | 3 | 1.6 | 6.4 |  | 0
1 | No | Push-button flat, spring-return, black | Shrack | MM216590 | BMSE_001 | 416 | (__) |  | 3 | 1.69 | 1.69 |  | 0
1 | No | Buzzer, continous tone, 18 - 30VDC | Shrack | MM229025 | BMSE_001 | 416 | (__) |  | 3 | 6.57 | 6.57 |  | 0
0 | No | Mini Contactor 3NO + 1NC, 20A, 230 VAC (Cut 24V for Emergency Stop or Fire Alarm) | Shrack | LA100923 | BMSE_001 | 416 | (__) |  | 3 | 12.15 | 0 |  | 0
2 | No | Miniature Circuit Breaker (MCB) DC-C6/1, 10kA | Shrack | AM017102 | BMSE_001 | 416 | (__) |  | 3 | 2.42 | 4.84 |  | 0
2 | No | Miniature Circuit Breaker (MCB) DC-C2/1, 10kA | Shrack | AM019106 | BMSE_001 | 416 | (__) |  | 3 | 2.42 | 4.84 |  | 0
10 | No | Legend plate holder black, without plate | Shrack | MM216392 | BMSE_001 | 416 | (__) |  | 3 | 0.24 | 2.4 |  | 0
0 | No | Filter and Fan - To DO | Shrack | IUKNE150 | BMSE_001 | 416 | (__) |  | 3 | 7.89 | 0 |  | 0
0 | No | Filter and Fan - To TO | Shrack | IUKNE150 | BMSE_001 | 416 | (__) |  | 3 | 7.89 | 0 |  | 0
0 | No | Filter and Fan - Thermostat - To Do | Shrack | IUKNE150 | BMSE_001 | 416 | (__) |  | 3 | 7.89 | 0 |  | 0
4 | No | Motor Protection Circuit Breaker, 3-pole, 4.0-6.3A (Cubico Model) | Shrack | XXXXXXX | BMSE_001 | 416 | (__) |  | 3 | 10 | 40 |  | 0
2 | No | Auxiliary contact front, 1NO+1NC | Shrack | XXXXXXX | BMSE_001 | 416 | (__) |  | 3 | 4 | 8 |  | 0
2 | No | Auxiliary contact side, 1NO+1NC BE5/6 | Shrack | XXXXXXX | BMSE_001 | 416 | (__) |  | 3 | 3 | 6 |  | 0
1 | No | Wall-mounted enclosure 1 door IP65 H=600 W=400 D=155 mm | Shrack | WSA6040150 | BMSE_001 | 416 | (__) |  | 3 | 72.35 | 72.35 |  | 0
0 | No | Back Plate - To DO - GRP Boxes only | Shrack | XXXXXXX | BMSE_001 | 416 | (__) |  | 3 | 4 | 0 |  | 0
1 | No | Enclosure Accessories | Shrack | WSAWB004 | BMSE_001 | 416 | (__) |  | 3 | 4 | 4 |  | 0
1 | No | Knitted Earth Cable | Shrack | WSACUF260 | BMSE_001 | 416 | (__) |  | 3 | 3 | 3 |  | 0
1 | No | Single Phase Control Transformer 230V/24V, 100VA, IP00 | Shrack | LP612010T | BMSE_001 | 416 | (__) |  | 3 | 27.29 | 27.29 |  | 0
1 | No | B-BC Connected Equipment Controller with Eclypse Gen 1 software for rooftop and small air handling unit applications with 8 UI, 2 UO, 4 DO (Triac) and 2 DUO (triac or universal). Eclypse Designer Viewer mode only. Pre-loaded apps in SI units. | Distech | ECY-303 (SI) | BMSE_001 | 416 | (__) |  | 3 | 457.71 | 457.71 |  | 0
0 | No | Connected System Controller - Control, Automation and Connectivity Server with support of up to 28 I/O points and 3 Modbus devices. Embedded ENVYSION Studio & Viewer. | Distech | ECY-S1000E-28 | BMSE_001 | 416 | (__) |  | 3 | 250 | 0 |  | 0
0 | No | 14 point I/O extension module for Connected System Controller. Inputs: (8) Universal inputs. Outputs: (6) Universal outputs. | Distech | ECY-8UI6UO | BMSE_001 | 416 | (__) |  | 3 | 205 | 0 |  | 0
0 | No | 100 to 240VAC power supply module for Connected System Controller | Distech | ECY-PS100-240 | BMSE_001 | 416 | (__) |  | 3 | 50 | 0 |  | 0
0 | No | Narrow Industrial Relay, 2 CO, 24VAC, 5A, LED | Shrack | RXT21R24 | BMSE_001 | 416 | (__) |  | 3 | 2.22 | 0 |  | 0
0 | No | Screw socket, logical arrangement for 2-pole RXT relay | Shrack | YRXT2010 | BMSE_001 | 416 | (__) |  | 3 | 1.05 | 0 |  | 0
1 | No | Panel and Enclosure Consumables (Ferruls, Trunking, Labels etc.) | Mark Catania |  | BMSE_001 | 420 | (__) |  | 3 | 50 | 50 |  | 0
20 | No | Wiring - 3c 0.75mm Signal Cabling |  |  | BMSE_001 | 420 | (__) |  | 3 | 1 | 20 |  | 0
0 | No | Panel Building | Mark Catania |  | BMSE_001 | 420 | (__) |  | 3 | 250 | 0 |  | 0
|  | FDCP (Fire Damper Control Panel) with ECY-303 and Modbus Interfaces | [5 empty] | n
[11 empty] | 0 |  | 0
1 | No | Connected Equipment Controller with Eclypse Facilities - 4 UI, 2 UO, 2 DO (Triac) and 2 DUO (triac or universal) onboard IO. Max connectivity 25 connections. No connection included. Includes two years of Atrius Facilities - Organize. | Distech | ECY-103-C1 | BMSE_001 | 410 | (__) |  | 3 |  | 0 |  | 0
1 | No | Modbus I/O Module - 4 digital inputs and 2 relay outputs - IP65, 230V | Distech | MR-DIO4/2-IP65-Modbus_RTU-230V | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
[5 empty] | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
1 | No | Connected System Controller - Control, Automation and Connectivity Server with support of up to 28 I/O points and 3 Modbus devices. Embedded ENVYSION Studio & Viewer. | Distech | ECY-S1000E-28 |  | 410 | (__) |  | 3 |  | 0 |  | 0
1 | No | 14 point I/O extension module for Connected System Controller. Inputs: (8) Universal inputs. Outputs: (6) Universal outputs. | Distech | ECY-8UI6UO | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
1 | No | 100 to 240VAC power supply module for Connected System Controller | Distech | ECY-PS100-240 | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
[5 empty] | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
1 | No | Single-phase Power Supply pulsing 230VAC/24VDC, 2,5A at 50°C | Schrack | LP412402-- | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
1 | No | Miniature Circuit Breaker (MCB) AMPARO 10kA, C 6A, 1‑pole | Schrack | AM017106-- | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
1 | No | Miniature Circuit Breaker (MCB) AMPARO 10kA, C 2A, 1-pole | Schrack | AM017102-- | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
1 | No | LED-indicator monobloc 230VAC/DC white | Schrack | BZ501219-B | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
1 | No | Miniature Circuit Breaker (MCB) AMPARO 10kA, C 1A, 1-pole | Schrack | AM017101-- | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
1 | No | 12Vdc Relay + Socket + Retaining clips + Marking tag + LED module | Schrack |  | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
1 | No | 24Vac relay (??? - fire signal might be connected directly to input) | Schrack |  | BMSE_001 | 416 | (__) |  | 3 |  | 0 |  | 0
1 | No | Enclosure - Wall Mounted - Size | Schrack |  | BMSE_001 | 416 | (__) |  | 3
|  | Simple Controller - Pump Set | [5 empty] | n
1 | No | Selector switch, 3 pos, stay-put, clamp handle | Schrack | MM216872 + accessories | BMSE_001 | 415 | (__) |  | 3 | 8 | 8 |  | 0
3 | No | LED-indicator monobloc 230VAC/DC red | Schrack | BZ501215-B | BMSE_001 | 415 | (__) |  | 3 | 0.98 | 2.94 |  | 0
1 | No | Mini Contactor 3NO + 1NC, 20A, 230 VAC | Shrack | LA100923 | BMSE_001 | 416 | (__) |  | 3 | 12.15 | 12.15 |  | 0
1 | No | Miniature Circuit Breaker (MCB) DC-C2/1, 10kA | Shrack | BM015102 | BMSE_001 | 416 | (__) |  | 3 | 8.5 | 8.5 |  | 0
1 | No | Wall-mounted enclosure 1 door IP65 H=600 W=400 D=155 mm | Shrack | WSA6040150 | BMSE_001 | 416 | (__) |  | 3 | 72.35 | 72.35 |  | 0
1 | No | Wall-mounting brackets for WSA, WKT, WKA and BUS enclosures | Schrack | WSAWB004 | BMSE_001 | 415 | (__) |  | 3 | 3.43 | 3.43 |  | 0
1 | No | Knitted earthing cable 260mm long, blank | Schrack | WSTCUF260 | BMSE_001 | 415 | (__) |  | 3 | 2.55 | 2.55 |  | 0
1 | No | Accessories | [7 empty] | 25 | 25 |  | 0
1 | No | Panel Building | [7 empty] | 150 | 150 |  | 0
|  | Basic Panel | [5 empty] | n
0 | No | Wall‑mounted enclosure 1 door IP66 H=500 W=400 D=300mm | Schrack | WSA5040300 | BMSE_001 | 415 | (__) |  | 3 | 80.91 | 0 |  | 0
0 | No | Wall-mounting brackets for WSA, WKT, WKA and BUS enclosures | Schrack | WSAWB004 | BMSE_001 | 415 | (__) |  | 3 | 3.43 | 0 |  | 0
0 | No | Knitted earthing cable 260mm long, blank | Schrack | WSTCUF260 | BMSE_001 | 415 | (__) |  | 3 | 2.55 | 0 |  | 0
0 | No | Selector switch, 3 pos, stay-put, clamp handle | Schrack | MM216872 + accessories | BMSE_001 | 415 | (__) |  | 3 | 8 | 0 |  | 0
0 | No | Motor Protection Circuit Breaker BE2, 3-pole, 6-10A | Schrack | BE201000 | BMSE_001 | 415 | (__) |  | 3 | 9.55 | 0 |  | 0
0 | No | Screw earth terminal 6/10 mm², type AVK 6/10 T | Schrack | IK622010 | BMSE_001 | 415 | (__) |  | 3 | 1.25 | 0 |  | 0
0 | No | Auxiliary contact, front-mounting for BE2 | Schrack | BE2ZAF11 | BMSE_001 | 415 | (__) |  | 3 | 0.094 | 0 |  | 0
0 | No | CAPUS Panel - Switch-disconnector 3 pole 25A | Schrack | SI338120 | BMSE_001 | 415 | (__) |  | 3 | 16.91 | 0 |  | 0
0 | No | CAPUS Panel - Set connection space cover | Schrack | SI336940 | BMSE_001 | 415 | (__) |  | 3 | 5.57 | 0 |  | 0
0 | No | CAPUS Panel - Extension shaft, length 300 mm | Schrack | SI336820 | BMSE_001 | 415 | (__) |  | 3 | 5.7 | 0 |  | 0
0 | No | CAPUS Panel - Rotary handle for door coupling drive, black | Schrack | SI336650 | BMSE_001 | 415 | (__) |  | 3 | 7.4 | 0 |  | 0
0 | No | LED-indicator monobloc 230VAC/DC red | Schrack | BZ501215-B | BMSE_001 | 415 | (__) |  | 3 | 0.98 | 0 |  | 0
0 | No | LED-indicator monobloc 230VAC/DC green | Schrack | BZ501218-B | BMSE_001 | 415 | (__) |  | 3 | 0.98 | 0 |  | 0
0 | No | LED‑indicator monobloc 230VAC/DC white | Schrack | BZ501219-B | BMSE_001 | 415 | (__) |  | 3 | 0.98 | 0 |  | 0
0 | No | Digital 1 channel day/week timer | Schrack | BZH14071 | BMSE_001 | 415 | (__) |  | 3 | 24.4 | 0 |  | 0
0 | No | Miniature Circuit Breaker (MCB) AMPARO 10kA, B 2A, 1-pole | Schrack | AM018102 | BMSE_001 | 415 | (__) |  | 3 | 2.42 | 0 |  | 0
0 | No | Single Phase Control Transformer 230V/24V, 100VA, IP00 | Schrack | LP602010T | BMSE_001 | 415 | (__) |  | 3 | 30 | 0 |  | 0
0 | No | MICRO (AS1) 3 ph / 400 V, without EMC-Filter, IP 20, 0,75kW | Fuji Electric | FVR0.4AS1S-7E | BMSE_001 | 415 | (__) |  | 3 | 68.08 | 0 | 2 | 0
0 | No | Consumables | Misc |  | BMSE_001 | 415 | (__) |  | 3 | 50 | 0 |  | 0
0 | No | Panel Building | Catania |  | BMSE_001 | 420 | (__) |  | 3 | 250 | 0 |  | 0
0 | No | Labour - Delivery etc | BMS Team |  | BMSE_001 | 420 | (__) |  | 3 | 0 | 0 | 1 | 0

## Sheet1
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