## TotalCosts (Hrs)
Cortis Lidl Zebbug_ (SJ SJ554 - R0.1).xlsx
[7 empty] | Min. Hrs | 8 | [26 empty] | Sell Rate: | 59.36 | 51.41
| Part No. | Description | Material | Drives | LL points | HL nodes | Panel Building |  |  | Panel Testing |  | Panel Design |  | Programming |  |  | Point Testing |  |  | Functional Testing |  |  | Others (Technician) |  | Others (Engineer) | Qty | Unit Price (excl. VAT) | TOTAL (excl.VAT) | TOTAL (Excl. VAT) | TOTAL (Excl. VAT) | M.U. | Tradesman rate PAIR HRS | Technician rate PAIR HRS | Engineer rate MAN HRS |  | Labour (Selling) | Engineer (Selling) | Qty | Unit Price (with Mark-up) | TOTAL (with Mark-up)
[7 empty] | Pair hrs |  | Rate: | Man hrs | Rate: | Man hrs | Rate: | Man hrs |  | Rate: | Pair hrs |  | Rate: | Man hrs |  | Rate: | Pair hrs | Rate: | Man hrs | [5 empty] | 1.2
|  |  |  | 15 | 0.5 | 5 |  | ON/OFF | 0 |  | 0 |  | 0 |  | ON/OFF | 0 |  | ON/OFF | 0 |  | ON/OFF | 0 |  | 0
|  |  |  | 0.25 | 0.25 | 1
1
1 |  | Fan Control Panel | 5797.9986 | 8 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 5797.9986 | 5797.9986 | 6957.5983 | 6957.5983 |  | 0 | 0 | 8 |  | 0 | 411.28 | 1 | 7368.8783 | 7368.8783
2 |  | B | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
3 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
4 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
5 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
6 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
7 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
8 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
9 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
10 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
11 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
12 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
13 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
14 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
15 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
16 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
17 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
18 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
19 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
20 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
21 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
22 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
23 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
24 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
25 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
26 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
27 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
28 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
29 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
30 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
31 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
32 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
33 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
34 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
35 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
36 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
37 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
38 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
39 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
40 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
41 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
42 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
43 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
44 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
45 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
46 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
47 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
48 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
49 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
50 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
51 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
52 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
53 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
54 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
55 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
56 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
57 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
58 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
59 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
60 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
61 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
62 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
63 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
64 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
65 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
66 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
67 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
68 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
69 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
70 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
71 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
72 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
73 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
74 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
75 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
76 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
77 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
78 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
79 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
80 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
81 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
82 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
83 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
84 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
85 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
86 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
88 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
89 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
90 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
91 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
92 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
93 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
94 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
95 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
96 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
97 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
98 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
99 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
100 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
101 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
102 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
103 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
104 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
105 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
106 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
107 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
108 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
109 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
110 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
111 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
112 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
113 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
114 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
115 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
116 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
117 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
118 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
119 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
120 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
121 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
122 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
123 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
124 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
125 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
126 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
127 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
128 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
129 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
130 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
131 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
132 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
133 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
---
|  | TOTAL (Excl. VAT) | 5797.9986 |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  | 5797.9986 |  | 6957.5983 |  | 0 | 0 | 8 |  | 0 | 411.28 |  |  | 7368.8783
|  | TOTAL MATERIAL COST | 5797.9986
|  | Tradesman rate PAIR HRS | 0
|  | Technician rate PAIR HRS | #REF!
|  | Engineer rate PAIR HRS | 0
Notes:
1. |  | Cost includes:
a. |  | Design
b. |  | Manufacture
c. |  | FAT
d. |  | Manual Programming of VSDs with parameters supplied.
e.
2. |  | Cost excludes:
a. |  | Installation
b. |  | Delivery

## MaterialCosts Summary
|  | Cortis Lidl Zebbug_ (SJ SJ554 - R0.1).xlsx | 5797.9986
Rev. 0
| Part No. | Description | Material | Mark-up | TOTAL
1 |  | Fan Control Panel | 5797.9986 |  | #REF!
2 |  | B | 0
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
|  | --- |  |  | #REF!
|  | TOTAL | 5797.9986 | TOTAL | #REF!
|  | TOTAL MATERIAL COST | 5797.9986
|  | Tradesman rate PAIR HRS | #REF!
|  | Technician rate PAIR HRS | #REF!
|  | Engineer rate PAIR HRS | #REF!

## Bill of Materials
|  |  | 5797.9986 |  |  | 22 | [27 empty] | 5797.9986 |  |  | 22
|  |  | 5797.9986 | [30 empty] | 5797.9986
Item No. | Supplier | Item | Part Number | Description | Unit Price (ex-VAT) | Fan Control Panel | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | -- | Quantity | Factor | FINAL QTY | Unit Price (ex-VAT) | Added material % | Contingency / Shipping | Total price (EUR) | Comments |  | Fan Control Panel | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | --
1 | Schrack | Enclosures | WSA6040300 | Wall-mounted enclosure 1 door IP66 H=600 W=400 D=300mm | 89.96 | 8 | [21 empty] | 8 | 1 | 8 | 89.96 | 0% | 5% | 755.664 |  |  | 755.664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 755.664 | TRUE | 0
2 | Schrack | Enclosures | WSAWB004 | Wall-mounting brackets for WSA, WKT, WKA and BUS enclosures | 3.43 | 8 | [21 empty] | 8 | 1 | 8 | 3.43 | 0% | 5% | 28.812 |  |  | 28.812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.812 | TRUE | 0
3 | Schrack | Enclosures | WSTCUF260 | Knitted earthing cable 260mm long, blank | 2.55 | 8 | [21 empty] | 8 | 1 | 8 | 2.55 | 0% | 5% | 21.42 |  |  | 21.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.42 | TRUE | 0
4 | Schrack | MPCB | BE201000 | Motor Protection Circuit Breaker BE2, 3-pole, 6-10A | 9.55 | 5 | [21 empty] | 5 | 1 | 5 | 9.55 | 0% | 5% | 50.1375 |  |  | 50.1375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.1375 | TRUE | 0
5 | Schrack | MPCB | BE200630 | Motor Protection Circuit Breaker BE2, 3-pole, 4-6,3A | 9.55 | 3 | [21 empty] | 3 | 1 | 3 | 9.55 | 0% | 5% | 30.0825 |  |  | 30.0825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.0825 | TRUE | 0
6 | Schrack | MPCB | BE2ZAF11 | Auxiliary contact, front-mounting for BE2 | 0.094 | 8 | [21 empty] | 8 | 1 | 8 | 0.094 | 0% | 5% | 0.7896 |  |  | 0.7896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7896 | TRUE | 0
7 | Schrack | MPCB | BE2ZAS11 | Auxiliary contact, side-mounting for BE20 | 1.71 | 8 | [21 empty] | 8 | 1 | 8 | 1.71 | 0% | 5% | 14.364 |  |  | 14.364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.364 | TRUE | 0
8 | Schrack | Isolator | SI338120 | CAPUS Panel - Switch-disconnector 3 pole 25A | 16.91 | 8 | [21 empty] | 8 | 1 | 8 | 16.91 | 0% | 5% | 142.044 |  |  | 142.044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 142.044 | TRUE | 0
9 | Schrack | Isolator | SI336940 | CAPUS Panel - Set connection space cover | 5.57 | 8 | [21 empty] | 8 | 1 | 8 | 5.57 | 0% | 5% | 46.788 |  |  | 46.788 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46.788 | TRUE | 0
10 | Schrack | Isolator | SI336820 | CAPUS Panel - Extension shaft, length 300 mm | 5.7 | 8 | [21 empty] | 8 | 1 | 8 | 5.7 | 0% | 5% | 47.88 |  |  | 47.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.88 | TRUE | 0
11 | Schrack | Isolator | SI336650 | CAPUS Panel - Rotary handle for door coupling drive, black | 7.4 | 8 | [21 empty] | 8 | 1 | 8 | 7.4 | 0% | 5% | 62.16 |  |  | 62.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.16 | TRUE | 0
12 | Schrack | Lamps | BZ501215-B | LED-indicator monobloc 230VAC/DC red | 0.98 | 16 | [21 empty] | 16 | 1 | 16 | 0.98 | 0% | 5% | 16.464 |  |  | 16.464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.464 | TRUE | 0
13 | Schrack | Lamps | BZ501218-B | LED-indicator monobloc 230VAC/DC green | 0.98 | 8 | [21 empty] | 8 | 1 | 8 | 0.98 | 0% | 5% | 8.232 |  |  | 8.232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.232 | TRUE | 0
14 | Schrack | Timer | BZH14071 | Digital 1 channel day/week timer | 24.4 | 8 | [21 empty] | 8 | 1 | 8 | 24.4 | 0% | 5% | 204.96 |  |  | 204.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 204.96 | TRUE | 0
15 | Schrack | MCB | AM018102 | Miniature Circuit Breaker (MCB) AMPARO 10kA, B 2A, 1-pole | 2.42 | 16 | [21 empty] | 16 | 1 | 16 | 2.42 | 0% | 5% | 40.656 |  |  | 40.656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.656 | TRUE | 0
16 | Fuji | VSD |  | FRN0007C2E-4E | 232.5 | 3 | [21 empty] | 3 | 1 | 3 | 232.5 | 0% | 30% | 906.75 |  |  | 906.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 906.75 | TRUE | 0
17 | Fuji | VSD |  | FRN0013C2E-4E | 332.43 | 5 | [21 empty] | 5 | 1 | 5 | 332.43 | 0% | 30% | 2160.795 |  |  | 2160.795 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2160.795 | TRUE | 0
18 |  |  |  | Consumables | 50 | 8 | [21 empty] | 8 | 1 | 8 | 50 | 0% | 5% | 420 |  |  | 420 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 420 | TRUE | 0
19 |  |  |  | Panel Building | 100 | 8 | [21 empty] | 8 | 1 | 8 | 100 | 0% | 5% | 840 |  |  | 840 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 840 | TRUE | 0
20 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
21 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
22 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
23 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
24 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
25 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
26 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
27 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
28 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
29 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
30 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
31 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
32 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
33 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
34 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
35 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
36 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
37 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
38 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
39 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
40 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
41 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
42 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
43 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
44 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
45 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
46 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
47 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
48 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
49 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
50 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
51 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
52 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
53 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
54 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
55 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
56 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
57 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
58 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
59 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
60 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
61 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
62 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
63 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
64 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
65 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
66 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
67 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
68 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
69 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
70 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
71 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
72 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
73 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
74 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
75 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
76 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
77 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
78 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
79 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
80 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
81 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
82 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
83 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
84 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
85 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
86 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
87 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
88 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
89 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
90 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
91 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
92 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
93 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
94 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
95 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
96 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
97 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
98 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
99 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
100 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
101 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
102 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
103 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
104 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
105 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
106 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
107 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
108 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
109 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
110 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
111 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
112 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
113 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
114 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
115 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
116 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
117 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
118 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
119 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
120 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
121 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
122 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
123 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
124 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
125 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
126 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
127 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
128 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
129 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
130 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
131 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
132 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
133 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
134 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
135 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
136 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
---
[31 empty] | Sub-total |  |  | 5797.9986 |  | Sub-total | 5797.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | DIFF: | 0
[31 empty] | TOTAL |  |  | 5797.9986 |  | TOTAL | 5797.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cubicle 2000x1000x400 (HxWxD) with cable compartment.
Motor circuit breaker, 30A
Miniature Circuit breaker 1 x 10A
Miniature Circuit breaker 1 x 6A
Terminals, 4q
PE -Terminals, 4q
Cable ducts 40x80 mm
Bus bars for screen connection, 500 mm
EMC screen connectors for bus bar,
Installing of switch board
Labelling of equipments
Labelling of cubicles
Power supply 230/24V DC 5A (Man reset after shutdown)
UPS power supply 1000VA
Transformer 230/24V AC, 150VA
Push-buttons
Cubicle light with door switch
Socket 230/10A
Cooling fan with filter and thermostat
Filter unit
Labelling of cubicle
PLC-units and display installing
--

## BoQ Workings
Total Material | 5797.9986
Less Drives | 2730.4536
Common Material per Enclosure | 341.3067 | (quantity 8)
VSD Small (3) | 302.25
VSD Larger (5) | 432.159
JVT | 51.41
with 1 hour Labour
Unit Price VSD Small | 772.268 | 823.678 | 2471.0341
Unit Price VSD Larger | 928.1588 | 979.5688 | 4897.8442
7368.8783

## Components
Components drop-down list
Enclosures
Components
Fan + Filter
Thermostat
Busbar
Isolator
Terminal Board
Power Supply
MPCB
MCB
Contactor
Timer
Lamps
Transformer
Relays
Switches
UPS
Diode module
Sounder
Light fitting
Energy meter
Door switch
13A socket outlet
Fuses
CTs
Hour counter
Terminal blocks
Potentiometer
DIN rail
Trunking
VSD
Controller
PLC Modules
HMI
Field Devices
Wiring
Software
Consumables

## Monitoring
| Estimated | Actual | Profit | % difference
Material | 6957.5983 | 0 | 6957.5983 | 100%
Labour | 0 | 0 | 0 | #DIV/0!
TOTAL | 6957.5983 | 0 | 6957.5983 | 100%
POs | Value
--- | ---
TOTAL | 0
Reqs | Value
--- | ---
TOTAL | 0
Labour | Hours
--- | ---
TOTAL | 0

## Shipping Costs
SUPPLIER | COUNTRY of ORIGIN |  | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / €
A.N.WALLIS & CO.LTD | UNITED KINGDOM. | E | <1,000 | min.100 | 2,500-7,000 | 7% | >7,000 | 5.5%
ARDIC ELEKTRIK SAN VE TIC LTD STI. | TURKEY | E |  |  | 15,000-25,000 | 5% | >25,000 | 3.5%
BATT CABLES | UNITED KINGDOM. | E | <1,000 | min.100 | 1,000-2,000 | 10% | 2,000-7,000 | 7%
BATT CABLES | UNITED KINGDOM. | E | 7,000-10,000 | 6% | 10,000-20,000 | 5% | >40,000 | 4%
BEGHELLI - ELPLAST A.S. | CZECH REPUBLIC | E | <1,000 | min.100 | 1,000-2,000 | 8%
BEGHELLI - ELPLAST A.S. | CZECH REPUBLIC | E | 2,000-4,000 | 6% | 10,000-16,000 | 5% | >25,000 | 3.5%
CLEVELAND CABLE CO. LTD | UNITED KINGDOM | E | <1,000 | min.100 | 3,000-5,000 | 7% | >7,000 | 5.5%
COMAT | TURKEY | E | 550 | 380 | 2000 | 550 | >25,000 | 8%
IGUZZINI | ITALY | E |  | CIF
IM.E.B SRL | ITALY | E | <1,000 | min.70 | 1,000-5000 | 800% | >28,000 | 3.5%
IMPLEX EXPORT LIMITED | UNITED KINGDOM. | E | <1,000 | min.100 | 3,000-8,000 | 7% | >8,000 | 5.5%
INTERSWITCH SRL | ITALY | E | <1,000 | min.85 | 1,000-5,000 | 6% | >10,000 | 4.5%
MARSHALL TUFFLEX INT.LTD | UNITED KINGDOM. | E | <1,000 | min.100 | 1,000-4,000 | 7% | >20,000 | 5%
N.C.M | ITALY | E | <2,000 | min.200
NUOVA CARPENTERIA MECCANICA SNC | ITALY | E | <1,500 | min.110 | 1,500-3,000 | 6%
SADA CAVI S.P.A. | ITALY | E | <1,000 | min.85 | 3,000-6,000 | 6% | >90,000 | 3.5%
SEVAL KABLO A.S. | TURKEY | E |  | CIF
SPECIAL CAVI | ITALY | E | <2,000 | min.130 | 2,000-10,000 | 7% | >20,000 | 3%
TEKOM PUK | TURKEY | E |  |  | 5,000-15,0000 | 13% | >20,000 | 15%
VATAN KABLO | TURKEY | E |  |  |  |  | >50,000 | 4%
ZUCCHINI SpA | ITALY | E | <1,000 | min.100 | 1,000-6,000 | 6% | >100,000 | 3.5%
SUPPLIER | COUNTRY of ORIGIN |  | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / €
3I INTERNATIONAL INNOVATIVE INDUSTRIES S.A. | GREECE | M | <5,000 | 6% | 5,000 - 15,000 | 5% | >15,000 | 4%
ACTIONCLIMA SRL | ITALY | M | <2,000 | min.100
ADVANCED AIR (UK) LTD | UNITED KINGDOM. | M | <4,000 | 9% | 4,000 - 8,000 | 7% | >8,000 | 6%
AIREDALE INTERNATIONAL, | UNITED KINGDOM. | M | <1,000 | min.85 |  |  | >15,000 | 4.5%
ALNOR SYSTEMY WENTYLACJI SP. Z O.O. | POLAND | M | <7,000 | 9% | 7,000 - 20,000 | 5% | >20,000 | (5%) 3.5%
ATS ISOLANTI SRL | ITALY | M | <1,000 | 10% | 2,000 - 10,000 | 6% | >10,000 | 5%
BRODBECK S.R.L | SICILY | M | <1,000 | min.85 | 1,000-2,300 | 8% | >2,300 | 6%
CALEFFI | ITALY | M |  |  | >5000 (P.O.10967) | min.100
CENTRAL TUBI | ITALY | M | <1,000 | min.85 | 1,000-10,000 | 6% | >10,000 | 5%
CHEMINEES POUJOULAT | FRANCE | M |  |  |  |  | >4,000 | 6%
DAB PUMPS SPA | ITALY | M | <1,000 | min.90 |  |  | >15,000 | 4.5%
DANTHERM AIR HANDLING A/S | DENMARK | M |  |  |  |  | >30,000 | 3.5%
DINAK S.A., | SPAIN. | M | <1,500 | min.100 | 1,500-10,000 | 6% | >10,000 | 4.5%
DM SRL | ITALY | M |  |  |  |  | >10,000 | 4.5%
DOGU IKLIMLENDIRME SAN.VE TIC.A.S. | TURKEY | M | <1,000 | min.100 | 1,000-10,000 | 6% | >10,000 | 5%
DUYAR VANA MAK. SAN. VE TIC. A.S. | TURKEY | M |  |  | 6,000-10,000 | 5% | >10,000 | 4.5%
ELTA FANS LIMITED | UNITED KINGDOM. | M | <1,000 | min.100 | 1,000-2,500 | 10% | >2,500 | 6%
EMIFLEX S.P.A | ITALY | M | <1,000 | min.85
FIRESPRAY INTERNATIONAL LTD | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-6,000 | 7%
FLOWCON INTERNATIONAL | DENMARK. | M | <1,500 | min.120 | 1,500-10,000 | 6% | >10,000 | 5%
G.M. TREBLE LTD | UNITED KINGDOM. | M | <1,000 | min.100 | 1,000-3,000 | 9% | >7,000 | 6%
GEBERIT INTERNATIONAL AG | SWITZERLAND | M | <1,000 | min.85 |  | CIF
GEORG FISCHER HAKAN PLASTIK | TURKEY | M |  | CIF
H.V.C. SUPPLIES (STOURBRIDGE) LTD | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-4,000 | 10% | >4,000 | 7%
HALCOR METAL WORKS S.A. | GREECE | M |  | CIF
I.M.I. RYCROFT LTD. | ENGLAND | M |  | CIF
INDUSTRIAL ACOUSTICS | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-2,000 | 10%
KIRTON TUBE & COMPONENTS | UNITED KINGDOM | M | <2,000 | 10% | 2,000-6,000 | 7% | >10,000 | 5%
MANN+HUMMEL VOKES AIR LTD | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-2,000 | 9%
MEKAR S.R.L | ITALY | M | <1,000 | min.85 | 1,000-15,000 | 6% | >15,000 | 4.5%
MP3 SRL., | ITALY. | M | <1,000 | min.85 | 1,000-2,500 | 8% | >2,500 | 6%
NICCONS | ITALY | M | <1,000 | min.90 | 1,000-2,000 | 8%
NIVELCO PROCESS CONTROL CO., | HUNGARY. | M | <1,000 | min.70
NOXON STAINLESS B.V. | THE NETHERLANDS. | M | <1,000 | min.85 | 1,000-2,000 | 8% | >10,000 | 4.5%
NUAIRE LIMITED | WALES | M | <1,000 | min.100 | 1,000-3,000 | 10% | >10,000 | 6%
NUPIGECO SPA | ITALY. | M | <1,000 | min. 85 | 1,000-2,500 | 8% | >7,000 | 5%
ORMANDY LIMITED | UNITED KINGDOM | M | <1,500 | 10%
P3 Srl | ITALY | M | <1,000 | min.100 | 1,000-6,000 | 11% | >23,000 | 10%
RAPIDROP GLOBAL LTD | UNITED KINGDOM. | M | <2,000 | 8%
RHOSS S.P.A., | ITALY | M | <1,000 | min.100 | 1,000-7,000 | 6% | >7,000 | 5%
ROTORK MIDLAND LTD | UNITED KINGDOM | M | <1,000 | min.100 |  |  | >2,000 | 7%
S. BRANNAN & SONS LTD | UNITED KINGDOM. | M | <1,000 | min.100 | 1,000-7,000 | 9% | >7,000 | 6%
SICC | ITALY | M | <1,000 | min.85 | 1,000-5,000 | 6% | >20,000 | 3.5%
SIEMENS ITALY SPA | ITALY | M | <1,000 | min.100 | 1,000-2,500 | 8% | >2,500 | 6%
SODECA | SPAIN | M | <1,000 | min. 100 | 1,000-10,000 | 6% | >10,000 | 4.5%
SPIROTECH BV | THE NETHERLANDS. | M | <1,000 | min.85 |  |  | >3,000 | 6%
SWEGON AIR MANAGEMENT LIMITED | UNITED KINGDOM. | M | <1,000 | min.105 | 1,000-7,000 | 7% | >7,000 | 6%
TYCO FIRE & SECURITY | UNITED KINGDOM. | M | <2,000 | min. 220 | 2,000-4,000 | 6% | >4,000 | 5%
UK EXCHANGERS LTD. | UNITED KINGDOM. | M | <2,000 | 8% |  |  | >15,000 | 5%
VIR VALVOINDUSTRIA ING. RIZZIO S.P.A. | ITALY | M | <1,000 | min. 85 | 1,000-3,000 | 9% | >3,000 | 6%
WATERTECH SPA | ITALY | M | <200 | min. 85 | 200-500 | 15%
Xylem Flow Controls Ltd. | UNITED KINGDOM. | M | <1,000 | 14% |  |  | >4,000 | 7%
SUPPLIER | COUNTRY of ORIGIN |  | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / €
D'ELPIDIO ELETTROFORNITURE | ITALY | BMS | <500 | min.100 | 500-3,000 | 4% | >3,000 | 1.5%
DISTECH CONTROLS SAS | FRACE | BMS | <300 | min. 55 | 300-1,000 | min. 80 | >5,000 | 2.5%
FUJI ELECTRIC EUROPE GMBH | GERMANY | BMS | <1,000 | min. 80 | 2,000-3,000 | 5% | >8,000 | 2%
SYSTEME HELMHOLZ | GERMANY | BMS | <1,100 | min. 60 | 4,000-5,000 | min.110
SIEMENS BUILDING TECHNOLOGIES INT. |  | BMS |  |  |  |  | >500 | DAP
SIEMENS SPA | ITALY | BMS |  |  |  |  | >500 | DAP
VENTILATION CONTROL PRODUCTS AB | SWEDEN | BMS | <1,000 | min.50 | 1,000-5,000 | min.130
Note on L29: Jason Camilleri: Considering the latest Shipping Rate rises, consider 5% instead of 3.5% Commented on 19.11.2021