## TotalCosts (Hrs)
Lewis Press (SJ549.1 R1.0).xlsx
[7 empty] | Min. Hrs | 8 | [26 empty] | Sell Rate: | 68 | 41.91
| Part No. | Description | Material | Drives | LL points | HL nodes | Panel Building |  |  | Panel Testing |  | Panel Design |  | Programming |  |  | Point Testing |  |  | Functional Testing |  |  | Others (Technician) |  | Others (Engineer) | Qty | Unit Price (excl. VAT) | TOTAL (excl.VAT) | TOTAL (Excl. VAT) | TOTAL (Excl. VAT) | M.U. | Tradesman rate PAIR HRS | Technician rate PAIR HRS | Engineer rate MAN HRS |  | Labour (Selling) | Engineer (Selling) | Qty | Unit Price (with Mark-up) | TOTAL (with Mark-up)
[7 empty] | Pair hrs |  | Rate: | Man hrs | Rate: | Man hrs | Rate: | Man hrs |  | Rate: | Pair hrs |  | Rate: | Man hrs |  | Rate: | Pair hrs | Rate: | Man hrs | [5 empty] | 1
|  |  |  | 15 | 0.5 | 5 |  | ON/OFF | 0 |  | 0 |  | 0 |  | ON/OFF | 0 |  | ON/OFF | 0 |  | ON/OFF | 0 |  | 0
|  |  |  | 0.25 | 0.25 | 1
1
1 |  | MCC Panel | 6851.2431 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 8 | 856.4054 | 6851.2431 | 856.4054 | 6851.2431 |  | 0 | 0 | 0 |  | 0 | 0 | 8 | 856.4054 | 6851.2431
2 |  | Human Machine Interface (HMI) | 699.4155 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 2 | 349.7077 | 699.4155 | 349.7077 | 699.4155 |  | 0 | 0 | 0 |  | 0 | 0 | 2 | 349.7077 | 699.4155
3 |  | Field equipment (sensors, actuators etc) | 6717.0895 | 0 | 27 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 27 | 2 | 0 | 0 |  | 0 | 27 | 0 | 0 | 5 | 1343.4179 | 6717.0895 | 1343.4179 | 6717.0895 |  | 0 | 54 | 0 |  | 3672 | 0 | 5 | 2077.8179 | 10389.0895
4 |  | Production of control systems PIDs | 0 | 0 | 27 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 27 | 1 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 |  | 0 | 0 | 28 |  | 0 | 1173.48 | 3 | 391.16 | 1173.48
5 |  | Test and commission BMS system and controls | 0 | 0 | 27 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 27 | 1 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 28 |  | 0 | 1173.48 | 5.2 | 225.6692 | 1173.48
6 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 2 | 0 | 0
7 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
8 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
9 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
10 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
11 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
12 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
13 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
14 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
15 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
16 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
17 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
18 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
19 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
20 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
21 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
22 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
23 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
24 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
25 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
26 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
27 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
28 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
29 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
30 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
31 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
32 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
33 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
34 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
35 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
36 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
37 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
38 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
39 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
40 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
41 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
42 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
43 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
44 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
45 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
46 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
47 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
48 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
49 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
50 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
51 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
52 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
53 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
54 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
55 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
56 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
57 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
58 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
59 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
60 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
61 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
62 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
63 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
64 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
65 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
66 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
67 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
68 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
69 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
70 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
71 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
72 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
73 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
74 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
75 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
76 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
77 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
78 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
79 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
80 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
81 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
82 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
83 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
84 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
85 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
86 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
88 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
89 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
90 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
91 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
92 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
93 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
94 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
95 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
96 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
97 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
98 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
99 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
100 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
101 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
102 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
103 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
104 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
105 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
106 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
107 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
108 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
109 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
110 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
111 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
112 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
113 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
114 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
115 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
116 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
117 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
118 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
119 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
120 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
121 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
122 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
123 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
124 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
125 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
126 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
127 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
128 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
129 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
130 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
131 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
132 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
133 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
---
|  | TOTAL (Excl. VAT) | 14267.748 |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 54 |  | 0 | 27 |  | 0 | 0 |  | 0 | 27 | 0 | 0 |  |  | 14267.748 |  | 14267.748 |  | 0 | 54 | 56 |  | 3672 | 2346.96 |  |  | 20286.708
|  | TOTAL MATERIAL COST | 14267.748
|  | Tradesman rate PAIR HRS | 0
|  | Technician rate PAIR HRS | #REF!
|  | Engineer rate PAIR HRS | 27
Notes:
1. |  | Assuming 20m from AHU MCC to Clean Room
2. |  | Assuming 5m from AHU to MCC
3. |  | Including the design and fabrication of the MCC up to Factory Acceptance Test.
4. |  | Including functional testing.

## MaterialCosts Summary
|  | Lewis Press (SJ549.1 R1.0).xlsx | 14267.748
Rev. 0
| Part No. | Description | Material | Mark-up | TOTAL
1 |  | MCC Panel | 6851.2431 |  | #REF!
2 |  | Human Machine Interface (HMI) | 699.4155
3 |  | Field equipment (sensors, actuators etc) | 6717.0895
4 |  | Production of control systems PIDs | 0
5 |  | Test and commission BMS system and controls | 0
6 |  | 0 | 0
7 |  | 0 | 0
8 |  | 0 | 0
9 |  | 0 | 0
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
|  | --- |  |  | #REF!
|  | TOTAL | 14267.748 | TOTAL | #REF!
|  | TOTAL MATERIAL COST | 14267.748
|  | Tradesman rate PAIR HRS | #REF!
|  | Technician rate PAIR HRS | #REF!
|  | Engineer rate PAIR HRS | #REF!

## Bill of Materials
|  |  | 14267.748 |  |  | 9 | [10 empty] | 14267.748 |  |  | 9
|  |  | 14267.748 | [13 empty] | 14267.748
Item No. | Supplier | Item | Part Number | Description | Unit Price (ex-VAT) | MCC Panel | Human Machine Interface (HMI) | Field equipment (sensors, actuators etc) | Production of control systems PIDs | Test and commission BMS system and controls | Quantity | Factor | FINAL QTY | Unit Price (ex-VAT) | Added material % | Contingency / Shipping | Total price (EUR) | Comments |  | MCC Panel | Human Machine Interface (HMI) | Field equipment (sensors, actuators etc) | Production of control systems PIDs | Test and commission BMS system and controls | 0 | 0 | 0 | 0
1 | Distech | Temp/RH | HS-D TH 140 VV | Duct Humidity and Temperature (2%) transducer - 140mm - 2x 0..10 V | 98.0115 |  |  | 8 |  |  | 8 | 1 | 8 | 98.0115 | 2% | 5% | 839.7625 |  |  | 0 | 0 | 839.7625 | 0 | 0 | 0 | 0 | 0 | 0 | 839.7625 | TRUE | 0
2 | Dwyer | Air Grid | N/A | Duct mounted airflow measurement stations | 1621 |  |  | 2 |  |  | 2 | 1 | 2 | 1621 | 2% | 0% | 3306.84 |  |  | 0 | 0 | 3306.84 | 0 | 0 | 0 | 0 | 0 | 0 | 3306.84 | TRUE | 0
3 | Distech | Pressure Sensor | PS-DPA250 VV | Air Differential Pressure and volume Flow transducer, 0..+25 , 0..+50 , 0..+100 , 0..+250 , -25..+25 , -50..+50 , -100..+100 , -150..+150 Pa – 2x 0..10 V | 85.8277 |  |  | 5 |  |  | 5 | 1 | 5 | 85.8277 | 2% | 5% | 459.6076 |  |  | 0 | 0 | 459.6076 | 0 | 0 | 0 | 0 | 0 | 0 | 459.6076 | TRUE | 0
4 | Distech | Pressure Switch | PS-DPS500 | Air Differential Pressure switch, 30..500 Pa | 17.2197 |  |  | 3 |  |  | 3 | 1 | 3 | 17.2197 | 2% | 5% | 55.3269 |  |  | 0 | 0 | 55.3269 | 0 | 0 | 0 | 0 | 0 | 0 | 55.3269 | TRUE | 0
5 | Distech | Damper | DA-016N024PX | Damper Actuator - 16Nm - Non Spring Return - 24V - Proportional Control (0-10V) | 134.292 |  |  | 3 |  |  | 3 | 1 | 3 | 134.292 | 2% | 5% | 431.4802 |  |  | 0 | 0 | 431.4802 | 0 | 0 | 0 | 0 | 0 | 0 | 431.4802 | TRUE | 0
6 | Distech | Temp | TS-DI 150 | Duct/Immersion Temperature sensor 150mm – NTC10K | 12.996 |  |  | 2 |  |  | 2 | 1 | 2 | 12.996 | 2% | 5% | 27.8374 |  |  | 0 | 0 | 27.8374 | 0 | 0 | 0 | 0 | 0 | 0 | 27.8374 | TRUE | 0
7 | Distech | Field Devices | VAVG-1805ER | Ball Valve - 3 Way - DN40 - Kvs 25 - 1 1/2" BSPP Female Connection | 126.445 |  |  | 1 |  |  | 1 | 1 | 1 | 126.445 | 2% | 5% | 135.4226 |  |  | 0 | 0 | 135.4226 | 0 | 0 | 0 | 0 | 0 | 0 | 135.4226 | TRUE | 0
8 | Distech | Power Supply | ECY-PS24 | 24VAC/VDC power supply module for Connected System Controller | 39.805 | 3 |  |  |  |  | 3 | 1 | 3 | 39.805 | 2% | 5% | 127.8935 |  |  | 127.8935 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127.8935 | TRUE | 0
9 | Distech | Controller | ECY-S1000E | Connected System Controller - Control, Automation and Connectivity Server with support of up to 320 I/O points (20 ECY I/O Extension Modules max) and 96 Modbus devices (32 Modbus RTU per trunk). Supports BACnet MS/TP. Embedded ECLYPSE Designer & Viewer. | 704.4915 | 1 |  |  |  |  | 1 | 1 | 1 | 704.4915 | 2% | 5% | 754.5104 |  |  | 754.5104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 754.5104 | TRUE | 0
10 | Distech | Digital Inputs | ECY-16DI | 16 point input extension module for Connected System Controller. Inputs: (16) Digital inputs. | 175.9875 | 1 |  |  |  |  | 1 | 1 | 1 | 175.9875 | 2% | 5% | 188.4826 |  |  | 188.4826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 188.4826 | TRUE | 0
11 | Distech | 8UI-6UO | ECY-8UI6UO-HOA | 14 point I/O extension module for Connected System Controller. Inputs: (8) Universal inputs. Outputs: (6) Universal outputs with HOA switches and potentiometers | 335.1885 | 5 |  |  |  |  | 5 | 1 | 5 | 335.1885 | 2% | 5% | 1794.9344 |  |  | 1794.9344 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1794.9344 | TRUE | 0
12 | Distech | HMI | HORYZON-C7 | 7" IP-based capacitive touchscreen colour display | 653.049 |  | 1 |  |  |  | 1 | 1 | 1 | 653.049 | 2% | 5% | 699.4155 |  |  | 0 | 699.4155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 699.4155 | TRUE | 0
13 | Distech | Adapter WIFI | ECLYPSE WiFi Adapter | Wi-Fi Adapter for Connected System Controller | 48.298 | 1 |  |  |  |  | 1 | 1 | 1 | 48.298 | 2% | 5% | 51.7272 |  |  | 51.7272 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51.7272 | TRUE | 0
14 | Schrack | MCB | BM017832 | Miniature Circuit Breaker (MCB) C, 32A, 3+N, 10kA | 21.99 | 1 |  |  |  |  | 1 | 1 | 1 | 21.99 | 2% | 5% | 23.5513 |  |  | 23.5513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.5513 | TRUE | 0
15 | Schrack | Contactor | LZDM0610 | Contactor 3-pole, CUBICO Mini, 2,2kW, 6A, 1NO, 24VAC | 7.66 | 15 |  |  |  |  | 15 | 1 | 15 | 7.66 | 2% | 5% | 123.0579 |  |  | 123.0579 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 123.0579 | TRUE | 0
16 | Schrack | Enclosures | WSA1208300 | Wall-mounted enclosure 1 door IP66 H=1200 W=800 D=300mm | 265.3 | 1 |  |  |  |  | 1 | 1 | 1 | 265.3 | 2% | 5% | 284.1363 |  |  | 284.1363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 284.1363 | TRUE | 0
17 | Schrack | Fan + Filter | IUKNE250-- | Exhaust Filter 145x145x26mm, IP54 | 11.69 | 1 |  |  |  |  | 1 | 1 | 1 | 11.69 | 2% | 5% | 12.52 |  |  | 12.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.52 | TRUE | 0
18 | Schrack | Fan + Filter | IUKNF2523A | Filter Ventilator 145x145x70mm (61m³/h), IP54 | 45.56 | 1 |  |  |  |  | 1 | 1 | 1 | 45.56 | 2% | 5% | 48.7948 |  |  | 48.7948 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48.7948 | TRUE | 0
19 | Schrack | Fan + Filter | IUK08566-- | Ventilation thermostat 1 NO switch, blue, 0°-60°C | 6.4 | 1 |  |  |  |  | 1 | 1 | 1 | 6.4 | 2% | 5% | 6.8544 |  |  | 6.8544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8544 | TRUE | 0
20 | Schrack | Isolator | IN8A2438-- | Emergency-Stop Main Switch 4-pole, floor mounted, 80A, 22kW | 47.23 | 1 |  |  |  |  | 1 | 1 | 1 | 47.23 | 2% | 5% | 50.5833 |  |  | 50.5833 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.5833 | TRUE | 0
21 | Schrack | Power Supply | LP412406-- | Single-phase Power Supply pulsing 230VAC/24VDC, 6A at 50°C | 44.5 | 1 |  |  |  |  | 1 | 1 | 1 | 44.5 | 2% | 5% | 47.6595 |  |  | 47.6595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.6595 | TRUE | 0
22 | Schrack | MPCB | BE200630-- | Motor Protection Circuit Breaker BE2, 3-pole, 4-6,3A | 9.15 | 5 |  |  |  |  | 5 | 1 | 5 | 9.15 | 2% | 5% | 48.9982 |  |  | 48.9982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48.9982 | TRUE | 0
23 | Schrack | MPCB | BE2ZAF11-- | Auxiliary contact, front-mounting for BE2 | 0.9 | 5 |  |  |  |  | 5 | 1 | 5 | 0.9 | 2% | 5% | 4.8195 |  |  | 4.8195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8195 | TRUE | 0
24 | Schrack | Contactor | LZDC12B0-- | Contactor 3-pole, CUBICO Classic, 5,5kW, 12A, 1NO+1NC, 24VAC | 5.74 | 5 |  |  |  |  | 5 | 1 | 5 | 5.74 | 2% | 5% | 30.7377 |  |  | 30.7377 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.7377 | TRUE | 0
25 | Schrack | Contactor | LZZCH011-- | Auxiliary contact front-type for CUBICO, 1NO+1NC | 1.9 | 5 |  |  |  |  | 5 | 1 | 5 | 1.9 | 2% | 5% | 10.1745 |  |  | 10.1745 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.1745 | TRUE | 0
26 | Schrack | MCB | AM018102-- | Miniature Circuit Breaker (MCB) AMPARO 10kA, B 2A, 1-pole | 2.27 | 3 |  |  |  |  | 3 | 1 | 3 | 2.27 | 2% | 5% | 7.2935 |  |  | 7.2935 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2935 | TRUE | 0
27 | Schrack | MCB | AM018104-- | Miniature Circuit Breaker (MCB) AMPARO 10kA, B 4A, 1-pole | 2.27 | 2 |  |  |  |  | 2 | 1 | 2 | 2.27 | 2% | 5% | 4.8623 |  |  | 4.8623 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8623 | TRUE | 0
28 | Schrack | Lamps | BZ501219-B | LED-indicator monobloc 230VAC/DC white | 0.88 | 3 |  |  |  |  | 3 | 1 | 3 | 0.88 | 2% | 5% | 2.8274 |  |  | 2.8274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8274 | TRUE | 0
29 | Schrack | Lamps | BZ501211-B | LED-indicator monobloc 24VAC/DC yellow | 0.86 | 3 |  |  |  |  | 3 | 1 | 3 | 0.86 | 2% | 5% | 2.7632 |  |  | 2.7632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7632 | TRUE | 0
30 | Schrack | Switches | MM900004-- | Set of illuminated push-button red 24V with 1NC contact | 6.74 | 5 |  |  |  |  | 5 | 1 | 5 | 6.74 | 2% | 5% | 36.0927 |  |  | 36.0927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.0927 | TRUE | 0
31 | Schrack | Switches | MM900003-- | Set of illuminated push-button green 24V with 1NC contact | 6.7 | 5 |  |  |  |  | 5 | 1 | 5 | 6.7 | 2% | 5% | 35.8785 |  |  | 35.8785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.8785 | TRUE | 0
32 | Schrack | Switches | MM216515-- | Emergency Stop button complete, 1N/C front | 9.41 | 1 |  |  |  |  | 1 | 1 | 1 | 9.41 | 2% | 5% | 10.0781 |  |  | 10.0781 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.0781 | TRUE | 0
33 | Schrack | Switches | MM216483-- | Emergency Stop label, 60mm dia, 4 languages | 2.13 | 1 |  |  |  |  | 1 | 1 | 1 | 2.13 | 2% | 5% | 2.2812 |  |  | 2.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2812 | TRUE | 0
34 | Schrack | Switches | MM216590-- | Push-button flat, spring-return, black | 1.74 | 2 |  |  |  |  | 2 | 1 | 2 | 1.74 | 2% | 5% | 3.7271 |  |  | 3.7271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7271 | TRUE | 0
35 | Schrack | Switches | MM216376-- | NO contact block front mtg | 1.14 | 7 |  |  |  |  | 7 | 1 | 7 | 1.14 | 2% | 5% | 8.5466 |  |  | 8.5466 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5466 | TRUE | 0
36 | Schrack | Switches | MM216374-- | Adapter ( front) | 0.56 | 4 |  |  |  |  | 4 | 1 | 4 | 0.56 | 2% | 5% | 2.399 |  |  | 2.399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.399 | TRUE | 0
37 | Schrack | Switches | MM216392-- | Legend plate holder black, without plate | 0.24 | 17 |  |  |  |  | 17 | 1 | 17 | 0.24 | 2% | 5% | 4.3697 |  |  | 4.3697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3697 | TRUE | 0
38 | Schrack | Lamps | BZ501210-B | LED-indicator monobloc 24VAC/DC red | 0.86 | 1 |  |  |  |  | 1 | 1 | 1 | 0.86 | 2% | 5% | 0.92106 |  |  | 0.92106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92106 | TRUE | 0
39 | Schrack | Transformer | LP602020T | Single Phase Control Transformer 230V/24V, 200VA, IP00 | 32.15 | 1 |  |  |  |  | 1 | 1 | 1 | 32.15 | 2% | 5% | 34.4327 |  |  | 34.4327 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.4327 | TRUE | 0
40 | Schrack | Relays | PT570012-- | Plug-in Relay 14 pin 4 C/O 12VDC 6A, series PT | 2.21 | 5 |  |  |  |  | 5 | 1 | 5 | 2.21 | 2% | 5% | 11.8346 |  |  | 11.8346 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.8346 | TRUE | 0
41 | Schrack | Relays | PT570524-- | Plug-in Relay 14 oin 4 C/O 24VAC 6A, series PT | 2.05 | 5 |  |  |  |  | 5 | 1 | 5 | 2.05 | 2% | 5% | 10.9778 |  |  | 10.9778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9778 | TRUE | 0
42 | Schrack | Relays | UR5P3011-- | Phase monitoring relay, 1CO | 30.8 | 1 |  |  |  |  | 1 | 1 | 1 | 30.8 | 2% | 5% | 32.9868 |  |  | 32.9868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32.9868 | TRUE | 0
43 | Schrack | Relays | YRS50004-- | Socket for RS/PT5 relays, screw type terminals 14-pole, 10A | 1.3 | 10 |  |  |  |  | 10 | 1 | 10 | 1.3 | 2% | 5% | 13.923 |  |  | 13.923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.923 | TRUE | 0
44 | Schrack | Switches | MM216872-- | Selector switch, 3 pos, stay-put, clamp handle | 3.92 | 5 |  |  |  |  | 5 | 1 | 5 | 3.92 | 2% | 5% | 20.9916 |  |  | 20.9916 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.9916 | TRUE | 0
45 | Schrack | Sounder | MM229028-- | Buzzer, pulse tone, 24VDC | 7.44 | 1 |  |  |  |  | 1 | 1 | 1 | 7.44 | 2% | 5% | 7.9682 |  |  | 7.9682 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9682 | TRUE | 0
46 | Schrack | Sounder | MM229015-- | Acoustic indicater, empty, black for MM229025 and MM229028 | 3.43 | 1 |  |  |  |  | 1 | 1 | 1 | 3.43 | 2% | 5% | 3.6735 |  |  | 3.6735 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6735 | TRUE | 0
47 | Schrack | Fuses | IS506103-- | Fuse Carrier 3-pole, 32A, 10x38 | 3.78 | 1 |  |  |  |  | 1 | 1 | 1 | 3.78 | 2% | 5% | 4.0484 |  |  | 4.0484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0484 | TRUE | 0
48 | Schrack | Fuses | IS506101-- | Fuse Carrier 1-pole, 32A, 10x38 | 1.19 | 3 |  |  |  |  | 3 | 1 | 3 | 1.19 | 2% | 5% | 3.8235 |  |  | 3.8235 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8235 | TRUE | 0
49 |  |  |  | Panel Building | 800 | 1 |  |  |  |  | 1 | 1 | 1 | 800 | 0% | 0% | 800 |  |  | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 800 | TRUE | 0
50 | Schrack | MPCB | BE2ZAS11-- | Auxiliary contact, side-mounting for BE20 | 1.64 | 5 |  |  |  |  | 5 | 1 | 5 | 1.64 | 2% | 5% | 8.7822 |  |  | 8.7822 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7822 | TRUE | 0
51 | Fuji | VSD | FRN0005C2E-4E | Mini C2 Fuji Inverters 3PH/400v Incl.EMC Filter | 193.23 | 2 |  |  |  |  | 2 | 1 | 2 | 193.23 | 0% | 25% | 483.075 |  |  | 483.075 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 483.075 | TRUE | 0
52 |  |  |  | Shipping | 200 | 1 |  |  |  |  | 1 | 1 | 1 | 200 | 0% | 0% | 200 |  |  | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | TRUE | 0
53 |  |  |  | Conduit + Cabling from MCC TO AHU | 488.75 | 1 |  |  |  |  | 1 | 1 | 1 | 488.75 | 0% | 0% | 488.75 |  |  | 488.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 488.75 | TRUE | 0
54 |  |  |  | Conduit + Cabling from MCC TO CLEAN ROOM | 340 | 1 |  |  |  |  | 1 | 1 | 1 | 340 | 0% | 0% | 340 |  |  | 340 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 340 | TRUE | 0
55 | Dwyer | Field Devices | N/A | Dwyer air flow meter - Series DHC Differential pressure sensor | 669 |  |  | 2 |  |  | 2 | 1 | 2 | 669 | 0% | 0% | 1338 |  |  | 0 | 0 | 1338 | 0 | 0 | 0 | 0 | 0 | 0 | 1338 | TRUE | 0
56 | Distech | Field Devices | VA-0010BNN024UX | Ball Valve Actuator - 10Nm - Non Spring Return - 24V - On/Off, Floating and Proportional Control | 116.964 |  |  | 1 |  |  | 1 | 1 | 1 | 116.964 | 0% | 5% | 122.8122 |  |  | 0 | 0 | 122.8122 | 0 | 0 | 0 | 0 | 0 | 0 | 122.8122 | TRUE | 0
57 | Regin | Field Devices | TTC80F | Electric Heater Control | 595 | 1 |  |  |  |  | 1 | 1 | 1 | 595 | 0% | 10% | 654.5 |  |  | 654.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 654.5 | TRUE | 0
58 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
59 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
60 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
61 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
62 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
63 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
64 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
65 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
66 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
67 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
68 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
69 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
70 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
71 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
72 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
73 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
74 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
75 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
76 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
77 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
78 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
79 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
80 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
81 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
82 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
83 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
84 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
85 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
86 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
87 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
88 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
89 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
90 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
91 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
92 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
93 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
94 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
95 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
96 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
97 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
98 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
99 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
100 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
101 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
102 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
103 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
104 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
105 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
106 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
107 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
108 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
109 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
110 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
111 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
112 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
113 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
114 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
115 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
116 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
117 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
118 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
119 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
120 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
121 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
122 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
123 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
124 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
125 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
126 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
127 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
128 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
129 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
130 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
131 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
132 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
133 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
134 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
135 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
136 | [10 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
---
[5 empty] | 5% | Distech Discount | [7 empty] | Sub-total |  |  | 14267.748 |  | Sub-total | 6851.2431 | 699.4155 | 6717.0895 | 0 | 0 | 0 | 0 | 0 | 0 |  | DIFF: | 0
[14 empty] | TOTAL |  |  | 14267.748 |  | TOTAL | 6851.2431 | 699.4155 | 6717.0895 | 0 | 0 | 0 | 0 | 0 | 0
Cubicle 2000x1000x400 (HxWxD) with cable compartment.
Motor circuit breaker, 30A
Miniature Circuit breaker 1 x 10A
Miniature Circuit breaker 1 x 6A
Terminals, 4q
PE -Terminals, 4q
Cable ducts 40x80 mm
Bus bars for screen connection, 500 mm
EMC screen connectors for bus bar,
Installing of switch board
Labelling of equipments
Labelling of cubicles
Power supply 230/24V DC 5A (Man reset after shutdown)
UPS power supply 1000VA
Transformer 230/24V AC, 150VA
Push-buttons
Cubicle light with door switch
Socket 230/10A
Cooling fan with filter and thermostat
Filter unit
Labelling of cubicle
PLC-units and display installing
--

## Components
Components drop-down list
Enclosures
Components
Fan + Filter
Thermostat
Busbar
Isolator
Terminal Board
Power Supply
MPCB
MCB
Contactor
Timer
Lamps
Transformer
Relays
Switches
UPS
Diode module
Sounder
Light fitting
Energy meter
Door switch
13A socket outlet
Fuses
CTs
Hour counter
Terminal blocks
Potentiometer
DIN rail
Trunking
VSD
Controller
PLC Modules
HMI
Field Devices
Wiring
Software
Consumables

## Monitoring
| Estimated | Actual | Profit | % difference
Material | 14267.748 | 0 | 14267.748 | 100%
Labour | 2430 | 0 | 2430 | 100%
TOTAL | 16697.748 | 0 | 16697.748 | 100%
POs | Value
--- | ---
TOTAL | 0
Reqs | Value
--- | ---
TOTAL | 0
Labour | Hours
--- | ---
TOTAL | 0

## Shipping Costs
SUPPLIER | COUNTRY of ORIGIN |  | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / €
A.N.WALLIS & CO.LTD | UNITED KINGDOM. | E | <1,000 | min.100 | 2,500-7,000 | 7% | >7,000 | 5.5%
ARDIC ELEKTRIK SAN VE TIC LTD STI. | TURKEY | E |  |  | 15,000-25,000 | 5% | >25,000 | 3.5%
BATT CABLES | UNITED KINGDOM. | E | <1,000 | min.100 | 1,000-2,000 | 10% | 2,000-7,000 | 7%
BATT CABLES | UNITED KINGDOM. | E | 7,000-10,000 | 6% | 10,000-20,000 | 5% | >40,000 | 4%
BEGHELLI - ELPLAST A.S. | CZECH REPUBLIC | E | <1,000 | min.100 | 1,000-2,000 | 8%
BEGHELLI - ELPLAST A.S. | CZECH REPUBLIC | E | 2,000-4,000 | 6% | 10,000-16,000 | 5% | >25,000 | 3.5%
CLEVELAND CABLE CO. LTD | UNITED KINGDOM | E | <1,000 | min.100 | 3,000-5,000 | 7% | >7,000 | 5.5%
COMAT | TURKEY | E | 550 | 380 | 2000 | 550 | >25,000 | 8%
IGUZZINI | ITALY | E |  | CIF
IM.E.B SRL | ITALY | E | <1,000 | min.70 | 1,000-5000 | 800% | >28,000 | 3.5%
IMPLEX EXPORT LIMITED | UNITED KINGDOM. | E | <1,000 | min.100 | 3,000-8,000 | 7% | >8,000 | 5.5%
INTERSWITCH SRL | ITALY | E | <1,000 | min.85 | 1,000-5,000 | 6% | >10,000 | 4.5%
MARSHALL TUFFLEX INT.LTD | UNITED KINGDOM. | E | <1,000 | min.100 | 1,000-4,000 | 7% | >20,000 | 5%
N.C.M | ITALY | E | <2,000 | min.200
NUOVA CARPENTERIA MECCANICA SNC | ITALY | E | <1,500 | min.110 | 1,500-3,000 | 6%
SADA CAVI S.P.A. | ITALY | E | <1,000 | min.85 | 3,000-6,000 | 6% | >90,000 | 3.5%
SEVAL KABLO A.S. | TURKEY | E |  | CIF
SPECIAL CAVI | ITALY | E | <2,000 | min.130 | 2,000-10,000 | 7% | >20,000 | 3%
TEKOM PUK | TURKEY | E |  |  | 5,000-15,0000 | 13% | >20,000 | 15%
VATAN KABLO | TURKEY | E |  |  |  |  | >50,000 | 4%
ZUCCHINI SpA | ITALY | E | <1,000 | min.100 | 1,000-6,000 | 6% | >100,000 | 3.5%
SUPPLIER | COUNTRY of ORIGIN |  | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / €
3I INTERNATIONAL INNOVATIVE INDUSTRIES S.A. | GREECE | M | <5,000 | 6% | 5,000 - 15,000 | 5% | >15,000 | 4%
ACTIONCLIMA SRL | ITALY | M | <2,000 | min.100
ADVANCED AIR (UK) LTD | UNITED KINGDOM. | M | <4,000 | 9% | 4,000 - 8,000 | 7% | >8,000 | 6%
AIREDALE INTERNATIONAL, | UNITED KINGDOM. | M | <1,000 | min.85 |  |  | >15,000 | 4.5%
ALNOR SYSTEMY WENTYLACJI SP. Z O.O. | POLAND | M | <7,000 | 9% | 7,000 - 20,000 | 5% | >20,000 | (5%) 3.5%
ATS ISOLANTI SRL | ITALY | M | <1,000 | 10% | 2,000 - 10,000 | 6% | >10,000 | 5%
BRODBECK S.R.L | SICILY | M | <1,000 | min.85 | 1,000-2,300 | 8% | >2,300 | 6%
CALEFFI | ITALY | M |  |  | >5000 (P.O.10967) | min.100
CENTRAL TUBI | ITALY | M | <1,000 | min.85 | 1,000-10,000 | 6% | >10,000 | 5%
CHEMINEES POUJOULAT | FRANCE | M |  |  |  |  | >4,000 | 6%
DAB PUMPS SPA | ITALY | M | <1,000 | min.90 |  |  | >15,000 | 4.5%
DANTHERM AIR HANDLING A/S | DENMARK | M |  |  |  |  | >30,000 | 3.5%
DINAK S.A., | SPAIN. | M | <1,500 | min.100 | 1,500-10,000 | 6% | >10,000 | 4.5%
DM SRL | ITALY | M |  |  |  |  | >10,000 | 4.5%
DOGU IKLIMLENDIRME SAN.VE TIC.A.S. | TURKEY | M | <1,000 | min.100 | 1,000-10,000 | 6% | >10,000 | 5%
DUYAR VANA MAK. SAN. VE TIC. A.S. | TURKEY | M |  |  | 6,000-10,000 | 5% | >10,000 | 4.5%
ELTA FANS LIMITED | UNITED KINGDOM. | M | <1,000 | min.100 | 1,000-2,500 | 10% | >2,500 | 6%
EMIFLEX S.P.A | ITALY | M | <1,000 | min.85
FIRESPRAY INTERNATIONAL LTD | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-6,000 | 7%
FLOWCON INTERNATIONAL | DENMARK. | M | <1,500 | min.120 | 1,500-10,000 | 6% | >10,000 | 5%
G.M. TREBLE LTD | UNITED KINGDOM. | M | <1,000 | min.100 | 1,000-3,000 | 9% | >7,000 | 6%
GEBERIT INTERNATIONAL AG | SWITZERLAND | M | <1,000 | min.85 |  | CIF
GEORG FISCHER HAKAN PLASTIK | TURKEY | M |  | CIF
H.V.C. SUPPLIES (STOURBRIDGE) LTD | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-4,000 | 10% | >4,000 | 7%
HALCOR METAL WORKS S.A. | GREECE | M |  | CIF
I.M.I. RYCROFT LTD. | ENGLAND | M |  | CIF
INDUSTRIAL ACOUSTICS | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-2,000 | 10%
KIRTON TUBE & COMPONENTS | UNITED KINGDOM | M | <2,000 | 10% | 2,000-6,000 | 7% | >10,000 | 5%
MANN+HUMMEL VOKES AIR LTD | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-2,000 | 9%
MEKAR S.R.L | ITALY | M | <1,000 | min.85 | 1,000-15,000 | 6% | >15,000 | 4.5%
MP3 SRL., | ITALY. | M | <1,000 | min.85 | 1,000-2,500 | 8% | >2,500 | 6%
NICCONS | ITALY | M | <1,000 | min.90 | 1,000-2,000 | 8%
NIVELCO PROCESS CONTROL CO., | HUNGARY. | M | <1,000 | min.70
NOXON STAINLESS B.V. | THE NETHERLANDS. | M | <1,000 | min.85 | 1,000-2,000 | 8% | >10,000 | 4.5%
NUAIRE LIMITED | WALES | M | <1,000 | min.100 | 1,000-3,000 | 10% | >10,000 | 6%
NUPIGECO SPA | ITALY. | M | <1,000 | min. 85 | 1,000-2,500 | 8% | >7,000 | 5%
ORMANDY LIMITED | UNITED KINGDOM | M | <1,500 | 10%
P3 Srl | ITALY | M | <1,000 | min.100 | 1,000-6,000 | 11% | >23,000 | 10%
RAPIDROP GLOBAL LTD | UNITED KINGDOM. | M | <2,000 | 8%
RHOSS S.P.A., | ITALY | M | <1,000 | min.100 | 1,000-7,000 | 6% | >7,000 | 5%
ROTORK MIDLAND LTD | UNITED KINGDOM | M | <1,000 | min.100 |  |  | >2,000 | 7%
S. BRANNAN & SONS LTD | UNITED KINGDOM. | M | <1,000 | min.100 | 1,000-7,000 | 9% | >7,000 | 6%
SICC | ITALY | M | <1,000 | min.85 | 1,000-5,000 | 6% | >20,000 | 3.5%
SIEMENS ITALY SPA | ITALY | M | <1,000 | min.100 | 1,000-2,500 | 8% | >2,500 | 6%
SODECA | SPAIN | M | <1,000 | min. 100 | 1,000-10,000 | 6% | >10,000 | 4.5%
SPIROTECH BV | THE NETHERLANDS. | M | <1,000 | min.85 |  |  | >3,000 | 6%
SWEGON AIR MANAGEMENT LIMITED | UNITED KINGDOM. | M | <1,000 | min.105 | 1,000-7,000 | 7% | >7,000 | 6%
TYCO FIRE & SECURITY | UNITED KINGDOM. | M | <2,000 | min. 220 | 2,000-4,000 | 6% | >4,000 | 5%
UK EXCHANGERS LTD. | UNITED KINGDOM. | M | <2,000 | 8% |  |  | >15,000 | 5%
VIR VALVOINDUSTRIA ING. RIZZIO S.P.A. | ITALY | M | <1,000 | min. 85 | 1,000-3,000 | 9% | >3,000 | 6%
WATERTECH SPA | ITALY | M | <200 | min. 85 | 200-500 | 15%
Xylem Flow Controls Ltd. | UNITED KINGDOM. | M | <1,000 | 14% |  |  | >4,000 | 7%
SUPPLIER | COUNTRY of ORIGIN |  | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / €
D'ELPIDIO ELETTROFORNITURE | ITALY | BMS | <500 | min.100 | 500-3,000 | 4% | >3,000 | 1.5%
DISTECH CONTROLS SAS | FRACE | BMS | <300 | min. 55 | 300-1,000 | min. 80 | >5,000 | 2.5%
FUJI ELECTRIC EUROPE GMBH | GERMANY | BMS | <1,000 | min. 80 | 2,000-3,000 | 5% | >8,000 | 2%
SYSTEME HELMHOLZ | GERMANY | BMS | <1,100 | min. 60 | 4,000-5,000 | min.110
SIEMENS BUILDING TECHNOLOGIES INT. |  | BMS |  |  |  |  | >500 | DAP
SIEMENS SPA | ITALY | BMS |  |  |  |  | >500 | DAP
VENTILATION CONTROL PRODUCTS AB | SWEDEN | BMS | <1,000 | min.50 | 1,000-5,000 | min.130
Note on L29: Jason Camilleri: Considering the latest Shipping Rate rises, consider 5% instead of 3.5% Commented on 19.11.2021