## Notes
NOTES

## ML_Sum
| CLIENT: | 1 | Panta |  |  | TRUE | TRUE | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | € | Recon /Lab.Cont >> | R | 1 | 1 | BOQ | x | x | x | x | x | x | x
| PROJECT: | 1 | Panta Showroom Phase 2 |  | Electrical | TRUE |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | A) 1.1-1.1 | 1.1 | 30.206 |  |  | x | x | x | x | x | x | x
| JOB DESC: | 1 | Supply and Install Electrical requirements for Panta Showroom Phase 2 |  |  | TRUE |  | 3 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | B) |  |  |  |  | x | x | x | x | x | x | x
| INT. QUOT No: | 1 | EL25_XXXX |  |  | TRUE |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | C) |  |  |  |  | x | x | x | x | x | x | x
| CLIENTs REF: | 1 |  |  |  | TRUE |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | D) |  |  |  |  | x | x | x | x | x | x | x
| VAT: | 1 | VAT EXCL. |  |  | TRUE |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | E) |  |  |  |  | x | x | x | x | x | x | x
| SAVED ON: | 1 | 2025-09-04 |  |  | TRUE |  | 7 | 1 | 1 | 1 | 1 | 1 |  |  |  | F) |  |  |  |  | x | x | x | x | x | x | x
| ESTIMATOR: | 1 | Umut Kaymak |  |  | TRUE |  | 8 | 1 | 1 | 1 | 1 | 1 |  |  |  | G) |  |  |  |  | x | x | x | x | x | x | x
| LAB. COST: | 1 | 27.46 | Cost for 2025 |  | TRUE |  | 9 | 1 | 1 | 1 | 1 | 1 |  |  |  | H) |  |  |  |  | x | x | x | x | x | x | x
|  | 1 |  |  |  | TRUE |  | 10 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I) |  |  |  |  | x | x | x | x | x | x | x
|  | 1 | [14 empty] | J) |  |  |  |  | x | x | x | x | x | x | x
|  | 1 |  |  |  | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS |  | MIXED - X,Y ) | MAT MU | LAB RATE |  |  | x | x | x | x | x | x | x
| MATERIAL & LABOUR SUMMARY |  |  |  |  | ItemCode | CostCode | MAKE | PART_NO | MARKUP | TYPE | LIST_P | SET | FIX | DATE | %Dsct in BOQ | MATMU-LABMU | MAT CONT >> | 1
[22 empty] | x | x | x | x | x | x | x
[16 empty] | 0% | Average Discount applied in BOQ (Q2-Q12) |  |  |  |  | x | x | x | x | x | x | x
[16 empty] | 0% | Average Discount applied on Totals (Q23-Q32) |  |  |  |  | x | x | x | x | x | x | x
[16 empty] | 0% | Overall Discount
[16 empty] | 1.1003 | Overall Markup (Final Selling Excl.VAT/Total Cost )
|  |  |  | DISCOUNTED | SELLING | [10 empty] | % Discnt | MATERIAL |  | LABOUR
Discy.A-J | Markup/LRate |  |  | SELLING € | € | VAT/DISC | MU | LABRATE | LABCOST | [6 empty] | on Totals | € |  | Pair Hrs.
5.6782 | A) 1.1, 30.22 |  | Electrical | 24023.49 | 24023.49 | 1 | 1.1 | 30.206 | 27.46 | [7 empty] | 11673.1233 |  | 370.0383
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0 |  |  | #DIV/0!
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
MIXED
Discy.L | 24023.49 |  |  | 24023.49 | 24023.49 | [11 empty] | 11673.1233 |  | 370.0383
0.00 | BOQ TOTAL |  |  | ESTIM TOTAL (€)
1.125 | <1 Actual LabCont | [15 empty] | 11673.0233 | C.C.Totals | 370.0383
<2 Phrs @ 1.00
| <3 Phrs @ Actual | [14 empty] | Discy.T >> | -0.1 | PRINT | 0
| Values Only on : |  | 2025-09-04 | 24023.49 | 24023.49 | [11 empty] | 11673.1233 |  | 370.0383
REMARKS:
1) VAT and Duties as above.
2)
ESTIMATOR: |  |  | Umut Kaymak | [12 empty] | APPROVED BY:
SIGNED: | [15 empty] | DATE APPROVED:
FILE LOCATION: |  |  | https://d.docs.live.net/d8e42587b76b10ba/Documents/Visual Code Studio/Claude/BMS-Attribution-Model/projects/PantaHubShowroom_Phase2/[PantaShowroom_Phase2.xlsx]Elec_Est
PANTA CONTRACTING LTD. - ELECTRICAL DIVISION
CONTRACT / VARIATION INPUT DOCUMENT
Copy to:-
|  |  | Client: | Panta | [13 empty] | Ms. S. Magri
|  |  | Project: | Panta Showroom Phase 2 | [13 empty] | Mr. K. Micallef
|  |  | Job Description: | Supply and Install Electrical requirements for Panta Showroom Phase 2 | [13 empty] | Mr. A. Sciberras
|  |  | Quote No: | EL25_XXXX
|  |  | Client's Ref: | 0
File:-
File No:
Ext. Ref:
Contract /Variation (Excl. VAT)
|  | 24023.49 |  | Estim.Sell before Discounts excl.VAT (€): | 24023.49
|  |  |  | Overall Discount: | 0%
|  |  |  | Final Sell after Discounts excl.VAT (€): | 24023.49
|  |  |  | Labour Rate - | 27.46 | [11 empty] | Mech. Cost to us
|  |  | Mat. Cost | Labour | Total Cost | [11 empty] | Sell Excl.VAT / Total Cost
|  |  | € | Pair.Hrs | €
|  |  | 11673.0233 | 370.0383 | 21834.2743 | [11 empty] | 1.1003
( From CostCode Totals )
Advanced Payment:
Retention:
Awarded Date:
Estimated Start Date:
Estimated Completion Date:
.................
|  |  | A. Sciberras | [13 empty] | Date issued:
2026-04-15 17:22
PANTA CONTRACTING LTD. - ELECTRICAL DIVISION
ELECTRICAL AND ELV CONTRACT / VARIATION BUDGET COST
|  |  | Project: | Panta Showroom Phase 2
|  |  | Job Desc: | Supply and Install Electrical requirements for Panta Showroom Phase 2
|  |  | Client's Ref: | 0
|  |  | COSTCODE |  | Cost | [10 empty] | Mat. | Mat Cost | Lab Cost @ | Labour
[5 empty] | Code | [10 empty] | Cont. | € | 27.46 | Pair.Hrs
| V:56 |  | BOQ RateOnly Items | [11 empty] | FIX | 1
| 1(J) | cc | Erection materials |  | 501 | [9 empty] | 1 | 1 | 9.5733 | 0 | 0
| 2 | cc | Busbar Trunking |  | 505 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 3 | cc | Switchgear |  | 510 | [9 empty] | 2 | 1 | 593.18 | 240.275 | 8.75
| 4 | cc | MCC Equipment |  | 511 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 5 | cc | BMS Equipment |  | 512 | [9 empty] | 2 | 1 | 2204.19 | 54.92 | 2
| 6 | cc | PVC Pipes / Ducts |  | 520 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 7 | cc | High/medium voltage switchgear |  | 530 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 8 | cc | Power Transformers |  | 550 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 9 | cc | Control Panels |  | 570 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 10 | cc | Electrical Single Core Cables |  | 615 | [9 empty] | 2 | 1 | 850.2 | 1021.512 | 37.2
| 11(K) | cc | Electrical Multicore Cables |  | 616 | [9 empty] | 2 | 1 | 1210 | 241.648 | 8.8
| 12 | cc | ELV/BMS/Special Cables |  | 617 | [9 empty] | 2 | 1 | 60 | 830.665 | 30.25
| 13 | cc | Cable Accessories |  | 620 | [9 empty] | 2 | 1 | 51.09 | 96.11 | 3.5
| 14 | cc | Galv. Cable Trays |  | 650 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 15 | cc | PVC Cable Trays |  | 651 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 16 | cc | Galv. Cable Basket |  | 652 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 17 | cc | Galv. Cable Ladder |  | 654 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 18 | cc | Galv. Cable Trunking |  | 675 | [9 empty] | 1 | 1 | 117.96 | 67.5516 | 2.46
| 19 | cc | Alum. Cable Trunking |  | 676 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 20 | cc | PVC Cable Trunking |  | 680 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 21(L) | cc | Underfloor Cable Trunking |  | 681 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 22 | cc | Galv. Conduit |  | 690 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 23 | cc | PVC Conduit |  | 700 | [9 empty] | 1 | 1 | 1059.44 | 3211.7216 | 116.96
| 24 | cc | Wiring Accessories |  | 705 | [9 empty] | 3 | 1 | 3800.5 | 1161.558 | 42.3
| 25 | cc | Dimming Equipment |  | 706 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 26 | cc | Fire Alarm Equipment |  | 725 | [9 empty] | 3 | 1 | 975 | 980 | 35.6883
| 27 | cc | Fire Barriers |  | 726 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 28 | cc | Security Alarm System |  | 750 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 29 | cc | Access Control |  | 751 | [9 empty] | 3 | 1 | 0 | 34.325 | 1.25
| 30 | cc | Hotel Electronic Lock |  | 752 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 31(M) | cc | Sub-Contracting Installation Elec |  | 753 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 32 | cc | Timing Equipment |  | 770 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 33 | cc | Public Address |  | 790 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 34 | cc | Voice Alarm Equipment |  | 791 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 35 | cc | Lightning / Bonding System |  | 810 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 36 | cc | T.V System |  | 815 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 37 | cc | UPS/Voltage Stabilisers |  | 820 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 38 | cc | Data Network Equipment |  | 821 | [9 empty] | 3 | 1 | 120 | 9.8856 | 0.36
| 39 | cc | Light Fittings |  | 835 | [9 empty] | 3 | 1 | 432 | 1531.4442 | 55.77
| 40 | cc | Generators, AMF Panels |  | 845 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 41(N) | cc | Telephone Equipment |  | 855 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 42 | cc | Intercom |  | 856 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 43 | cc | Mechanical for Electrical |  | 857 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 44 | cc | Nurse Call |  | 858 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 45 | cc | C.C.T.V. Equipment |  | 865 | [9 empty] | 3 | 1 | 0 | 137.3 | 5
| 46 | cc | Tools and Instruments |  | 870 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 47 | cc | Consumbles |  | 875 | [9 empty] | 1 | 1 | 189.89 | 138.673 | 5.05
| 48 | cc | Drawings/Manuals |  | 880 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 49 | cc | Spare Parts |  | 885 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 50 | cc | Labour |  | 900 | [9 empty] | 3 | 1 | 0 | 403.662 | 14.7
| 51(O) | cc | Dismantling (Labour Only) |  | 901 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 52 | cc | Testing & Commissioning |  | 902 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 53 | cc | Sub-Contracting Works |  | 960 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 54 | cc | Enemalta Application |  | 961 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 55 | cc | Crainage and Transportation |  | 962 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 56 | cc | Provisional Sum |  | 970 | [9 empty] | 4 | 1 | 0 | 0 | 0
|  |  | Totals | [13 empty] | 11673.0233 | 10161.251 | 370.0383
|  | cc |  |  | Fix 1 |  | 1 | [9 empty] | 1376.8633 |  | 124.47
|  | cc |  |  | Fix 2 |  | 2 | [9 empty] | 4968.66 |  | 90.5
|  | cc |  |  | Fix 3 |  | 2 | [9 empty] | 5327.5 |  | 155.0683
|  | cc |  |  | Others |  | 3 | [9 empty] | 0 |  | 0
|  | cc |  |  | TOTAL | [11 empty] | 11673.0233 |  | 370.0383
.................
A. Sciberras
2026-04-15 17:22
Comment / Change in Scope
1.Form/0Mat
2.VAT
3.DiscyA-J
4.MU/LabRate
5.Ov.Dsct/MU
6ab.Lab.Cont.
7.Mat.Cont.
8.BOQ
9.Recon.
11.ValsOnly
10.Avg.Rates OK?
Note on C1: Michael Vella: Insert Foreign Currency here (say: 1.55 - $US) and change Q1 accordingly
Note on W1: Michael Vella: BOQ - Use numbers in BOQ column TDWG - Use numbers in TDWG column ACT - Use numbers in ACT column DIF_TD - Use (TDWG - BOQ) difference DIF_A - Use (ACT - BOQ) difference
Note on R2: Michael Vella: When you want to uplift markups to offset a discount, first generate your estimate without any discount and paste the estimate totals as values-only. Then divide markups by (1-Dsct%) to get to your original values-only totals.
Note on B3: Michael Vella: When job description starts with "Supply only" and the Quote No. is "EL" then the Quote Title in the Quote worksheet will change from PANTA CONTRACTING LTD to PANTA RETAIL LTD.
Note on D7: Michael Vella: Press <CTRL :> to enter the current date.
Note on R12: Michael Vella: Enter the markups used in this cell to make Mario aware eg: (MIXED I,J). Preferably dedicated markups should be used for the mixed subitems which are not used anywhere else. Also the same discount value should then be entered for all three (MIXED, I and J)
Note on A33: Michael Vella: Select MIXED if mixed markups are used. Leave empty if mixed markups are not used.
Note on C33: Michael Vella: If a <%Discount on Totals> is required on Mixed Item Blocks you must use dedicated markups (say I and J) for the SubItems that make up these blocks. These markups must then NOT be used for anything else in this estimate. Enter the markups used in this cell to make Mario aware as (MIXED I,J). Also the same discount value should then be entered for both these markups.
Note on R33: Michael Vella: If a <%Discount on Totals> is required on Mixed Item Blocks you must use dedicated markups (say I and J) for the SubItems that make up these blocks. These markups must then NOT be used for anything else in this estimate. Enter the markups used in this cell to make Mario aware as (MIXED I,J). Also the same discount value should then be entered for both these markups.
Note on A37: Michael Vella: Step 1. Enter the Actual Labour Contingency ($T1) used in this cell.
Note on S37: Michael Vella: Cost Code Totals for entry into P.I.T. by Amanda
Note on A38: Michael Vella: Step 2. Paste the Labour PairHours ($T35) as a value with the Labour Contingency set at 1.00 in this cell.
Note on A39: Michael Vella: Step 3. Paste the Labour PairHours ($T35) as a value with the actual Labour Contingency used in this cell.
Note on S39: Michael Vella: Select <Test for 0.00> and confirm that DiscyT are both 0.00, then make sure that you select PRINT again before printing.
Note on D41: Michael Vella: Press <CTRL :> to enter the current date.

## Quote
PANTA CONTRACTING LIMITED
ELECTRICAL INTERNAL QUOTATION
| ATT: | [15 empty] | Dated: | 2026-04-15 17:22
| CLIENT: | Link to ML_SUM $D1 | Panta
| PROJECT: | Link to ML_SUM $D2 | Panta Showroom Phase 2
| JOB DESC: | Link to ML_SUM $D3 | Supply and Install Electrical requirements for Panta Showroom Phase 2
| QUOTE No: | Link to ML_SUM $D4 | EL25_XXXX
| CLIENT's Ref: | Link to ML_SUM $D5 | 0
|  |  | Selling Price (€) : | 24023.49 | VAT EXCL. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED.
Signed for and on behalf of | [15 empty] | Signed for and on behalf of
Electrical Division | [15 empty] | Division
Records
Mr. A. Sciberras
File
CONDITIONS:
1) Payment - 100% on completion.
2) Quote is valid for 30 days from above date.
3) Commencement - to be confirmed at time of order.
4) Works are proceeding.
5) Execution Approx. 8 to 12 working weeks
6) The above selling price includes the contract discount and is additional to the contract value.
7) We have assumed that we will be allowed to work unhindered between 7.00 to 15.30 on weekdays.
EXCLUSIONS:
1) Any builders' work except conduit chases in walls / as per contract.
2) Work outside our normal working hours.
3) Security of the works after normal working hours.
4) Cutting of holes in gypsum partitions or false ceilings to accommodate electrical devices.
5) Dismantling of any existing installation / false ceiling / furnishings unless included in attached BOQ.
6) Anything not mentioned in our Bill of Quantities.
DESCRIPTION OF WORKS / SPECIFICATIONS:
1) As per the attached BOQ. / This quotation covers the supply, installation and commissioning ……..
2) Technical literature for the items offered is attached.
3)
4)
5)
6)

## Elec_Rates
| CLIENT: | 1 | Panta |  | 0 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | € | R/Lab Cont | R | 1 | BOQ | INCL | MULT | AREA | BOQ | TDWG | ACT | DIFF
| PROJECT: | 1 | Panta Showroom Phase 2 |  | Electrical |  |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_A | 1.1 | 30.206
| JOB DESC: | 1 | Supply and Install Electrical requirements for Panta Showroom Phase 2 |  | 0 |  |  | 3 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_B | 0 | 0
| QUOTE No: | 1 | EL25_XXXX |  | 0 |  |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_C | 0 | 0
| CLIENTs REF: | 1 | 0 |  | 0 |  |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_D | 0 | 0
| VAT/DUTIES: | 1 | VAT EXCL. |  | 0 |  |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_E | 0 | 0
| SAVED ON: | 1 | 2007-10-09 |  | 0 |  |  | 7 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_F | 0 | 0
| ESTIMATOR: | 1 | Umut Kaymak |  | 0 |  |  | 8 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_G | 0 | 0
| LABOUR RATE: | 1 | 27.46 |  | 0 |  |  | 9 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_H | 0 | 0
|  | 1 |  |  | 0 |  |  | 10 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_I | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | mu_J | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | MIXED | MAT MU | LAB RATE
[6 empty] | I_CODE | C_CODE | MAKE | PART_NO | MARKUP | TYPE | LIST_P | P_FACT | FIX | DATE | %Dsct in BOQ | MU TYPE | MAT MU | LAB RATE
|  | t | Item:
Start Typing Header
Multip
45 | 45 |  | 001# Power Point | [6 empty] | RATE | RATE |  |  |  |  | 1 | 22.7 |  | 1.58
Based on:
320 | m |  | Conduit PVC 25mm HG RATE |  |  | COPV_007 | 700 | GEN | 25mm |  |  |  |  | 1 | 2015-07-28 | 1.72 | 550.4 | 0.18 | 57.6
600 | m |  | Wiring Cable 1c 4.0 mm2 PVC Non-Arm |  |  | CASC_017 | 615 | CRO |  | 02-002 |  |  |  | 2 | 2006-09-28 | 0.59 | 354 | 0.015 | 9
300 | m |  | Wiring Cable 1c 2.5 mm2 PVC Non-Arm |  |  | CASC_017 | 615 | CRO |  | 02-002 |  |  |  | 2 | 2006-09-28 | 0.39 | 117 | 0.015 | 4.5
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 72.69 | 3271.05 |  |  |  |  | ITEM | ITEM | [5 empty] | 1021.4 |  | 71.1
END!
END! |  |  | RATE SHEET GRAND TOTAL | [13 empty] | MATERIAL |  | LABOUR
END!
END! |  |  | COMPONENTS | [7 empty] | COMP_RT | [5 empty] | 1021.4 |  | 71.1
END! |  |  | RATE SUMS (ITEMS) | [7 empty] | ITEM_RT | [5 empty] | 1021.4 |  | 71.1
SB!
| V:56 |  |  | COSTCODE TOTAL | [12 empty] | 1021.4 |  | 71.1
| 1 | cc | Erection materials |  | 501 | [9 empty] | 1 |  | 0 |  | 0
| 2 | cc | Busbar Trunking |  | 505 | [9 empty] | 1 |  | 0 |  | 0
| 3 | cc | Switchgear |  | 510 | [9 empty] | 2 |  | 0 |  | 0
| 4 | cc | MCC Equipment |  | 511 | [9 empty] | 2 |  | 0 |  | 0
| 5 | cc | BMS Equipment |  | 512 | [9 empty] | 2 |  | 0 |  | 0
| 6 | cc | PVC Pipes / Ducts |  | 520 | [9 empty] | 1 |  | 0 |  | 0
| 7 | cc | High/medium voltage switchgear |  | 530 | [9 empty] | 2 |  | 0 |  | 0
| 8 | cc | Power Transformers |  | 550 | [9 empty] | 2 |  | 0 |  | 0
| 9 | cc | Control Panels |  | 570 | [9 empty] | 2 |  | 0 |  | 0
| 10 | cc | Electrical Single Core Cables |  | 615 | [9 empty] | 2 |  | 471 |  | 13.5
| 11 | cc | Electrical Multicore Cables |  | 616 | [9 empty] | 2 |  | 0 |  | 0
| 12 | cc | ELV/BMS/Special Cables |  | 617 | [9 empty] | 2 |  | 0 |  | 0
| 13 | cc | Cables accessories |  | 620 | [9 empty] | 2 |  | 0 |  | 0
| 14 | cc | Galv. Cable Trays |  | 650 | [9 empty] | 1 |  | 0 |  | 0
| 15 | cc | PVC Cable Trays |  | 651 | [9 empty] | 1 |  | 0 |  | 0
| 16 | cc | Galv. Cable Basket |  | 652 | [9 empty] | 1 |  | 0 |  | 0
| 17 | cc | Galv. Cable Ladder |  | 654 | [9 empty] | 1 |  | 0 |  | 0
| 18 | cc | Galv. Cable Trunking |  | 675 | [9 empty] | 1 |  | 0 |  | 0
| 19 | cc | Alum. Cable Trunking |  | 676 | [9 empty] | 1 |  | 0 |  | 0
| 20 | cc | PVC Cable Trunking |  | 680 | [9 empty] | 1 |  | 0 |  | 0
| 21 | cc | Underfloor Cable Trunking |  | 681 | [9 empty] | 1 |  | 0 |  | 0
| 22 | cc | Galv. Conduit |  | 690 | [9 empty] | 1 |  | 0 |  | 0
| 23 | cc | PVC Conduit |  | 700 | [9 empty] | 1 |  | 550.4 |  | 57.6
| 24 | cc | Wiring Accessories |  | 705 | [9 empty] | 3 |  | 0 |  | 0
| 25 | cc | Dimming Equipment |  | 706 | [9 empty] | 3 |  | 0 |  | 0
| 26 | cc | Fire Alarm Equipment |  | 725 | [9 empty] | 3 |  | 0 |  | 0
| 27 | cc | Fire Barriers |  | 726 | [9 empty] | 3 |  | 0 |  | 0
| 28 | cc | Security Alarm System |  | 750 | [9 empty] | 3 |  | 0 |  | 0
| 29 | cc | Access Control |  | 751 | [9 empty] | 3 |  | 0 |  | 0
| 30 | cc | Hotel Electronic Lock |  | 752 | [9 empty] | 3 |  | 0 |  | 0
| 31 | cc | Sub-Contracting Installation Elec |  | 753 | [9 empty] | 3 |  | 0 |  | 0
| 32 | cc | Timing Equipment |  | 770 | [9 empty] | 3 |  | 0 |  | 0
| 33 | cc | Public Address |  | 790 | [9 empty] | 3 |  | 0 |  | 0
| 34 | cc | Voice Alarm Equipment |  | 791 | [9 empty] | 3 |  | 0 |  | 0
| 35 | cc | Lightning / Bonding System |  | 810 | [9 empty] | 3 |  | 0 |  | 0
| 36 | cc | T.V System |  | 815 | [9 empty] | 3 |  | 0 |  | 0
| 37 | cc | UPS/Voltage Stabilisers |  | 820 | [9 empty] | 2 |  | 0 |  | 0
| 38 | cc | Data Network Equipment |  | 821 | [9 empty] | 3 |  | 0 |  | 0
| 39 | cc | Light Fittings |  | 835 | [9 empty] | 3 |  | 0 |  | 0
| 40 | cc | Generators, AMF Panels |  | 845 | [9 empty] | 2 |  | 0 |  | 0
| 41 | cc | Telephone Equipment |  | 855 | [9 empty] | 3 |  | 0 |  | 0
| 42 | cc | Intercom |  | 856 | [9 empty] | 3 |  | 0 |  | 0
| 43 | cc | Mechanical for Electrical |  | 857 | [9 empty] | 3 |  | 0 |  | 0
| 44 | cc | Nurse Call |  | 858 | [9 empty] | 3 |  | 0 |  | 0
| 45 | cc | C.C.T.V. Equipment |  | 865 | [9 empty] | 3 |  | 0 |  | 0
| 46 | cc | Tools and Instruments |  | 870 | [9 empty] | 4 |  | 0 |  | 0
| 47 | cc | Consumbles |  | 875 | [9 empty] | 1 |  | 0 |  | 0
| 48 | cc | Drawings/Manuals |  | 880 | [9 empty] | 3 |  | 0 |  | 0
| 49 | cc | Spare Parts |  | 885 | [9 empty] | 4 |  | 0 |  | 0
| 50 | cc | Labour |  | 900 | [9 empty] | 3 |  | 0 |  | 0
| 51 | cc | Dismantling (Labour Only) |  | 901 | [9 empty] | 1 |  | 0 |  | 0
| 52 | cc | Testing & Commissioning |  | 902 | [9 empty] | 3 |  | 0 |  | 0
| 53 | cc | Sub-Contracting Works |  | 960 | [9 empty] | 4 |  | 0 |  | 0
| 54 | cc | Enemalta Application |  | 961 | [9 empty] | 3 |  | 0 |  | 0
| 55 | cc | Crainage and Transportation |  | 962 | [9 empty] | 1 |  | 0 |  | 0
| 56 | cc | Provisional Sum |  | 970 | [9 empty] | 4 |  | 0 |  | 0
|  | cc |  |  | Fix 1 |  | 1 | [9 empty] | 550.4 |  | 57.6
|  | cc |  |  | Fix 2 |  | 2 | [9 empty] | 471 |  | 13.5
|  | cc |  |  | Fix 3 |  | 2 | [9 empty] | 0 |  | 0
|  | cc |  |  | Others |  | 3 | [9 empty] | 0 |  | 0
|  | cc |  |  | TOTAL | [11 empty] | 1021.4 |  | 71.1

## Elec_Est
| CLIENT: | 1 | Panta |  | 0 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | € | R/Lab Cont | R | 1 | BOQ | INCL | MULT | AREA | BOQ | TDWG | ACT | DIFF
| PROJECT: | 1 | Panta Showroom Phase 2 |  | Electrical |  |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_A | 1.1 | 30.206
| JOB DESC: | 1 | Supply and Install Electrical requirements for Panta Showroom Phase 2 |  | 0 |  |  | 3 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_B | 0 | 0
| QUOTE No: | 1 | EL25_XXXX |  | 0 |  |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_C | 0 | 0
| CLIENTs REF: | 1 | 0 |  | 0 |  |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_D | 0 | 0
| VAT/DUTIES: | 1 | VAT EXCL. |  | 0 |  |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_E | 0 | 0
| SAVED ON: | 1 | 2007-10-09 |  | 0 |  |  | 7 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_F | 0 | 0
| ESTIMATOR: | 1 | Umut Kaymak |  | 0 |  |  | 8 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_G | 0 | 0
| LABOUR RATE: | 1 | 27.46 |  | 0 |  |  | 9 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_H | 0 | 0
|  | 1 |  |  | 0 |  |  | 10 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_I | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | mu_J | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | MIXED | MAT MU | LAB RATE
[6 empty] | ISELL | C_CODE | MAKE | PART_NO | MARKUP | TYPE | LIST_P | P_FACT | FIX | DATE | %Dsct in BOQ | MU TYPE | MAT MU | LAB RATE | [13 empty] | Tot Mat Cost | Unit Lab phr. | Tot Lab phr. | < for ELM / MEE
TB
|  | t | Item: 1
Supply, install & connect power supply cables.
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
35 | M |  | Item: 1.01 | 34.29 | 1200.15 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 28.29 | 990.15 | 6 | 210 | 1200.15 | 900.24 | 6.95 | 31751.65
|  |  | 5c 35mm XLPE/SWA/LSZH cable SR.E2 | [6 empty] | n
35 | m |  | Power Cable 5c 25 mm2 XLPE SWA-LSZH |  |  | CAMC_097 | 616 | (__) | 25mm2 |  |  |  |  | 2 | 2011-08-12 | 25 | 875 | 0.15 | 5.25
2 | No |  | Cable Marker Warning Tape |  |  | CAAC_071 | 620 | (__) | [5 empty] | 2 |  | 0.5 | 1 |  | 0
2 | No |  | Gland Indoor 32 BWL 4*25/35mm2 |  |  | CAAC_044 | 620 | CMP | [5 empty] | 2 | 1997-01-01 | 11.32 | 22.64 | 0.5 | 1
10 | No |  | Cable Lug 25 mm2 |  |  | CAAC_010 | 620 | CTT | [5 empty] | 2 | 1994-12-01 | 0.16 | 1.6 | 0.07 | 0.7
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 900.24 |  | 6.95
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
50 | M |  | Item: 1.02 | 10.07 | 503.5 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 7.17 | 358.5 | 2.9 | 145 | 503.5 | 325.85 | 4.8 | 16532.5
|  |  | 5c 6.0mm XLPE/SWA/LSZH Cable | [6 empty] | n
50 | m |  | Power Cable 5c 4.0 mm2 XLPE SWA-LSZH |  |  | CAMC_085 | 616 | (__) | 4.0mm2 |  |  |  |  | 2 | 2005-01-19 | 6 | 300 | 0.06 | 3
2 | No |  | Cable Marker Warning Tape |  |  | CAAC_071 | 620 | (__) | [5 empty] | 2 |  | 0.5 | 1 |  | 0
1 | No |  | Gland Indoor 20 BWL 4*4/6mm2 |  |  | CAAC_040 | 620 | CMP | [5 empty] | 2 | 1997-01-01 | 4.71 | 4.71 | 0.35 | 0.35
3 | No |  | Gland Outdoor 20 CW 4*4/6mm2 |  |  | CAAC_053 | 620 | CMP | [5 empty] | 2 | 1997-01-01 | 6.38 | 19.14 | 0.35 | 1.05
20 | No |  | Cable Lug 4.0 mm2 |  |  | CAAC_006 | 620 | CTT | [5 empty] | 2 | 1994-12-01 | 0.05 | 1 | 0.02 | 0.4
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 325.85 |  | 4.8
TB
|  | t | Item: 2
Supply, install & connect the following switchgear.
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 2.01 | 839.15 | 839.15 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 597.5 | 597.5 | 241.65 | 241.65 | 839.15 | 543.18 | 8 | 551.18
|  |  | 12 Way Distrebution Board DB-SR.E2 | [6 empty] | n
1 | No |  | Distribution Board 12 WAY, 100A |  | HAGER | SWLV_017 | 510 | (__) |  | 02-012 |  |  |  | 2 |  | 543.18 | 543.18 | 8 | 8
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 543.18 |  | 8
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 2.02 | 85.74 | 85.74 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 61.58 | 61.58 | 24.16 | 24.16 | 85.74 | 55.98 | 0.8 | 56.78
|  |  | 4P 63A IP65 Isolator for AC outdoor unit | [6 empty] | n
1 | No |  | Surface Isolator 63A 4-Pole |  |  | SWLV_165 | 510 | KM | P1-32/I/N | 10 |  |  |  | 2 | 2000-12-20 | 50 | 50 | 0.75 | 0.75
1 | No |  | Label Large |  |  | CONS_020 | 875 | (__) |  | 05-001 |  |  |  | 3 | 1995-05-01 | 5.82 | 5.82 | 0.05 | 0.05
4 | No |  | Screw Wood S6 |  |  | CONS_035 | 875 | (__) |  | 02-008 |  |  |  | 1 | 1994-12-01 | 0.02 | 0.08 |  | 0
4 | No |  | Rawl Plug S6 |  |  | CONS_030 | 875 | (__) |  | 02-009 |  |  |  | 1 | 1994-12-01 | 0.02 | 0.08 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 55.98 |  | 0.8
TB
|  | t | Item: 3
Supply & install the following containment
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
6 | M |  | Item: 3.03 | 43.81 | 262.86 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 25.38 | 152.28 | 18.43 | 110.58 | 262.86 | 138.44 | 3.66 | 852.6
|  |  | 100x100mm Galvanised cable trunking | [6 empty] | n
6 | m |  | Trunking Galv. 100x100mm 24awg |  |  | TKGV_005 | 675 | TIP | [5 empty] | 1 | 2007-01-29 | 19.66 | 117.96 | 0.41 | 2.46
3 | No |  | Earth Strips Copper |  |  | CONS_012 | 875 | (__) |  | 01-011 |  |  |  | 1 | 1994-12-01 | 1.01 | 3.03 |  | 0
12 | No |  | Bolt, nut and washer |  |  | CONS_053 | 875 | (__) |  | 02-002 |  |  |  | 1 | 2004-05-11 | 0.12 | 1.44 |  | 0
20 | No |  | Pop Rivet |  |  | CONS_023 | 875 | (__) |  | 02-004 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.6 |  | 0
36 | No |  | Roofing Bolt |  |  | CONS_031 | 875 | (__) |  | 02-005 |  |  |  | 1 | 1994-12-01 | 0.1 | 3.6 |  | 0
12 | No |  | Bolt, nut and washer |  |  | CONS_053 | 875 | (__) |  | 02-002 |  |  |  | 1 | 2004-05-11 | 0.12 | 1.44 |  | 0
1 | m |  | Channel SHALLOW-Galv. Hilti MS-213M |  |  | EMAT_020 | 501 | HIL | MS-213m | 02-017 |  |  |  | 1 | 1999-01-15 | 9.3333 | 9.3333 |  | 0
8 | No |  | Galv. Nut 6mm |  |  | EMAT_021 | 501 | (__) |  | 04-001 |  |  |  | 1 |  | 0.03 | 0.24 |  | 0
8 | No |  | Bolt, nut and washer |  |  | CONS_053 | 875 | (__) |  | 02-002 |  |  |  | 1 | 2004-05-11 | 0.1 | 0.8 |  | 0
1 | No |  | Labour only (FIX 1) |  |  | LABO_005 | 900 | MISC | [5 empty] | 1 |  | 0 | 0 | 1.2 | 1.2
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 138.4433 |  | 3.66
TB
|  | t | Item: 4
Supply, install & connect the following power points complete with wiring accessories.
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
24 | No. |  | Item: 4.01 | 83.3 | 1999.2 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 28.93 | 694.32 | 54.37 | 1304.88 | 1999.2 | 631.2 | 43.2 | 16185.6
|  |  | 13A Twin socket outlets | [6 empty] | n
24 | No |  | WHITE Socket 13A Twin |  |  | WACC_050 | 705 | BG | 922 |  |  |  |  | 3 | 1994-12-01 | 2.98 | 71.52 | 0.17 | 4.08
24 | No |  | Label Small |  |  | CONS_021 | 875 | (__) |  | 05-002 |  |  |  | 3 | 1995-05-01 | 0.5 | 12 | 0.05 | 1.2
48 | No |  | Screw Wood S6 |  |  | CONS_035 | 875 | (__) |  | 02-008 |  |  |  | 1 | 1994-12-01 | 0.03 | 1.44 |  | 0
48 | No |  | Rawl Plug S6 |  |  | CONS_030 | 875 | (__) |  | 02-009 |  |  |  | 1 | 1994-12-01 | 0.03 | 1.44 |  | 0
|  | h | [PantaShowroom_Phase2.xlsx]Elec_Rates!$D$19 |  |  | RATE_AAA
24 | 1 | 24 | 001# Power Point |  | Local Rate | RTLO_002 | [9 empty] | 22.7 | 544.8 | 1.58 | 37.92
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 631.2 |  | 43.2
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
14 | No. |  | Item: 4.02 | 83.4 | 1167.6 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 29.03 | 406.42 | 54.37 | 761.18 | 1167.6 | 369.46 | 25.2 | 5525.24
|  |  | !3A Fuse connection unit complete with neon indicator | [6 empty] | n
14 | No |  | WHITE FCU 13A DP Neon |  |  | WACC_043 | 705 | BG | 951 |  |  |  |  | 3 | 1994-12-01 | 3.07 | 42.98 | 0.17 | 2.38
14 | No |  | Label Small |  |  | CONS_021 | 875 | (__) |  | 05-002 |  |  |  | 3 | 1995-05-01 | 0.5 | 7 | 0.05 | 0.7
28 | No |  | Screw Wood S6 |  |  | CONS_035 | 875 | (__) |  | 02-008 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.84 |  | 0
28 | No |  | Rawl Plug S6 |  |  | CONS_030 | 875 | (__) |  | 02-009 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.84 |  | 0
|  | h | [PantaShowroom_Phase2.xlsx]Elec_Rates!$D$19 |  |  | RATE_AAA
14 | 1 | 14 | 001# Power Point |  | Local Rate | RTLO_002 | [9 empty] | 22.7 | 317.8 | 1.58 | 22.12
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 369.46 |  | 25.2
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
7 | No. |  | Item: 4.03 | 750.7 | 5254.9 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 609.33 | 4265.31 | 141.37 | 989.59 | 5254.9 | 3877.58 | 32.76 | 27372.38
3 Compartment Floor outlet boxes complete with 4No 13A single socket outlets & 2No. RJ45 single outlets
7 | No |  | Floor Outlet Box 3 Compartment |  |  | WACC_143 | 705 | (__) | [5 empty] | 2 |  | 520 | 3640 | 3 | 21
7 | No |  | To do gablow |  |  | CONS_001 | 875 | (__) |  | 01-001 |  |  |  | 1 |  | 10 | 70 |  | 0
14 | No |  | Label Small |  |  | CONS_021 | 875 | (__) |  | 05-002 |  |  |  | 3 | 1995-05-01 | 0.5 | 7 | 0.05 | 0.7
28 | No |  | Screw Wood S6 |  |  | CONS_035 | 875 | (__) |  | 02-008 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.84 |  | 0
28 | No |  | Rawl Plug S6 |  |  | CONS_030 | 875 | (__) |  | 02-009 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.84 |  | 0
|  | h | [PantaShowroom_Phase2.xlsx]Elec_Rates!$D$19 |  |  | RATE_AAA
7 | 1 | 7 | 001# Power Point |  | Local Rate | RTLO_002 | [9 empty] | 22.7 | 158.9 | 1.58 | 11.06
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 3877.58 |  | 32.76
TB
|  | t | Item: 5
Supply, install & connect the following lighting points including the Dali cabling.
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
50 | No. |  | Item: 5.01 | 35.55 | 1777.5 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 10.15 | 507.5 | 25.4 | 1270 | 1777.5 | 461.5 | 42.04 | 25177
|  |  | Light points | [6 empty] | n
125 | m |  | Conduit PVC 20mm HG RATE |  |  | COPV_003 | 700 | GEN | 20mm |  |  |  |  | 1 | 2015-07-28 | 0.9 | 112.5 | 0.13 | 16.25
1300 | m |  | Wiring Cable 1c 1.5 mm2 PVC Non-Arm |  |  | CASC_017 | 615 | CRO |  | 02-002 |  |  |  | 2 | 2006-09-28 | 0.24 | 312 | 0.015 | 19.5
37 | No |  | WHITE Ceiling Rose |  |  | WACC_037 | 705 | (__) | China |  |  |  |  | 3 | 2007-02-15 | 1 | 37 | 0.17 | 6.29
|  |  |  | 19.4 1.72 | [12 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 461.5 |  | 42.04
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
9 | No. |  | Item: 5.02 | 53.13 | 478.17 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 14.26 | 128.34 | 38.87 | 349.83 | 478.17 | 116.7 | 11.58 | 1154.52
|  |  | Emergency light points | [6 empty] | n
45 | m |  | Conduit PVC 20mm HG RATE |  |  | COPV_003 | 700 | GEN | 20mm |  |  |  |  | 1 | 2015-07-28 | 0.9 | 40.5 | 0.13 | 5.85
280 | m |  | Wiring Cable 1c 1.5 mm2 PVC Non-Arm |  |  | CASC_017 | 615 | CRO |  | 02-002 |  |  |  | 2 | 2006-09-28 | 0.24 | 67.2 | 0.015 | 4.2
9 | No |  | WHITE Ceiling Rose | 15.5 1.41 |  | WACC_037 | 705 | (__) | China |  |  |  |  | 3 | 2007-02-15 | 1 | 9 | 0.17 | 1.53
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 116.7 |  | 11.58
TB
|  | t | Item: 6
Supply, install & connect the following light fittings.
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
9 | No. |  | Item: 6.01 | 70.1 | 630.9 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 53.48 | 481.32 | 16.62 | 149.58 | 630.9 | 437.58 | 4.95 | 3982.77
|  |  | Emergency lights | [6 empty] | n
9 | No |  | Emergency Light Fitting General |  |  | LIGH_087 | 835 | (__) | [5 empty] | 3 | 2004-11-21 | 48 | 432 | 0.5 | 4.5
9 | No |  | Label Small |  |  | CONS_021 | 875 | (__) |  | 05-002 |  |  |  | 3 | 1995-05-01 | 0.5 | 4.5 | 0.05 | 0.45
18 | No |  | Screw Wood S6 |  |  | CONS_035 | 875 | (__) |  | 02-008 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.54 |  | 0
18 | No |  | Rawl Plug S6 |  |  | CONS_030 | 875 | (__) |  | 02-009 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.54 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 437.58 |  | 4.95
SB
| 0.093693 |  | PAGE: |  | 14199.67 | [5 empty] | PAGE | [5 empty] | 7857.7133 |  | 183.94
| Discy: |  |  |  | PAGE SELL | [11 empty] | PAGE MAT |  | PAGE LAB
TB
|  | t | Item: 7
Install and connect the following light fittings supplied by others.
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 7.01 | 33.16 | 33.16 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 2.2 | 2.2 | 30.96 | 30.96 | 33.16 | 2 | 1.03 | 3.03
|  |  | LED Strip Light in meeting room | [6 empty] | n
1 | No |  | Light Fitting Custom__1 |  |  | LIGH_031 | 835 | (__) | [5 empty] | 3 |  | 0 | 0 | 1 | 1
1 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CAMC_048 | 616 | CRO | 1.5mm2 | 03-002 |  |  |  | 2 | 2011-08-12 | 1 | 1 | 0.025 | 0.025
1 | No |  | CONSUMABLES |  |  | CONS_001 | 875 | (__) |  | 01-001 |  |  |  | 1 |  | 1 | 1 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 2 |  | 1.025
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 7.02 | 52.66 | 52.66 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 6.6 | 6.6 | 46.06 | 46.06 | 52.66 | 6 | 1.53 | 7.53
|  |  | Chandelier in meeting room | [6 empty] | n
1 | No |  | Light Fitting Custom__1 |  |  | LIGH_031 | 835 | (__) | [5 empty] | 3 |  | 0 | 0 | 1.5 | 1.5
1 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CAMC_048 | 616 | CRO | 1.5mm2 | 03-002 |  |  |  | 2 | 2011-08-12 | 1 | 1 | 0.025 | 0.025
1 | No |  | CONSUMABLES |  |  | CONS_001 | 875 | (__) |  | 01-001 |  |  |  | 1 |  | 5 | 5 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 6 |  | 1.525
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
2 | No. |  | Item: 7.03 | 108.85 | 217.7 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 6.6 | 13.2 | 102.25 | 204.5 | 217.7 | 12 | 6.77 | 37.54
|  |  | Lighting track 4.8 meteres | [6 empty] | n
2 | No |  | Light Fitting Custom__1 |  |  | LIGH_031 | 835 | (__) | [5 empty] | 3 |  | 0 | 0 | 3.36 | 6.72
2 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CAMC_048 | 616 | CRO | 1.5mm2 | 03-002 |  |  |  | 2 | 2011-08-12 | 1 | 2 | 0.025 | 0.05
2 | No |  | CONSUMABLES |  |  | CONS_001 | 875 | (__) |  | 01-001 |  |  |  | 1 |  | 5 | 10 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 12 |  | 6.77
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 7.04 | 324.52 | 324.52 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 6.6 | 6.6 | 317.92 | 317.92 | 324.52 | 6 | 10.53 | 16.53
|  |  | Lighting track 15 meteres | [6 empty] | n
1 | No |  | Light Fitting Custom__1 |  |  | LIGH_031 | 835 | (__) | [5 empty] | 3 |  | 0 | 0 | 10.5 | 10.5
1 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CAMC_048 | 616 | CRO | 1.5mm2 | 03-002 |  |  |  | 2 | 2011-08-12 | 1 | 1 | 0.025 | 0.025
1 | No |  | CONSUMABLES |  |  | CONS_001 | 875 | (__) |  | 01-001 |  |  |  | 1 |  | 5 | 5 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 6 |  | 10.525
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 7.05 | 81.36 | 81.36 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 6.6 | 6.6 | 74.76 | 74.76 | 81.36 | 6 | 2.48 | 8.48
|  |  | Lighting track 3.5 meteres | [6 empty] | n
1 | No |  | Light Fitting Custom__1 |  |  | LIGH_031 | 835 | (__) | [5 empty] | 3 |  | 0 | 0 | 2.45 | 2.45
1 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CAMC_048 | 616 | CRO | 1.5mm2 | 03-002 |  |  |  | 2 | 2011-08-12 | 1 | 1 | 0.025 | 0.025
1 | No |  | CONSUMABLES |  |  | CONS_001 | 875 | (__) |  | 01-001 |  |  |  | 1 |  | 5 | 5 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 6 |  | 2.475
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 7.06 | 218.8 | 218.8 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 6.6 | 6.6 | 212.2 | 212.2 | 218.8 | 6 | 7.03 | 13.03
|  |  | Lighting track 10 meteres | [6 empty] | n
1 | No |  | Light Fitting Custom__1 |  |  | LIGH_031 | 835 | (__) | [5 empty] | 3 |  | 0 | 0 | 7 | 7
1 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CAMC_048 | 616 | CRO | 1.5mm2 | 03-002 |  |  |  | 2 | 2011-08-12 | 1 | 1 | 0.025 | 0.025
1 | No |  | CONSUMABLES |  |  | CONS_001 | 875 | (__) |  | 01-001 |  |  |  | 1 |  | 5 | 5 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 6 |  | 7.025
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 7.07 | 261.09 | 261.09 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 6.6 | 6.6 | 254.49 | 254.49 | 261.09 | 6 | 8.43 | 14.43
|  |  | Lighting track 12 meteres | [6 empty] | n
1 | No |  | Light Fitting Custom__1 |  |  | LIGH_031 | 835 | (__) | [5 empty] | 3 |  | 0 | 0 | 8.4 | 8.4
1 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CAMC_048 | 616 | CRO | 1.5mm2 | 03-002 |  |  |  | 2 | 2011-08-12 | 1 | 1 | 0.025 | 0.025
1 | No |  | CONSUMABLES |  |  | CONS_001 | 875 | (__) |  | 01-001 |  |  |  | 1 |  | 5 | 5 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 6 |  | 8.425
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 7.08 | 28.5 | 28.5 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 6.6 | 6.6 | 21.9 | 21.9 | 28.5 | 6 | 0.73 | 6.73
|  |  | Hexagon Lighting | [6 empty] | n
1 | No |  | Light Fitting Custom__1 |  |  | LIGH_031 | 835 | (__) | [5 empty] | 3 |  | 0 | 0 | 0.7 | 0.7
1 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CAMC_048 | 616 | CRO | 1.5mm2 | 03-002 |  |  |  | 2 | 2011-08-12 | 1 | 1 | 0.025 | 0.025
1 | No |  | CONSUMABLES |  |  | CONS_001 | 875 | (__) |  | 01-001 |  |  |  | 1 |  | 5 | 5 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 6 |  | 0.725
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
13 | No. |  | Item: 7.09 | 33.16 | 431.08 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 2.2 | 28.6 | 30.96 | 402.48 | 431.08 | 26 | 13.33 | 511.29
|  |  | High Ceiling Lighting | [6 empty] | n
13 | No |  | Light Fitting Custom__1 |  |  | LIGH_031 | 835 | (__) | [5 empty] | 3 |  | 0 | 0 | 1 | 13
13 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CAMC_048 | 616 | CRO | 1.5mm2 | 03-002 |  |  |  | 2 | 2011-08-12 | 2 | 26 | 0.025 | 0.325
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 26 |  | 13.325
TB
|  | t | Item: 8
Supply, install & connect Dali equipment.
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No |  | Item: 8.01 | 1283.99 | 1283.99 | ISELL |  |  |  | mu_A | ITEM |  |  |  |  | Existing |  |  | mu :1.1 | [8 empty] | 1039.32 | 1039.32 | 244.67 | 244.67 | 1283.99 | 944.84 | 8.1 | 952.94
|  |  | Dali controller | [6 empty] | n
1 | No |  | CONTROL PANELS |  | Price From Guy | BMSE_001 | 512 | (__) | [5 empty] | 2 |  | 850.44 | 850.44 | 2 | 2
1 | No |  | Labour only (FIX 1) |  |  | LABO_005 | 900 | MISC | [5 empty] | 1 |  | 0 | 0 | 1 | 1
20 | m |  | Conduit PVC 25mm HG RATE |  |  | COPV_007 | 700 | GEN | 25mm |  |  |  |  | 1 | 2015-07-28 | 1.72 | 34.4 | 0.18 | 3.6
60 | m |  | Data Cable 4Pr UTP CAT6 |  |  | CASP_007 | 617 | (__) | [5 empty] | 2 |  | 1 | 60 | 0.025 | 1.5
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 944.84 |  | 8.1
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 8.02 | 1151.85 | 1151.85 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 1135.84 | 1135.84 | 16.01 | 16.01 | 1151.85 | 1032.58 | 0.53 | 1033.11
|  |  | Dali 7" Main touch screen | [6 empty] | n
1 | No |  | CONTROL PANELS |  | Price From Guy | BMSE_001 | 512 | (__) | [5 empty] | 2 |  | 1022.58 | 1022.58 |  | 0
1 | No |  | Labour only (FIX 1) |  |  | LABO_005 | 900 | MISC | [5 empty] | 1 |  | 0 | 0 | 0.5 | 0.5
1 | No |  | Data Patch Leads CAT5E 5m |  |  | DATA_007 | 821 | (__) | [5 empty] | 3 |  | 10 | 10 | 0.03 | 0.03
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 1032.58 |  | 0.53
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 8.03 | 391.3 | 391.3 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 375.29 | 375.29 | 16.01 | 16.01 | 391.3 | 341.17 | 0.53 | 341.7
|  |  | Dali touch screen in meeting room | [6 empty] | n
1 | No |  | CONTROL PANELS |  | Price From Guy | BMSE_001 | 512 | (__) | [5 empty] | 2 |  | 331.17 | 331.17 |  | 0
1 | No |  | Labour only (FIX 1) |  |  | LABO_005 | 900 | MISC | [5 empty] | 1 |  | 0 | 0 | 0.5 | 0.5
1 | No |  | Data Patch Leads CAT5E 5m |  |  | DATA_007 | 821 | (__) | [5 empty] | 3 |  | 10 | 10 | 0.03 | 0.03
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 341.17 |  | 0.53
TB
|  | t | Item: 9
Supply, install & connect data points
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
27 | No. |  | Item: 9.01 | 39.36 | 1062.72 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 10.16 | 274.32 | 29.2 | 788.4 | 1062.72 | 249.4 | 26.1 | 7438.5
|  |  | 25mm PVC conduit | [6 empty] | n
145 | m |  | Conduit PVC 25mm HG RATE |  |  | COPV_007 | 700 | GEN | 25mm |  |  |  |  | 1 | 2015-07-28 | 1.72 | 249.4 | 0.18 | 26.1
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 249.4 |  | 26.1
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1150 | M |  | Item: 9.02 | 0.76 | 874 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.11 | [8 empty] | 0 | 0 | 0.76 | 874 | 874 | 0 | 28.75 | 33062.5
|  |  | Cat6 cables | [6 empty] | n
1150 | m |  | Data Cable 4Pr UTP CAT6 |  |  | CASP_007 | 617 | (__) | [5 empty] | 2 |  | 0 | 0 | 0.025 | 28.75
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 0 |  | 28.75
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
6 | No. |  | Item: 9.03 | 7.33 | 43.98 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 0.68 | 4.08 | 6.65 | 39.9 | 43.98 | 3.72 | 1.32 | 30.24
|  |  | Single RJ45 outlets | [6 empty] | n
6 | No |  | WHITE RJ45 outlet single |  |  | WACC_184 | 705 | (__) | [5 empty] | 3 | 2004-06-08 | 0 | 0 | 0.17 | 1.02
6 | No |  | Label Small |  |  | CONS_021 | 875 | (__) |  | 05-002 |  |  |  | 3 | 1995-05-01 | 0.5 | 3 | 0.05 | 0.3
12 | No |  | Screw Wood S6 |  |  | CONS_035 | 875 | (__) |  | 02-008 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.36 |  | 0
12 | No |  | Rawl Plug S6 |  |  | CONS_030 | 875 | (__) |  | 02-009 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.36 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 3.72 |  | 1.32
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
21 | No. |  | Item: 9.04 | 10.72 | 225.12 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 0.65 | 13.65 | 10.07 | 211.47 | 225.12 | 12.4 | 7 | 407.4
|  |  | Twin RJ45 outlets | [6 empty] | n
20 | No |  | WHITE RJ45 outlet Twin |  |  | WACC_185 | 705 | (__) | [5 empty] | 3 | 2004-06-08 | 0 | 0 | 0.3 | 6
20 | No |  | Label Small |  |  | CONS_021 | 875 | (__) |  | 05-002 |  |  |  | 3 | 1995-05-01 | 0.5 | 10 | 0.05 | 1
40 | No |  | Screw Wood S6 |  |  | CONS_035 | 875 | (__) |  | 02-008 |  |  |  | 1 | 1994-12-01 | 0.03 | 1.2 |  | 0
40 | No |  | Rawl Plug S6 |  |  | CONS_030 | 875 | (__) |  | 02-009 |  |  |  | 1 | 1994-12-01 | 0.03 | 1.2 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 12.4 |  | 7
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
46 | No. |  | Item: 9.05 | 7.55 | 347.3 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 0 | 0 | 7.55 | 347.3 | 347.3 | 0 | 11.5 | 529
|  |  | Termination of Cat6 cables atpatch panel end | [6 empty] | n
46 | No |  | Labour to Connect Up (FIX 3) |  |  | LABO_003 | 900 | MISC | [5 empty] | 3 | 1995-04-01 | 0 | 0 | 0.25 | 11.5
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 0 |  | 11.5
SB
| 5.5651 |  | PAGE: |  | 7029.13 | [5 empty] | PAGE | [5 empty] | 2660.11 |  | 135.65
| Discy: |  |  |  | PAGE SELL | [11 empty] | PAGE MAT |  | PAGE LAB
TB
|  | t | Item: 10
Install & connect access control system.
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 10.01 | 49.03 | 49.03 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 7.04 | 7.04 | 41.99 | 41.99 | 49.03 | 6.4 | 1.39 | 7.79
|  |  | Access master controller Installation Only | [6 empty] | n
1 | No |  | ACCESS CONTROL EQUIPMENT |  | Installation | ACCE_001 | 751 | (__) | [5 empty] | 3 |  | 0 | 0 | 0.75 | 0.75
2 | No |  | Label Small |  |  | CONS_021 | 875 | (__) |  | 05-002 |  |  |  | 3 | 1995-05-01 | 0.5 | 1 | 0.05 | 0.1
4 | No |  | Screw Wood S6 |  |  | CONS_035 | 875 | (__) |  | 02-008 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.12 |  | 0
4 | No |  | Rawl Plug S6 |  |  | CONS_030 | 875 | (__) |  | 02-009 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.12 |  | 0
3 | m |  | Conduit PVC 25mm HG RATE |  |  | COPV_007 | 700 | GEN | 25mm |  |  |  |  | 1 | 2015-07-28 | 1.72 | 5.16 | 0.18 | 0.54
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 6.4 |  | 1.39
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No. |  | Item: 10.02 | 39.28 | 39.28 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 6.36 | 6.36 | 32.92 | 32.92 | 39.28 | 5.78 | 1.09 | 6.87
|  |  | Access card reader c/w conduits and cables Installation Only | [6 empty] | n
1 | No |  | Access Control Card Reader Pedestal |  |  | ACCE_042 | 751 | (__) |  |  |  | 0 | 0 | 3 | 2011-10-06 | 0 | 0 | 0.5 | 0.5
1 | No |  | Label Small |  |  | CONS_021 | 875 | (__) |  | 05-002 |  |  |  | 3 | 1995-05-01 | 0.5 | 0.5 | 0.05 | 0.05
2 | No |  | Screw Wood S6 |  |  | CONS_035 | 875 | (__) |  | 02-008 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.06 |  | 0
2 | No |  | Rawl Plug S6 |  |  | CONS_030 | 875 | (__) |  | 02-009 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.06 |  | 0
3 | m |  | Conduit PVC 25mm HG RATE |  |  | COPV_007 | 700 | GEN | 25mm |  |  |  |  | 1 | 2015-07-28 | 1.72 | 5.16 | 0.18 | 0.54
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 5.78 |  | 1.09
TB
|  | t | Item: 11
Install & connect CCTV Cameras system.
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
7 | No. |  | Item: 11.01 | 51.19 | 358.33 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 17.36 | 121.52 | 33.83 | 236.81 | 358.33 | 110.46 | 7.84 | 828.1
|  |  | Internal CCTV Cameras c/w conduits & Cables Installation Only | [6 empty] | n
7 | No |  | CCTV Dome Camera Fixed |  |  | CCTV_014 | 865 | (__) | [5 empty] | 3 |  |  | 0 | 0.5 | 3.5
7 | No |  | Label Small |  |  | CONS_021 | 875 | (__) |  | 05-002 |  |  |  | 3 | 1995-05-01 | 0.5 | 3.5 | 0.05 | 0.35
14 | No |  | Screw Wood S6 |  |  | CONS_035 | 875 | (__) |  | 02-008 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.42 |  | 0
14 | No |  | Rawl Plug S6 |  |  | CONS_030 | 875 | (__) |  | 02-009 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.42 |  | 0
7 | No |  | Data Patch Leads CAT5E 5m |  |  | DATA_007 | 821 | (__) | [5 empty] | 3 |  | 10 | 70 | 0.03 | 0.21
21 | m |  | Conduit PVC 25mm HG RATE |  |  | COPV_007 | 700 | GEN | 25mm |  |  |  |  | 1 | 2015-07-28 | 1.72 | 36.12 | 0.18 | 3.78
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 110.46 |  | 7.84
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
3 | No. |  | Item: 11.02 | 65.85 | 197.55 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 21.14 | 63.42 | 44.71 | 134.13 | 197.55 | 57.66 | 4.44 | 186.3
|  |  | External CCTV Cameras c/w conduits & Cables Installation Only | [6 empty] | n
3 | No |  | CCTV Dome Camera Fixed |  |  | CCTV_014 | 865 | (__) | [5 empty] | 3 |  |  | 0 | 0.5 | 1.5
3 | No |  | Label Small |  |  | CONS_021 | 875 | (__) |  | 05-002 |  |  |  | 3 | 1995-05-01 | 0.5 | 1.5 | 0.05 | 0.15
6 | No |  | Screw Wood S6 |  |  | CONS_035 | 875 | (__) |  | 02-008 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.18 |  | 0
6 | No |  | Rawl Plug S6 |  |  | CONS_030 | 875 | (__) |  | 02-009 |  |  |  | 1 | 1994-12-01 | 0.03 | 0.18 |  | 0
3 | No |  | Data Patch Leads CAT5E 5m |  |  | DATA_007 | 821 | (__) | [5 empty] | 3 |  | 10 | 30 | 0.03 | 0.09
15 | m |  | Conduit PVC 25mm HG RATE |  |  | COPV_007 | 700 | GEN | 25mm |  |  |  |  | 1 | 2015-07-28 | 1.72 | 25.8 | 0.18 | 2.7
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 57.66 |  | 4.44
TB
|  | t | Item: 12
Install & connect fire alarm system.
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | LS |  | Item: 12.01 | 2150.5 | 2150.5 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.1 | [8 empty] | 1072.5 | 1072.5 | 1078 | 1078 | 2150.5 | 975 | 35.69 | 1010.69
Supply, installation, testing, and commissioning of complete Addressable/Conventional Fire Alarm System (as per project drawings), including but not limited to smoke detectors, heat detectors, manual call points, sounder bases, cabling, junction boxes, accessories, termination, programming, integration with other systems, and all associated materials, equipment, and labor required to deliver a fully operational system.
1 | No |  | Fire Alarm System Matterial Supply |  | Josef Pollaco | FIRE_016 | 725 | (__) | [5 empty] | 3 |  | 975 | 975 | 0 | 0
1 | No |  | Addres. Sensor Optical Smoke |  | Josef Pollaco | FIRE_016 | 725 | (__) | [5 empty] | 3 |  | 0 | 0 | 35.6883 | 35.6883
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 975 |  | 35.6883
SB
| 1374.4088 |  | PAGE: |  | 3910 | [5 empty] | PAGE | [5 empty] | 919.7733 |  | 50.4483
| Discy: |  |  |  | PAGE SELL | [11 empty] | PAGE MAT |  | PAGE LAB
[29 empty] | 12840.16 |  | 11183.33 | 24023.49
| 5.6782 | cc |  | Electrical (mu_A) : | 24023.49 | [11 empty] | 11673.1233 |  | 370.0383 | [9 empty] | 12840.4357 |  | 11177.3761
| 0 | cc |  | 0 (mu_B) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_C) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_D) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_E) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_F) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_G) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_H) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_I) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 |  |  | 0 (mu_J) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
|  | MATERIAL SUMMARY |  | MU SUMMARY TOTAL | 24023.49 | [11 empty] | 11673.1233 |  | 370.0383 | [9 empty] | 12840.4357 |  | 11177.3761 | 24017.8118
[29 empty] | -0.27567 |  | 5.9539 | 5.6782
| Disc. with |  |  | MATERIAL ITEMS TOTAL | [6 empty] | COMP_GT | [5 empty] | 11673.1233 |  | 370.0383
equal MUs
| 5.6782 |  |  | BOQ ITEMS TOTAL | 24023.49 | [5 empty] | ITEM_GT | [5 empty] | 11673.1233 |  | 370.0383
| 1380.0676 |  |  | PAGES TOTAL | 25138.8 | [5 empty] | PAGE_GT | [5 empty] | 11437.5967 |  | 370.0383
SB | 0 |  |  | SECTIONS TOTAL | 0 | [5 empty] | SECT_GT | [5 empty] | 0 |  | 0
END!
| V:56 |  |  | COSTCODE TOTAL | [12 empty] | 11673.0233 |  | 370.0383
| 1 | cc | Erection materials |  | 501 | [9 empty] | 1 |  | 9.5733 |  | 0
| 2 | cc | Busbar Trunking |  | 505 | [9 empty] | 1 |  | 0 |  | 0
| 3 | cc | Switchgear |  | 510 | [9 empty] | 2 |  | 593.18 |  | 8.75
| 4 | cc | MCC Equipment |  | 511 | [9 empty] | 2 |  | 0 |  | 0
| 5 | cc | BMS Equipment |  | 512 | [9 empty] | 2 |  | 2204.19 |  | 2
| 6 | cc | PVC Pipes / Ducts |  | 520 | [9 empty] | 1 |  | 0 |  | 0
| 7 | cc | High/medium voltage switchgear |  | 530 | [9 empty] | 2 |  | 0 |  | 0
| 8 | cc | Power Transformers |  | 550 | [9 empty] | 2 |  | 0 |  | 0
| 9 | cc | Control Panels |  | 570 | [9 empty] | 2 |  | 0 |  | 0
| 10 | cc | Electrical Single Core Cables |  | 615 | [9 empty] | 2 |  | 850.2 |  | 37.2
| 11 | cc | Electrical Multicore Cables |  | 616 | [9 empty] | 2 |  | 1210 |  | 8.8
| 12 | cc | ELV/BMS/Special Cables |  | 617 | [9 empty] | 2 |  | 60 |  | 30.25
| 13 | cc | Cables accessories |  | 620 | [9 empty] | 2 |  | 51.09 |  | 3.5
| 14 | cc | Galv. Cable Trays |  | 650 | [9 empty] | 1 |  | 0 |  | 0
| 15 | cc | PVC Cable Trays |  | 651 | [9 empty] | 1 |  | 0 |  | 0
| 16 | cc | Galv. Cable Basket |  | 652 | [9 empty] | 1 |  | 0 |  | 0
| 17 | cc | Galv. Cable Ladder |  | 654 | [9 empty] | 1 |  | 0 |  | 0
| 18 | cc | Galv. Cable Trunking |  | 675 | [9 empty] | 1 |  | 117.96 |  | 2.46
| 19 | cc | Alum. Cable Trunking |  | 676 | [9 empty] | 1 |  | 0 |  | 0
| 20 | cc | PVC Cable Trunking |  | 680 | [9 empty] | 1 |  | 0 |  | 0
| 21 | cc | Underfloor Cable Trunking |  | 681 | [9 empty] | 1 |  | 0 |  | 0
| 22 | cc | Galv. Conduit |  | 690 | [9 empty] | 1 |  | 0 |  | 0
| 23 | cc | PVC Conduit |  | 700 | [9 empty] | 1 |  | 1059.44 |  | 116.96
| 24 | cc | Wiring Accessories |  | 705 | [9 empty] | 3 |  | 3800.5 |  | 42.3
| 25 | cc | Dimming Equipment |  | 706 | [9 empty] | 3 |  | 0 |  | 0
| 26 | cc | Fire Alarm Equipment |  | 725 | [9 empty] | 3 |  | 975 |  | 35.6883
| 27 | cc | Fire Barriers |  | 726 | [9 empty] | 3 |  | 0 |  | 0
| 28 | cc | Security Alarm System |  | 750 | [9 empty] | 3 |  | 0 |  | 0
| 29 | cc | Access Control |  | 751 | [9 empty] | 3 |  | 0 |  | 1.25
| 30 | cc | Hotel Electronic Lock |  | 752 | [9 empty] | 3 |  | 0 |  | 0
| 31 | cc | Sub-Contracting Installation Elec |  | 753 | [9 empty] | 3 |  | 0 |  | 0
| 32 | cc | Timing Equipment |  | 770 | [9 empty] | 3 |  | 0 |  | 0
| 33 | cc | Public Address |  | 790 | [9 empty] | 3 |  | 0 |  | 0
| 34 | cc | Voice Alarm Equipment |  | 791 | [9 empty] | 3 |  | 0 |  | 0
| 35 | cc | Lightning / Bonding System |  | 810 | [9 empty] | 3 |  | 0 |  | 0
| 36 | cc | T.V System |  | 815 | [9 empty] | 3 |  | 0 |  | 0
| 37 | cc | UPS/Voltage Stabilisers |  | 820 | [9 empty] | 2 |  | 0 |  | 0
| 38 | cc | Data Network Equipment |  | 821 | [9 empty] | 3 |  | 120 |  | 0.36
| 39 | cc | Light Fittings |  | 835 | [9 empty] | 3 |  | 432 |  | 55.77
| 40 | cc | Generators, AMF Panels |  | 845 | [9 empty] | 2 |  | 0 |  | 0
| 41 | cc | Telephone Equipment |  | 855 | [9 empty] | 3 |  | 0 |  | 0
| 42 | cc | Intercom |  | 856 | [9 empty] | 3 |  | 0 |  | 0
| 43 | cc | Mechanical for Electrical |  | 857 | [9 empty] | 4 |  | 0 |  | 0
| 44 | cc | Nurse Call |  | 858 | [9 empty] | 3 |  | 0 |  | 0
| 45 | cc | C.C.T.V. Equipment |  | 865 | [9 empty] | 3 |  | 0 |  | 5
| 46 | cc | Tools and Instruments |  | 870 | [9 empty] | 4 |  | 0 |  | 0
| 47 | cc | Consumbles |  | 875 | [9 empty] | 1 |  | 189.89 |  | 5.05
| 48 | cc | Drawings/Manuals |  | 880 | [9 empty] | 3 |  | 0 |  | 0
| 49 | cc | Spare Parts |  | 885 | [9 empty] | 4 |  | 0 |  | 0
| 50 | cc | Labour |  | 900 | [9 empty] | 3 |  | 0 |  | 14.7
| 51 | cc | Dismantling (Labour Only) |  | 901 | [9 empty] | 1 |  | 0 |  | 0
| 52 | cc | Testing & Commissioning |  | 902 | [9 empty] | 3 |  | 0 |  | 0
| 53 | cc | Sub-Contracting Works |  | 960 | [9 empty] | 4 |  | 0 |  | 0
| 54 | cc | Enemalta Application |  | 961 | [9 empty] | 3 |  | 0 |  | 0
| 55 | cc | Crainage and Transportation |  | 962 | [9 empty] | 1 |  | 0 |  | 0
| 56 | cc | Provisional Sum |  | 970 | [9 empty] | 4 |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | cc |  |  | Fix 1 |  | 1 | [9 empty] | 1376.8633 |  | 124.47
|  | cc |  |  | Fix 2 |  | 2 | [9 empty] | 4968.66 |  | 90.5
|  | cc |  |  | Fix 3 |  | 2 | [9 empty] | 5327.5 |  | 155.0683
|  | cc |  |  | Others |  | 3 | [9 empty] | 0 |  | 0
[5 empty] | TOTAL | [11 empty] | 11673.0233 |  | 370.0383
| RATE TOTALS IN CURRENT SHEET | RATE TOTALS IN CURRENT SHEET
| 45 |  | 001# Power Point
Note on AK369: Michael Vella: This cell should be exactly equal to the MU SUMMARY TOTAL.
Note on AH381: Michael Vella: This discrepancy must be small
Note on AJ381: Michael Vella: This discrepancy must be small
Note on AK381: Michael Vella: This discrepancy must be small

## E_BOQ
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
1 | Supply, install & connect power supply cables.
1.01 | 5c 35mm XLPE/SWA/LSZH cable SR.E2 | 35 | M | 34.29 | 1200.15
1.02 | 5c 6.0mm XLPE/SWA/LSZH Cable | 50 | M | 10.07 | 503.5
2 | Supply, install & connect the following switchgear.
2.01 | 12 Way Distrebution Board DB-SR.E2 | 1 | No. | 839.15 | 839.15
2.02 | 4P 63A IP65 Isolator for AC outdoor unit | 1 | No. | 85.74 | 85.74
3 | Supply & install the following containment
3.03 | 100x100mm Galvanised cable trunking | 6 | M | 43.81 | 262.86
4 | Supply, install & connect the following power points complete with wiring accessories.
4.01 | 13A Twin socket outlets | 24 | No. | 83.3 | 1999.2
4.02 | !3A Fuse connection unit complete with neon indicator | 14 | No. | 83.4 | 1167.6
4.03 | 3 Compartment Floor outlet boxes complete with 4No 13A single socket outlets & 2No. RJ45 single outlets | 7 | No. | 750.7 | 5254.9
5 | Supply, install & connect the following lighting points including the Dali cabling.
5.01 | Light points | 50 | No. | 35.55 | 1777.5
5.02 | Emergency light points | 9 | No. | 53.13 | 478.17
6 | Supply, install & connect the following light fittings.
6.01 | Emergency lights | 9 | No. | 70.1 | 630.9
SB |  |  |  | Page Total : | 14199.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
7 | Install and connect the following light fittings supplied by others.
7.01 | LED Strip Light in meeting room | 1 | No. | 33.16 | 33.16
7.02 | Chandelier in meeting room | 1 | No. | 52.66 | 52.66
7.03 | Lighting track 4.8 meteres | 2 | No. | 108.85 | 217.7
7.04 | Lighting track 15 meteres | 1 | No. | 324.52 | 324.52
7.05 | Lighting track 3.5 meteres | 1 | No. | 81.36 | 81.36
7.06 | Lighting track 10 meteres | 1 | No. | 218.8 | 218.8
7.07 | Lighting track 12 meteres | 1 | No. | 261.09 | 261.09
7.08 | Hexagon Lighting | 1 | No. | 28.5 | 28.5
7.09 | High Ceiling Lighting | 13 | No. | 33.16 | 431.08
8 | Supply, install & connect Dali equipment.
8.01 | Dali controller | 1 | No | 1283.99 | 1283.99
8.02 | Dali 7" Main touch screen | 1 | No. | 1151.85 | 1151.85
8.03 | Dali touch screen in meeting room | 1 | No. | 391.3 | 391.3
9 | Supply, install & connect data points
9.01 | 25mm PVC conduit | 27 | No. | 39.36 | 1062.72
9.02 | Cat6 cables | 1150 | M | 0.76 | 874
9.03 | Single RJ45 outlets | 6 | No. | 7.33 | 43.98
9.04 | Twin RJ45 outlets | 21 | No. | 10.72 | 225.12
9.05 | Termination of Cat6 cables atpatch panel end | 46 | No. | 7.55 | 347.3
SB |  |  |  | Page Total : | 7029.13
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
10 | Install & connect access control system.
10.01 | Access master controller Installation Only | 1 | No. | 49.03 | 49.03
10.02 | Access card reader c/w conduits and cables Installation Only | 1 | No. | 39.28 | 39.28
11 | Install & connect CCTV Cameras system.
11.01 | Internal CCTV Cameras c/w conduits & Cables Installation Only | 7 | No. | 51.19 | 358.33
11.02 | External CCTV Cameras c/w conduits & Cables Installation Only | 3 | No. | 65.85 | 197.55
12 | Install & connect fire alarm system.
12.01 | Supply, installation, testing, and commissioning of complete Addressable/Conventional Fire Alarm System (as per project drawings), including but not limited to smoke detectors, heat detectors, manual call points, sounder bases, cabling, junction boxes, accessories, termination, programming, integration with other systems, and all associated materials, equipment, and labor required to deliver a fully operational system. | 1 | LS | 2150.5 | 2150.5
SB |  |  |  | Page Total : | 2794.69
SB |  |  |  | Grand Total Excluding VAT : | 24023.49

## E_DBOQ
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0