## TotalCosts (Hrs)
C26_BMIT_KNX_P286.1_R0.1.xlsx
[7 empty] | Min. Hrs | 8 | [26 empty] | Sell Rate: | 27.46 | 30
| Part No. | Description | Material | Drives | LL points | HL nodes | Panel Building |  |  | Panel Testing |  | Panel Design |  | Programming |  |  | Point Testing |  |  | Functional Testing |  |  | Others (Technician) |  | Others (Engineer) | Qty | Unit Price (excl. VAT) | TOTAL (excl.VAT) | TOTAL (Excl. VAT) | TOTAL (Excl. VAT) | M.U. | Tradesman rate PAIR HRS | Technician rate PAIR HRS | Engineer rate MAN HRS |  | Labour (Selling) | Engineer (Selling) | Qty | Unit Price (with Mark-up) | TOTAL (with Mark-up)
[7 empty] | Pair hrs |  | Rate: | Man hrs | Rate: | Man hrs | Rate: | Man hrs |  | Rate: | Pair hrs |  | Rate: | Man hrs |  | Rate: | Pair hrs | Rate: | Man hrs | [5 empty] | 1
|  |  |  | 15 | 0.5 | 5 |  | ON/OFF | 0 |  | 0 |  | 0 |  | ON/OFF | 0 |  | ON/OFF | 0 |  | ON/OFF | 0 |  | 0
|  |  |  | 0.25 | 0.25 | 1
1
1 |  | Room management system, power supply, programming | 345 | 0 | 15 | 3 | 0 |  | 0 | 0 | 0 | 0 | 0 | 10.5 | 1 | 0 | 7.5 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 345 | 345 | 345 | 345 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 345 | 345
2 |  | All other accessories such as terminal blocks and other sundries etc | 114.65 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 114.65 | 114.65 | 114.65 | 114.65 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 114.65 | 114.65
3 |  | Relay/contactors for control | 100.43 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 100.43 | 100.43 | 100.43 | 100.43 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 100.43 | 100.43
4 |  | Main door contact (dry contact type) | 5 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 5 | 5 | 5 | 5 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 5 | 5
5 |  | Balcony door contact (dry contact type) | 5 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 5 | 5 | 5 | 5 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 5 | 5
6 |  | Occupancy sensors (dry contact type) | 130 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 130 | 130 | 130 | 130 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 130 | 130
7 |  | Control lighting, volume control damper, bathroom and bedroom fan, indoor unit,exterior balcony light, power outlets, bathroom light switch etc | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 4 | 4 |  | 109.84 | 120 | 1 | 229.84 | 229.84
8 |  | Provide measurement of power outlet energy usage | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
9 |  | Standalone CO2 sensor with an audible and/or visible alarm in case CO2 exceeds the preset limit for the room/spaces in main living area complete with power supply, etc preference to units working at low voltage sharing supply with rems (installation height) 1.1-1.8 m, | 195.5 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 195.5 | 195.5 | 195.5 | 195.5 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 195.5 | 195.5
10 |  | J | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
11 |  | K | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
12 |  | L | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
13 |  | M | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
14 |  | N | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
15 |  | O | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
16 |  | P | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
17 |  | Q | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
18 |  | R | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
19 |  | S | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
20 |  | T | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
21 |  | U | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
22 |  | -- | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
23 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
24 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
25 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
26 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
27 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
28 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
29 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
30 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
31 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
32 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
33 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
34 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
35 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
36 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
37 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
38 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
39 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
40 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
41 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
42 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
43 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
44 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
45 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
46 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
47 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
48 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
49 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
50 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
51 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
52 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
53 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
54 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
55 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
56 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
57 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
58 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
59 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
60 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
61 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
62 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
63 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
64 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
65 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
66 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
67 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
68 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
69 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
70 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
71 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
72 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
73 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
74 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
75 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
76 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
77 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
78 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
79 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
80 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
81 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
82 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
83 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
84 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
85 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
86 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
88 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
89 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
90 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
91 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
92 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
93 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
94 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
95 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
96 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
97 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
98 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
99 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
100 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
101 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
102 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
103 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
104 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
105 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
106 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
107 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
108 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
109 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
110 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
111 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
112 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
113 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
114 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
115 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
116 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
117 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
118 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
119 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
120 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
121 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
122 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
123 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
124 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
125 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
126 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
127 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
128 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
129 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
130 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
131 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
132 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
133 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0
---
|  | TOTAL (Excl. VAT) | 895.58 |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 10.5 |  | 0 | 7.5 |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  | 895.58 |  | 895.58 |  | 0 | 4 | 4 |  | 109.84 | 120 |  |  | 1125.42
|  | TOTAL MATERIAL COST | 895.58
|  | Tradesman rate PAIR HRS | 0
|  | Technician rate PAIR HRS | #REF!
|  | Engineer rate PAIR HRS | 6
Notes:
1. |  | Cost includes:
a. |  | Design
b. |  | Manufacture
c. |  | FAT
2. |  | Cost excludes:
a.
b.
c.
d.
e.
Note on AJ15: Guy Baranyay: 4 hours per room: - 1 x Jasmine - 1 x BMS Pair - 4Hours

## MaterialCosts Summary
|  | C26_BMIT_KNX_P286.1_R0.1.xlsx | 895.58
Rev. 0
| Part No. | Description | Material | Mark-up | TOTAL
1 |  | Room management system, power supply, programming | 345 |  | #REF!
2 |  | All other accessories such as terminal blocks and other sundries etc | 114.65
3 |  | Relay/contactors for control | 100.43
4 |  | Main door contact (dry contact type) | 5
5 |  | Balcony door contact (dry contact type) | 5
6 |  | Occupancy sensors (dry contact type) | 130
7 |  | Control lighting, volume control damper, bathroom and bedroom fan, indoor unit,exterior balcony light, power outlets, bathroom light switch etc | 0
8 |  | Provide measurement of power outlet energy usage | 0
9 |  | Standalone CO2 sensor with an audible and/or visible alarm in case CO2 exceeds the preset limit for the room/spaces in main living area complete with power supply, etc preference to units working at low voltage sharing supply with rems (installation height) 1.1-1.8 m, | 195.5
10 |  | J | 0
11 |  | K | 0
12 |  | L | 0
13 |  | M | 0
14 |  | N | 0
15 |  | O | 0
16 |  | P | 0
17 |  | Q | 0
18 |  | R | 0
19 |  | S | 0
20 |  | T | 0
21 |  | U | 0
22 |  | -- | 0
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
|  | --- |  |  | #REF!
|  | TOTAL | 895.58 | TOTAL | #REF!
|  | TOTAL MATERIAL COST | 895.58
|  | Tradesman rate PAIR HRS | #REF!
|  | Technician rate PAIR HRS | #REF!
|  | Engineer rate PAIR HRS | #REF!

## Bill of Materials
|  |  | 895.58 |  |  | 22 | [27 empty] | 895.58 |  |  | 22
|  |  | 895.58 |  |  | 5.018 | 5.019 | 5.02 | 5.019 | 5.021 | 5.022 | 5.023 | 5.024 | 5.025 | [19 empty] | 895.58
Item No. | Supplier | Item | Part Number | Description | Unit Price (ex-VAT) | Room management system, power supply, programming | All other accessories such as terminal blocks and other sundries etc | Relay/contactors for control | Main door contact (dry contact type) | Balcony door contact (dry contact type) | Occupancy sensors (dry contact type) | Control lighting, volume control damper, bathroom and bedroom fan, indoor unit,exterior balcony light, power outlets, bathroom light switch etc | Provide measurement of power outlet energy usage | Standalone CO2 sensor with an audible and/or visible alarm in case CO2 exceeds the preset limit for the room/spaces in main living area complete with power supply, etc preference to units working at low voltage sharing supply with rems (installation height) 1.1-1.8 m, | J | K | L | M | N | O | P | Q | R | S | T | U | -- | Quantity | Factor | FINAL QTY | Unit Price (ex-VAT) | Added material % | Contingency / Shipping | Total price (EUR) | Comments |  | Room management system, power supply, programming | All other accessories such as terminal blocks and other sundries etc | Relay/contactors for control | Main door contact (dry contact type) | Balcony door contact (dry contact type) | Occupancy sensors (dry contact type) | Control lighting, volume control damper, bathroom and bedroom fan, indoor unit,exterior balcony light, power outlets, bathroom light switch etc | Provide measurement of power outlet energy usage | Standalone CO2 sensor with an audible and/or visible alarm in case CO2 exceeds the preset limit for the room/spaces in main living area complete with power supply, etc preference to units working at low voltage sharing supply with rems (installation height) 1.1-1.8 m, | J | K | L | M | N | O | P | Q | R | S | T | U | --
1 | Distech | Controller | ECY-300-C3 |  | 300 | 1 | [21 empty] | 1 | 1 | 1 | 300 | 0% | 15% | 345 |  |  | 345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 345 | TRUE | 0
3 | Schrack | Consumables | Various |  | 25 |  | 1 | [20 empty] | 1 | 1 | 1 | 25 | 0% | 0% | 25 |  |  | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | TRUE | 0
4 | Schrack | Relays |  | Relay + Relay Sockets | 6 |  |  | 5 | [19 empty] | 5 | 1 | 5 | 6 | 0% | 10% | 33 |  |  | 0 | 0 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | TRUE | 0
5 | Schrack | Contactor | BZ326453 |  | 12.26 |  |  | 5 | [19 empty] | 5 | 1 | 5 | 12.26 | 0% | 10% | 67.43 |  |  | 0 | 0 | 67.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67.43 | TRUE | 0
6 | Fabian | Field Devices | 03-433329042 | Door Contactor | 5 |  |  |  | 1 | 1 | [17 empty] | 2 | 1 | 2 | 5 | 0% | 0% | 10 |  |  | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | TRUE | 0
7 | Distech | Field Devices | EC-Multi-Sensor-M | Infrared mini multi sensor: presence detection (RJ45) | 50 | [5 empty] | 0 | [16 empty] | 0 | 1 | 0 | 50 | 0% | 15% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
8 | ESS | Field Devices | PRI - MHSE One | PIR with voltage output | 15 | [5 empty] | 5 | [16 empty] | 5 | 1 | 5 | 15 | 0% | 0% | 75 |  |  | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | TRUE | 0
9 | Schrack | Field Devices | Relay and Enclosure | Relay and Enclosure for PIR | 10 | [5 empty] | 5 | [16 empty] | 5 | 1 | 5 | 10 | 0% | 10% | 55 |  |  | 0 | 0 | 0 | 0 | 0 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | TRUE | 0
10 | Eastron | Energy meter | SDM120Modbus-Mid | Energy Meter with Modbus Output | 25 | [7 empty] | 0 | [14 empty] | 0 | 1 | 0 | 25 | 0% | 10% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
11 | Disetch | Field Devices | Resense Air-C (White) | CO2 Sensor | 170 | [8 empty] | 1 | [13 empty] | 1 | 1 | 1 | 170 | 0% | 15% | 195.5 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195.5 | TRUE | 0
13 | ESS | Field Devices | Alarm for C02 | Alarm Sounder - CO2 | 10 |  | 1 | [20 empty] | 1 | 1 | 1 | 10 | 0% | 0% | 10 |  |  | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | TRUE | 0
14 |  |  | Mark Catania | Panel Building | 45 |  | 1 | [20 empty] | 1 | 1 | 1 | 45 | 0% | 0% | 45 |  |  | 0 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | TRUE | 0
15 |  |  | BMS Team | Panel Installation | 33 |  | 1 | [20 empty] | 1 | 1 | 1 | 33 | 0% | 5% | 34.65 |  |  | 0 | 34.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.65 | TRUE | 0
16 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
17 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
18 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
19 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
20 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
21 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
22 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
23 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
24 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
25 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
26 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
27 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
28 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
29 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
30 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
31 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
32 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
33 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
34 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
35 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
36 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
37 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
38 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
39 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
40 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
41 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
42 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
43 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
44 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
45 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
46 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
47 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
48 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
49 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
50 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
51 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
52 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
53 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
54 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
55 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
56 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
57 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
58 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
59 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
60 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
61 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
62 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
63 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
64 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
65 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
66 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
67 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
68 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
69 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
70 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
71 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
72 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
73 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
74 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
75 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
76 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
77 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
78 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
79 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
80 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
81 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
82 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
83 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
84 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
85 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
86 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
87 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
88 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
89 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
90 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
91 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
92 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
93 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
94 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
95 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
96 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
97 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
98 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
99 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
100 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
101 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
102 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
103 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
104 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
105 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
106 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
107 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
108 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
109 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
110 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
111 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
112 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
113 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
114 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
115 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
116 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
117 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
118 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
119 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
120 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
121 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
122 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
123 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
124 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
125 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
126 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
127 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
128 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
129 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
130 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
131 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
132 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
133 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
134 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
135 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
136 | [27 empty] | 0 | 1 | 0 | 0 | 0% | 5% | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | 0
---
[31 empty] | Sub-total |  |  | 895.58 |  | Sub-total | 345 | 114.65 | 100.43 | 5 | 5 | 130 | 0 | 0 | 195.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | DIFF: | 0
[31 empty] | TOTAL |  |  | 895.58 |  | TOTAL | 345 | 114.65 | 100.43 | 5 | 5 | 130 | 0 | 0 | 195.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cubicle 2000x1000x400 (HxWxD) with cable compartment.
Motor circuit breaker, 30A
Miniature Circuit breaker 1 x 10A
Miniature Circuit breaker 1 x 6A
Terminals, 4q
PE -Terminals, 4q
Cable ducts 40x80 mm
Bus bars for screen connection, 500 mm
EMC screen connectors for bus bar,
Installing of switch board
Labelling of equipments
Labelling of cubicles
Power supply 230/24V DC 5A (Man reset after shutdown)
UPS power supply 1000VA
Transformer 230/24V AC, 150VA
Push-buttons
Cubicle light with door switch
Socket 230/10A
Cooling fan with filter and thermostat
Filter unit
Labelling of cubicle
PLC-units and display installing
--
Note on F9: Guy Baranyay: too expensive - even at €50

## Components
Components drop-down list
Enclosures
Components
Fan + Filter
Thermostat
Busbar
Isolator
Terminal Board
Power Supply
MPCB
MCB
Contactor
Timer
Lamps
Transformer
Relays
Switches
UPS
Diode module
Sounder
Light fitting
Energy meter
Door switch
13A socket outlet
Fuses
CTs
Hour counter
Terminal blocks
Potentiometer
DIN rail
Trunking
VSD
Controller
PLC Modules
HMI
Field Devices
Wiring
Software
Consumables

## Monitoring
| Estimated | Actual | Profit | % difference
Material | 895.58 | 0 | 895.58 | 100%
Labour | 180 | 0 | 180 | 100%
TOTAL | 1075.58 | 0 | 1075.58 | 100%
POs | Value
--- | ---
TOTAL | 0
Reqs | Value
--- | ---
TOTAL | 0
Labour | Hours
--- | ---
TOTAL | 0

## Shipping Costs
SUPPLIER | COUNTRY of ORIGIN |  | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / €
A.N.WALLIS & CO.LTD | UNITED KINGDOM. | E | <1,000 | min.100 | 2,500-7,000 | 7% | >7,000 | 5.5%
ARDIC ELEKTRIK SAN VE TIC LTD STI. | TURKEY | E |  |  | 15,000-25,000 | 5% | >25,000 | 3.5%
BATT CABLES | UNITED KINGDOM. | E | <1,000 | min.100 | 1,000-2,000 | 10% | 2,000-7,000 | 7%
BATT CABLES | UNITED KINGDOM. | E | 7,000-10,000 | 6% | 10,000-20,000 | 5% | >40,000 | 4%
BEGHELLI - ELPLAST A.S. | CZECH REPUBLIC | E | <1,000 | min.100 | 1,000-2,000 | 8%
BEGHELLI - ELPLAST A.S. | CZECH REPUBLIC | E | 2,000-4,000 | 6% | 10,000-16,000 | 5% | >25,000 | 3.5%
CLEVELAND CABLE CO. LTD | UNITED KINGDOM | E | <1,000 | min.100 | 3,000-5,000 | 7% | >7,000 | 5.5%
COMAT | TURKEY | E | 550 | 380 | 2000 | 550 | >25,000 | 8%
IGUZZINI | ITALY | E |  | CIF
IM.E.B SRL | ITALY | E | <1,000 | min.70 | 1,000-5000 | 800% | >28,000 | 3.5%
IMPLEX EXPORT LIMITED | UNITED KINGDOM. | E | <1,000 | min.100 | 3,000-8,000 | 7% | >8,000 | 5.5%
INTERSWITCH SRL | ITALY | E | <1,000 | min.85 | 1,000-5,000 | 6% | >10,000 | 4.5%
MARSHALL TUFFLEX INT.LTD | UNITED KINGDOM. | E | <1,000 | min.100 | 1,000-4,000 | 7% | >20,000 | 5%
N.C.M | ITALY | E | <2,000 | min.200
NUOVA CARPENTERIA MECCANICA SNC | ITALY | E | <1,500 | min.110 | 1,500-3,000 | 6%
SADA CAVI S.P.A. | ITALY | E | <1,000 | min.85 | 3,000-6,000 | 6% | >90,000 | 3.5%
SEVAL KABLO A.S. | TURKEY | E |  | CIF
SPECIAL CAVI | ITALY | E | <2,000 | min.130 | 2,000-10,000 | 7% | >20,000 | 3%
TEKOM PUK | TURKEY | E |  |  | 5,000-15,0000 | 13% | >20,000 | 15%
VATAN KABLO | TURKEY | E |  |  |  |  | >50,000 | 4%
ZUCCHINI SpA | ITALY | E | <1,000 | min.100 | 1,000-6,000 | 6% | >100,000 | 3.5%
SUPPLIER | COUNTRY of ORIGIN |  | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / €
3I INTERNATIONAL INNOVATIVE INDUSTRIES S.A. | GREECE | M | <5,000 | 6% | 5,000 - 15,000 | 5% | >15,000 | 4%
ACTIONCLIMA SRL | ITALY | M | <2,000 | min.100
ADVANCED AIR (UK) LTD | UNITED KINGDOM. | M | <4,000 | 9% | 4,000 - 8,000 | 7% | >8,000 | 6%
AIREDALE INTERNATIONAL, | UNITED KINGDOM. | M | <1,000 | min.85 |  |  | >15,000 | 4.5%
ALNOR SYSTEMY WENTYLACJI SP. Z O.O. | POLAND | M | <7,000 | 9% | 7,000 - 20,000 | 5% | >20,000 | (5%) 3.5%
ATS ISOLANTI SRL | ITALY | M | <1,000 | 10% | 2,000 - 10,000 | 6% | >10,000 | 5%
BRODBECK S.R.L | SICILY | M | <1,000 | min.85 | 1,000-2,300 | 8% | >2,300 | 6%
CALEFFI | ITALY | M |  |  | >5000 (P.O.10967) | min.100
CENTRAL TUBI | ITALY | M | <1,000 | min.85 | 1,000-10,000 | 6% | >10,000 | 5%
CHEMINEES POUJOULAT | FRANCE | M |  |  |  |  | >4,000 | 6%
DAB PUMPS SPA | ITALY | M | <1,000 | min.90 |  |  | >15,000 | 4.5%
DANTHERM AIR HANDLING A/S | DENMARK | M |  |  |  |  | >30,000 | 3.5%
DINAK S.A., | SPAIN. | M | <1,500 | min.100 | 1,500-10,000 | 6% | >10,000 | 4.5%
DM SRL | ITALY | M |  |  |  |  | >10,000 | 4.5%
DOGU IKLIMLENDIRME SAN.VE TIC.A.S. | TURKEY | M | <1,000 | min.100 | 1,000-10,000 | 6% | >10,000 | 5%
DUYAR VANA MAK. SAN. VE TIC. A.S. | TURKEY | M |  |  | 6,000-10,000 | 5% | >10,000 | 4.5%
ELTA FANS LIMITED | UNITED KINGDOM. | M | <1,000 | min.100 | 1,000-2,500 | 10% | >2,500 | 6%
EMIFLEX S.P.A | ITALY | M | <1,000 | min.85
FIRESPRAY INTERNATIONAL LTD | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-6,000 | 7%
FLOWCON INTERNATIONAL | DENMARK. | M | <1,500 | min.120 | 1,500-10,000 | 6% | >10,000 | 5%
G.M. TREBLE LTD | UNITED KINGDOM. | M | <1,000 | min.100 | 1,000-3,000 | 9% | >7,000 | 6%
GEBERIT INTERNATIONAL AG | SWITZERLAND | M | <1,000 | min.85 |  | CIF
GEORG FISCHER HAKAN PLASTIK | TURKEY | M |  | CIF
H.V.C. SUPPLIES (STOURBRIDGE) LTD | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-4,000 | 10% | >4,000 | 7%
HALCOR METAL WORKS S.A. | GREECE | M |  | CIF
I.M.I. RYCROFT LTD. | ENGLAND | M |  | CIF
INDUSTRIAL ACOUSTICS | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-2,000 | 10%
KIRTON TUBE & COMPONENTS | UNITED KINGDOM | M | <2,000 | 10% | 2,000-6,000 | 7% | >10,000 | 5%
MANN+HUMMEL VOKES AIR LTD | UNITED KINGDOM | M | <1,000 | min.100 | 1,000-2,000 | 9%
MEKAR S.R.L | ITALY | M | <1,000 | min.85 | 1,000-15,000 | 6% | >15,000 | 4.5%
MP3 SRL., | ITALY. | M | <1,000 | min.85 | 1,000-2,500 | 8% | >2,500 | 6%
NICCONS | ITALY | M | <1,000 | min.90 | 1,000-2,000 | 8%
NIVELCO PROCESS CONTROL CO., | HUNGARY. | M | <1,000 | min.70
NOXON STAINLESS B.V. | THE NETHERLANDS. | M | <1,000 | min.85 | 1,000-2,000 | 8% | >10,000 | 4.5%
NUAIRE LIMITED | WALES | M | <1,000 | min.100 | 1,000-3,000 | 10% | >10,000 | 6%
NUPIGECO SPA | ITALY. | M | <1,000 | min. 85 | 1,000-2,500 | 8% | >7,000 | 5%
ORMANDY LIMITED | UNITED KINGDOM | M | <1,500 | 10%
P3 Srl | ITALY | M | <1,000 | min.100 | 1,000-6,000 | 11% | >23,000 | 10%
RAPIDROP GLOBAL LTD | UNITED KINGDOM. | M | <2,000 | 8%
RHOSS S.P.A., | ITALY | M | <1,000 | min.100 | 1,000-7,000 | 6% | >7,000 | 5%
ROTORK MIDLAND LTD | UNITED KINGDOM | M | <1,000 | min.100 |  |  | >2,000 | 7%
S. BRANNAN & SONS LTD | UNITED KINGDOM. | M | <1,000 | min.100 | 1,000-7,000 | 9% | >7,000 | 6%
SICC | ITALY | M | <1,000 | min.85 | 1,000-5,000 | 6% | >20,000 | 3.5%
SIEMENS ITALY SPA | ITALY | M | <1,000 | min.100 | 1,000-2,500 | 8% | >2,500 | 6%
SODECA | SPAIN | M | <1,000 | min. 100 | 1,000-10,000 | 6% | >10,000 | 4.5%
SPIROTECH BV | THE NETHERLANDS. | M | <1,000 | min.85 |  |  | >3,000 | 6%
SWEGON AIR MANAGEMENT LIMITED | UNITED KINGDOM. | M | <1,000 | min.105 | 1,000-7,000 | 7% | >7,000 | 6%
TYCO FIRE & SECURITY | UNITED KINGDOM. | M | <2,000 | min. 220 | 2,000-4,000 | 6% | >4,000 | 5%
UK EXCHANGERS LTD. | UNITED KINGDOM. | M | <2,000 | 8% |  |  | >15,000 | 5%
VIR VALVOINDUSTRIA ING. RIZZIO S.P.A. | ITALY | M | <1,000 | min. 85 | 1,000-3,000 | 9% | >3,000 | 6%
WATERTECH SPA | ITALY | M | <200 | min. 85 | 200-500 | 15%
Xylem Flow Controls Ltd. | UNITED KINGDOM. | M | <1,000 | 14% |  |  | >4,000 | 7%
SUPPLIER | COUNTRY of ORIGIN |  | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / € | PO value Range / € | Shipping Cost / €
D'ELPIDIO ELETTROFORNITURE | ITALY | BMS | <500 | min.100 | 500-3,000 | 4% | >3,000 | 1.5%
DISTECH CONTROLS SAS | FRACE | BMS | <300 | min. 55 | 300-1,000 | min. 80 | >5,000 | 2.5%
FUJI ELECTRIC EUROPE GMBH | GERMANY | BMS | <1,000 | min. 80 | 2,000-3,000 | 5% | >8,000 | 2%
SYSTEME HELMHOLZ | GERMANY | BMS | <1,100 | min. 60 | 4,000-5,000 | min.110
SIEMENS BUILDING TECHNOLOGIES INT. |  | BMS |  |  |  |  | >500 | DAP
SIEMENS SPA | ITALY | BMS |  |  |  |  | >500 | DAP
VENTILATION CONTROL PRODUCTS AB | SWEDEN | BMS | <1,000 | min.50 | 1,000-5,000 | min.130
Note on L29: Jason Camilleri: Considering the latest Shipping Rate rises, consider 5% instead of 3.5% Commented on 19.11.2021