## Notes
NOTES:

## Quote
PANTA CONTRACTING LIMITED
ELECTRICAL INTERNAL QUOTATION
| ATT: | [15 empty] | Dated: | 2025-09-03 13:10
| CLIENT: | Link to ML_SUM $D1 | ST Microelectronics (Malta) Ltd.
| PROJECT: | Link to ML_SUM $D2 | KK2 General Exhaust Replacement
| JOB DESC: | Link to ML_SUM $D3 | Electrical Supply and Installation
| QUOTE No: | Link to ML_SUM $D4 | EL25-0559
| CLIENT's Ref: | Link to ML_SUM $D5 | Tender
|  |  | Selling Price (€) : | 12486.23 | VAT EXCL. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED.
Signed for and on behalf of | [15 empty] | Signed for and on behalf of
Electrical Division | [15 empty] | Division
Records
Mr. K. Micallef
File
CONDITIONS:
1) Payment - 100% on completion.
2) Quote is valid for 30 days from above date.
3) Commencement - to be confirmed at time of order.
4) Works await approval in order to proceed.
5) Execution Approx. 2-3 working weeks
6) BOQ Item 1.03, Termination materials, glands, and lugs are also included in this item.
7) BOQ Item 2.01 provides for the termination of cables only. It is assumed that the MCCs will be supplied complete with the correct circuit breaker units. .
8) Delivery of Equipment - Legrand Cable Trays 4 weeks, most other materials are available ex-stock, subject to being unsold.
9) We have assumed that we will be allowed to work unhindered between 7.00 to 15.30 on weekdays.
EXCLUSIONS:
1) Any builders' work except conduit chases in walls / as per contract.
2) Work outside our normal working hours.
3) Security of the works after normal working hours.
4) Cutting of holes in gypsum partitions or false ceilings to accommodate electrical devices.
5) Dismantling of any existing installation / false ceiling / furnishings unless included in attached BOQ.
6) Anything not mentioned in our Bill of Quantities.
DESCRIPTION OF WORKS / SPECIFICATIONS:
1) As per the attached BOQ.
2) Technical literature for the items offered is attached.

## ML_Sum
| CLIENT: | 1 | ST Microelectronics (Malta) Ltd. |  |  | TRUE | TRUE | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | € | Recon /Lab.Cont >> | R | 1.25 | 1 | BOQ | x | x | x | x | x | x | x
| PROJECT: | 1 | KK2 General Exhaust Replacement |  | Electrical | TRUE |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | A) 1.25-1.25 | 1.25 | 34.325 |  |  | x | x | x | x | x | x | x
| JOB DESC: | 1 | Electrical Supply and Installation |  | Controls | TRUE |  | 3 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | B) 1.25-1.25 | 1.25 | 34.325 |  |  | x | x | x | x | x | x | x
| INT. QUOT No: | 1 | EL25-0559 |  |  | TRUE |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | C) |  |  |  |  | x | x | x | x | x | x | x
| CLIENTs REF: | 1 | Tender |  |  | TRUE |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | D) |  |  |  |  | x | x | x | x | x | x | x
| VAT: | 1 | VAT EXCL. |  |  | TRUE |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | E) |  |  |  |  | x | x | x | x | x | x | x
| SAVED ON: | 1 | 2025-08-28 |  |  | TRUE |  | 7 | 1 | 1 | 1 | 1 | 1 |  |  |  | F) |  |  |  |  | x | x | x | x | x | x | x
| ESTIMATOR: | 1 | Umut Kaymak |  |  | TRUE |  | 8 | 1 | 1 | 1 | 1 | 1 |  |  |  | G) |  |  |  |  | x | x | x | x | x | x | x
| LAB. COST: | 1 | 27.46 |  |  | TRUE |  | 9 | 1 | 1 | 1 | 1 | 1 |  |  |  | H) |  |  |  |  | x | x | x | x | x | x | x
|  | 1 |  |  |  | TRUE |  | 10 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I) |  |  |  |  | x | x | x | x | x | x | x
|  | 1 | [14 empty] | J) |  |  |  |  | x | x | x | x | x | x | x
|  | 1 |  |  |  | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS |  | MIXED - X,Y ) | MAT MU | LAB RATE |  |  | x | x | x | x | x | x | x
| MATERIAL & LABOUR SUMMARY |  |  |  |  | ItemCode | CostCode | MAKE | PART_NO | MARKUP | TYPE | LIST_P | SET | FIX | DATE | %Dsct in BOQ | MATMU-LABMU | MAT CONT >> | 1
[22 empty] | x | x | x | x | x | x | x
[16 empty] | 0% | Average Discount applied in BOQ (Q2-Q12) |  |  |  |  | x | x | x | x | x | x | x
[16 empty] | 0% | Average Discount applied on Totals (Q23-Q32) |  |  |  |  | x | x | x | x | x | x | x
[16 empty] | 0% | Overall Discount
[16 empty] | 1.2503 | Overall Markup (Final Selling Excl.VAT/Total Cost )
|  |  |  | DISCOUNTED | SELLING | [10 empty] | % Discnt | MATERIAL |  | LABOUR
Discy.A-J | Markup/LRate |  |  | SELLING € | € | VAT/DISC | MU | LABRATE | LABCOST | [6 empty] | on Totals | € |  | Pair Hrs.
0.2525 | A) 1.25, 34.33 |  | Electrical | 8500.53 | 8500.53 | 1 | 1.25 | 34.325 | 27.46 | [7 empty] | 4584.2 |  | 80.7
0.0125 | A) 1.25, 34.33 |  | Controls | 3985.7 | 3985.7 | 1 | 1.25 | 34.325 | 27.46 | [7 empty] | 2629 |  | 20.3769
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
MIXED
Discy.L | 12486.23 |  |  | 12486.23 | 12486.23 | [11 empty] | 7213.2 |  | 101.0769
0.00 | BOQ TOTAL |  |  | ESTIM TOTAL (€)
1.125 | <1 Actual LabCont | [15 empty] | 7213.4554 | C.C.Totals | 101.0019
<2 Phrs @ 1.00
| <3 Phrs @ Actual | [14 empty] | Discy.T >> | 0.25535 | PRINT | -0.075
| Values Only on : |  | 2025-08-28 | 12486.23 | 12486.23 | [11 empty] | 7213.2 |  | 101.0769
REMARKS:
1) VAT and Duties as above.
2)
ESTIMATOR: |  |  | Umut Kaymak | [12 empty] | APPROVED BY:
SIGNED: | [15 empty] | DATE APPROVED:
FILE LOCATION: |  |  | K:\est\ST Microelectronics Malta\Estimates\[E25_0559_ST_Electronics_Exhaust_Replacement_Est_.xlsx]Elec_Est
PANTA CONTRACTING LTD. - ELECTRICAL DIVISION
CONTRACT / VARIATION INPUT DOCUMENT
Copy to:-
|  |  | Client: | ST Microelectronics (Malta) Ltd. | [13 empty] | Ms. S. Magri
|  |  | Project: | KK2 General Exhaust Replacement | [13 empty] | Mr. K. Micallef
|  |  | Job Description: | Electrical Supply and Installation | [13 empty] | Mr. A. Sciberras
|  |  | Quote No: | EL25-0559
|  |  | Client's Ref: | Tender
File:-
File No:
Ext. Ref:
Contract /Variation (Excl. VAT)
|  | 12486.23 |  | Estim.Sell before Discounts excl.VAT (€): | 12486.23
|  |  |  | Overall Discount: | 0%
|  |  |  | Final Sell after Discounts excl.VAT (€): | 12486.23
|  |  |  | Labour Rate - | 27.46 | [11 empty] | Mech. Cost to us
|  |  | Mat. Cost | Labour | Total Cost | [11 empty] | Sell Excl.VAT / Total Cost
|  |  | € | Pair.Hrs | €
|  |  | 7213.4554 | 101.0019 | 9986.9679 | [11 empty] | 1.2503
( From CostCode Totals )
Advanced Payment:
Retention:
Awarded Date:
Estimated Start Date:
Estimated Completion Date:
.................
|  |  | A. Sciberras | [13 empty] | Date issued:
2025-09-03 13:10
PANTA CONTRACTING LTD. - ELECTRICAL DIVISION
ELECTRICAL AND ELV CONTRACT / VARIATION BUDGET COST
|  |  | Project: | KK2 General Exhaust Replacement
|  |  | Job Desc: | Electrical Supply and Installation
|  |  | Client's Ref: | Tender
|  |  | COSTCODE |  | Cost | [10 empty] | Mat. | Mat Cost | Lab Cost @ | Labour
[5 empty] | Code | [10 empty] | Cont. | € | 27.46 | Pair.Hrs
| V:56 |  | BOQ RateOnly Items | [11 empty] | FIX | 1
| 1(J) | cc | Erection materials |  | 501 | [9 empty] | 1 | 1 | 2142.445 | 514.875 | 18.75
| 2 | cc | Busbar Trunking |  | 505 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 3 | cc | Switchgear |  | 510 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 4 | cc | MCC Equipment |  | 511 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 5 | cc | BMS Equipment |  | 512 | [9 empty] | 2 | 1 | 2629 | 834.15 | 30.3769
| 6 | cc | PVC Pipes / Ducts |  | 520 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 7 | cc | High/medium voltage switchgear |  | 530 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 8 | cc | Power Transformers |  | 550 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 9 | cc | Control Panels |  | 570 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 10 | cc | Electrical Single Core Cables |  | 615 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 11(K) | cc | Electrical Multicore Cables |  | 616 | [9 empty] | 2 | 1 | 540 | 102.975 | 3.75
| 12 | cc | ELV/BMS/Special Cables |  | 617 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 13 | cc | Cable Accessories |  | 620 | [9 empty] | 2 | 1 | 119 | 240.275 | 8.75
| 14 | cc | Galv. Cable Trays |  | 650 | [9 empty] | 1 | 1 | 1683.0104 | 669.3375 | 24.375
| 15 | cc | PVC Cable Trays |  | 651 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 16 | cc | Galv. Cable Basket |  | 652 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 17 | cc | Galv. Cable Ladder |  | 654 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 18 | cc | Galv. Cable Trunking |  | 675 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 19 | cc | Alum. Cable Trunking |  | 676 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 20 | cc | PVC Cable Trunking |  | 680 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 21(L) | cc | Underfloor Cable Trunking |  | 681 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 22 | cc | Galv. Conduit |  | 690 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 23 | cc | PVC Conduit |  | 700 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 24 | cc | Wiring Accessories |  | 705 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 25 | cc | Dimming Equipment |  | 706 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 26 | cc | Fire Alarm Equipment |  | 725 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 27 | cc | Fire Barriers |  | 726 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 28 | cc | Security Alarm System |  | 750 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 29 | cc | Access Control |  | 751 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 30 | cc | Hotel Electronic Lock |  | 752 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 31(M) | cc | Sub-Contracting Installation Elec |  | 753 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 32 | cc | Timing Equipment |  | 770 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 33 | cc | Public Address |  | 790 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 34 | cc | Voice Alarm Equipment |  | 791 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 35 | cc | Lightning / Bonding System |  | 810 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 36 | cc | T.V System |  | 815 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 37 | cc | UPS/Voltage Stabilisers |  | 820 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 38 | cc | Data Network Equipment |  | 821 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 39 | cc | Light Fittings |  | 835 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 40 | cc | Generators, AMF Panels |  | 845 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 41(N) | cc | Telephone Equipment |  | 855 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 42 | cc | Intercom |  | 856 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 43 | cc | Mechanical for Electrical |  | 857 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 44 | cc | Nurse Call |  | 858 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 45 | cc | C.C.T.V. Equipment |  | 865 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 46 | cc | Tools and Instruments |  | 870 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 47 | cc | Consumbles |  | 875 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 48 | cc | Drawings/Manuals |  | 880 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 49 | cc | Spare Parts |  | 885 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 50 | cc | Labour |  | 900 | [9 empty] | 3 | 1 | 0 | 411.9 | 15
| 51(O) | cc | Dismantling (Labour Only) |  | 901 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 52 | cc | Testing & Commissioning |  | 902 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 53 | cc | Sub-Contracting Works |  | 960 | [9 empty] | 4 | 1 | 100 | 0 | 0
| 54 | cc | Enemalta Application |  | 961 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 55 | cc | Crainage and Transportation |  | 962 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 56 | cc | Provisional Sum |  | 970 | [9 empty] | 4 | 1 | 0 | 0 | 0
|  |  | Totals | [13 empty] | 7213.4554 | 2773.5125 | 101.0019
|  | cc |  |  | Fix 1 |  | 1 | [9 empty] | 3825.4554 |  | 43.125
|  | cc |  |  | Fix 2 |  | 2 | [9 empty] | 3288 |  | 42.8769
|  | cc |  |  | Fix 3 |  | 2 | [9 empty] | 0 |  | 15
|  | cc |  |  | Others |  | 3 | [9 empty] | 100 |  | 0
|  | cc |  |  | TOTAL | [11 empty] | 7213.4554 |  | 101.0019
.................
A. Sciberras
2025-09-03 13:10
Comment / Change in Scope
1.Form/0Mat
2.VAT
3.DiscyA-J
4.MU/LabRate
5.Ov.Dsct/MU
6ab.Lab.Cont.
7.Mat.Cont.
8.BOQ
9.Recon.
11.ValsOnly
10.Avg.Rates OK?
Note on C1: Michael Vella: Insert Foreign Currency here (say: 1.55 - $US) and change Q1 accordingly
Note on W1: Michael Vella: BOQ - Use numbers in BOQ column TDWG - Use numbers in TDWG column ACT - Use numbers in ACT column DIF_TD - Use (TDWG - BOQ) difference DIF_A - Use (ACT - BOQ) difference
Note on R2: Michael Vella: When you want to uplift markups to offset a discount, first generate your estimate without any discount and paste the estimate totals as values-only. Then divide markups by (1-Dsct%) to get to your original values-only totals.
Note on B3: Michael Vella: When job description starts with "Supply only" and the Quote No. is "EL" then the Quote Title in the Quote worksheet will change from PANTA CONTRACTING LTD to PANTA RETAIL LTD.
Note on D7: Michael Vella: Press <CTRL :> to enter the current date.
Note on R12: Michael Vella: Enter the markups used in this cell to make Mario aware eg: (MIXED I,J). Preferably dedicated markups should be used for the mixed subitems which are not used anywhere else. Also the same discount value should then be entered for all three (MIXED, I and J)
Note on A33: Michael Vella: Select MIXED if mixed markups are used. Leave empty if mixed markups are not used.
Note on C33: Michael Vella: If a <%Discount on Totals> is required on Mixed Item Blocks you must use dedicated markups (say I and J) for the SubItems that make up these blocks. These markups must then NOT be used for anything else in this estimate. Enter the markups used in this cell to make Mario aware as (MIXED I,J). Also the same discount value should then be entered for both these markups.
Note on R33: Michael Vella: If a <%Discount on Totals> is required on Mixed Item Blocks you must use dedicated markups (say I and J) for the SubItems that make up these blocks. These markups must then NOT be used for anything else in this estimate. Enter the markups used in this cell to make Mario aware as (MIXED I,J). Also the same discount value should then be entered for both these markups.
Note on A37: Michael Vella: Step 1. Enter the Actual Labour Contingency ($T1) used in this cell.
Note on S37: Michael Vella: Cost Code Totals for entry into P.I.T. by Amanda
Note on A38: Michael Vella: Step 2. Paste the Labour PairHours ($T35) as a value with the Labour Contingency set at 1.00 in this cell.
Note on A39: Michael Vella: Step 3. Paste the Labour PairHours ($T35) as a value with the actual Labour Contingency used in this cell.
Note on S39: Michael Vella: Select <Test for 0.00> and confirm that DiscyT are both 0.00, then make sure that you select PRINT again before printing.
Note on D41: Michael Vella: Press <CTRL :> to enter the current date.

## Elec_Rates
| CLIENT: | 1 | ST Microelectronics (Malta) Ltd. |  | 0 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | € | R/Lab Cont | R | 1.25 | BOQ | INCL | MULT | AREA | BOQ | TDWG | ACT | DIFF
| PROJECT: | 1 | KK2 General Exhaust Replacement |  | Electrical |  |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_A | 1.25 | 34.325
| JOB DESC: | 1 | Electrical Supply and Installation |  | Controls |  |  | 3 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_B | 1.25 | 34.325
| QUOTE No: | 1 | EL25-0559 |  | 0 |  |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_C | 0 | 0
| CLIENTs REF: | 1 | Tender |  | 0 |  |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_D | 0 | 0
| VAT/DUTIES: | 1 | VAT EXCL. |  | 0 |  |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_E | 0 | 0
| SAVED ON: | 1 | 2007-10-09 |  | 0 |  |  | 7 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_F | 0 | 0
| ESTIMATOR: | 1 | Umut Kaymak |  | 0 |  |  | 8 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_G | 0 | 0
| LABOUR RATE: | 1 | 27.46 |  | 0 |  |  | 9 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_H | 0 | 0
|  | 1 |  |  | 0 |  |  | 10 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_I | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | mu_J | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | MIXED | MAT MU | LAB RATE
[6 empty] | I_CODE | C_CODE | MAKE | PART_NO | MARKUP | TYPE | LIST_P | P_FACT | FIX | DATE | %Dsct in BOQ | MU TYPE | MAT MU | LAB RATE
|  | t | Item:
Start Typing Header
Multip
1850 | 0 |  | 001# 1c x 240sqmm FG160M1 cables | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
1c x 240sqmm FG160M1 XLPE/LSZH cables from KK2A S/S to Chiller 3 (Quantity 9 cables)
Labour for connecting up in existing switchboards and Chillers
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
150 | 30 |  | 002# 200mm galvanised steel cable tray complete with cover | [6 empty] | RATE | RATE |  |  |  |  | 0.2 | 59.43 |  | 0.81
Based on:
30 | m |  | 200x50mm Tray |  | Cleveland | TRGV_009 | 650 | (__) | [5 empty] | 1 | 2001-01-06 | 15.8088 | 474.2647 | 0.3 | 11.25
30 | m |  | Tray 200mm Galv. Cover |  | Cleveland | TRGV_057 | 650 | (__) | [5 empty] | 1 |  | 23.9274 | 717.822 | 0.3 | 11.25
60 | m |  | Tray 200mm Galv. Cover clamp |  | Cleveland | TRGV_057 | 650 | (__) | [5 empty] | 1 |  | 3.2494 | 194.964 |  | 0
10 | No. |  | 200x50mm Tray Coupler |  | Cleveland |  | 650 | [8 empty] | 3.663 | 36.6296 | 0.02 | 0.25
3 | m |  | FLAT BEND |  | Cleveland | TRGV_057 | 650 | (__) | [5 empty] | 1 |  | 39.3621 | 118.0862 | 0.3 | 1.125
1 | m |  | EXTERNAL RISER BEND |  | Cleveland | TRGV_057 | 650 | (__) | [5 empty] | 1 |  | 22.0221 | 22.0221 |  | 0
1 | m |  | TEE |  | Cleveland | TRGV_057 | 650 | (__) | [5 empty] | 1 |  | 52.8618 | 52.8618 | 0.3 | 0.375
10 | No. |  | Tray Earth Links |  | Not quoted by Legrand |  | 650 | [8 empty] | 1.596 | 15.96 | 0.01 | 0.125
240 | No. |  | Tray Coupling Bolts |  | Legrand - ESS |  | 650 | [8 empty] | 0.21 | 50.4 |  | 0
0.2 | LS |  | SUBCONTRACTING WORKS |  | Crane to carry the materials to the roof | SUBC_001 | 960 | MISC | [5 empty] | 4 | 2004-10-14 | 500 | 100 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 102.18 | 3065.4 |  |  |  |  | ITEM | ITEM | [5 empty] | 1783.0104 |  | 24.375
Multip
150 | 30 |  | 003# Cable Containment Support | [6 empty] | RATE | RATE |  |  |  |  | 0.2 | 71.41 |  | 0.63
Based on: brackets spaced at metres intervals
|  |  | Supports - HDG - Switch Room |  | 5 metres Riser | [11 empty] | 0 |  | 0 |  |  | 2
0.4 | m |  | Channel MT-40 S OC |  | Hilti | EMAT_019 | 501 | HIL | MS-413m | 02-018 |  |  |  | 1 | 1999-01-15 | 15.65 | 6.26 |  | 0 |  |  | 10
2 | No. |  | Channel 40x40 Endcap MT-EC-40/50 |  | Hilti |  | 501 | [8 empty] | 0.15 | 0.3 |  | 0 |  |  | 10
2 | No. |  | HLC Sleeve Anchor 10mm HLC 10x50/15 |  | Hilti |  | 501 | [8 empty] | 0.31 | 0.62 |  | 0 |  |  | 10
2 | No. |  | Wing Nut Hilti M8 MQM-M8-F |  | Hilti |  | 501 | [8 empty] | 0.66 | 1.32 |  | 0 |  |  | 10
2 | No. |  | Hex.Set Screw M8x25 |  | Hilti |  | 501 | [8 empty] | 0.05 | 0.1 |  | 0 |  |  | 10
2 | No. |  | Galv. Nut 8mm M8-F |  | Hilti |  | 501 | [8 empty] | 0.05 | 0.1 |  | 0 |  |  | 10
2 | No. |  | Tray Washers M8 |  |  |  | 501 | [8 empty] | 0.01 | 0.02 |  | 0
|  |  | Supports - HDG - Tunnel |  | 15 metres Wall | [11 empty] | 0 |  | 0 |  |  | 7.5
1.5 | m |  | Channel MT-40 S OC |  | Hilti | EMAT_019 | 501 | HIL | MS-413m | 02-018 |  |  |  | 1 | 1999-01-15 | 15.65 | 23.475 |  | 0 |  |  | 15
3 | No. |  | Channel 40x40 Endcap MT-EC-40/50 |  | Hilti |  | 501 | [8 empty] | 0.15 | 0.45 |  | 0 |  |  | 15
3 | No. |  | Channel Base Hilti MT-B-O2-OC |  | Hilti |  | 501 | [8 empty] | 14.47 | 43.41 |  | 0 |  |  | 60
12 | No. |  | HLC Sleeve Anchor 10mm HLC 10x50/15 |  | Hilti |  | 501 | [8 empty] | 0.31 | 3.72 |  | 0 |  |  | 60
12 | No. |  | Push Button Hilti M10 MQN-F |  | Hilti |  | 501 | [8 empty] | 2.52 | 30.24 |  | 0 |  |  | 30
6 | No. |  | Wing Nut Hilti M8 MQM-M8-F |  | Hilti |  | 501 | [8 empty] | 0.66 | 3.96 |  | 0 |  |  | 30
6 | No. |  | Hex.Set Screw M8x25 |  | Hilti |  | 501 | [8 empty] | 0.05 | 0.3 |  | 0 |  |  | 30
6 | No. |  | Galv. Nut 8mm M8-F |  | Hilti |  | 501 | [8 empty] | 0.05 | 0.3 |  | 0 |  |  | 30
6 | No. |  | Tray Washers M8 |  |  |  | 501 | [8 empty] | 0.01 | 0.06 |  | 0
|  |  | Supports - HDG - Tunnel |  | 70 metres Ceiling 0.5m height | [11 empty] | 0 |  | 0 |  |  | 112
22.4 | m |  | Channel MT-40 S OC |  | Hilti | EMAT_019 | 501 | HIL | MS-413m | 02-018 |  |  |  | 1 | 1999-01-15 | 15.65 | 350.56 |  | 0 |  |  | 140
28 | No. |  | Channel 40x40 Endcap MT-EC-40/50 |  | Hilti |  | 501 | [8 empty] | 0.15 | 4.2 |  | 0 |  |  | 140
28 | No. |  | Angle Hilti 90deg MT-C-LL1 OC |  | Hilti |  | 501 | [8 empty] | 5.39 | 150.92 |  | 0 |  |  | 140
28 | No. |  | Channel Base Hilti MT-B-O2-OC |  | Hilti |  | 501 | [8 empty] | 14.47 | 405.16 |  | 0 |  |  | 280
56 | No. |  | HLC Sleeve Anchor 10mm HLC 10x50/15 |  | Hilti |  | 501 | [8 empty] | 0.31 | 17.36 |  | 0 |  |  | 140
112 | No. |  | Push Button Hilti M10 MQN-F |  | Hilti |  | 501 | [8 empty] | 2.52 | 282.24 |  | 0 |  |  | 30
28 | No. |  | Wing Nut Hilti M8 MQM-M8-F |  | Hilti |  | 501 | [8 empty] | 0.66 | 18.48 |  | 0 |  |  | 140
28 | No. |  | Hex.Set Screw M8x25 |  | Hilti |  | 501 | [8 empty] | 0.05 | 1.4 |  | 0 |  |  | 140
28 | No. |  | Galv. Nut 8mm M8-F |  | Hilti |  | 501 | [8 empty] | 0.05 | 1.4 |  | 0 |  |  | 140
28 | No. |  | Tray Washers M8 |  |  |  | 501 | [8 empty] | 0.01 | 0.28 |  | 0
|  |  | Supports - HDG - Boiler |  | 15 metres Ceiling 1.2m height | [11 empty] | 0 |  | 0 |  |  | 48
9.6 | m |  | Channel MT-40 S OC |  | Hilti | EMAT_019 | 501 | HIL | MS-413m | 02-018 |  |  |  | 1 | 1999-01-15 | 15.65 | 150.24 |  | 0 |  |  | 30
6 | No. |  | Channel 40x40 Endcap MT-EC-40/50 |  | Hilti |  | 501 | [8 empty] | 0.15 | 0.9 |  | 0 |  |  | 30
6 | No. |  | Angle Hilti 90deg MT-C-LL1 OC |  | Hilti |  | 501 | [8 empty] | 5.39 | 32.34 |  | 0 |  |  | 30
6 | No. |  | Channel Base Hilti MT-B-O2-OC |  | Hilti |  | 501 | [8 empty] | 14.47 | 86.82 |  | 0 |  |  | 60
12 | No. |  | HLC Sleeve Anchor 10mm HLC 10x50/15 |  | Hilti |  | 501 | [8 empty] | 0.31 | 3.72 |  | 0 |  |  | 30
24 | No. |  | Push Button Hilti M10 MQN-F |  | Hilti |  | 501 | [8 empty] | 2.52 | 60.48 |  | 0 |  |  | 30
6 | No. |  | Wing Nut Hilti M8 MQM-M8-F |  | Hilti |  | 501 | [8 empty] | 0.66 | 3.96 |  | 0 |  |  | 30
6 | No. |  | Hex.Set Screw M8x25 |  | Hilti |  | 501 | [8 empty] | 0.05 | 0.3 |  | 0 |  |  | 30
6 | No. |  | Galv. Nut 8mm M8-F |  | Hilti |  | 501 | [8 empty] | 0.05 | 0.3 |  | 0 |  |  | 30
6 | No. |  | Tray Washers M8 |  |  |  | 501 | [8 empty] | 0.01 | 0.06 |  | 0 | [7 empty] | new | 11250
|  |  | Supports - HDG - Shaft |  | 20 metres Riser 0.15m height | [11 empty] | 0 |  | 0 |  |  | 14 |  |  |  |  | old
2.8 | m |  | Channel MT-40 S OC |  | Hilti | EMAT_019 | 501 | HIL | MS-413m | 02-018 |  |  |  | 1 | 1999-01-15 | 15.65 | 43.82 |  | 0 |  |  | 40
8 | No. |  | Channel 40x40 Endcap MT-EC-40/50 |  | Hilti |  | 501 | [8 empty] | 0.15 | 1.2 |  | 0 |  |  | 40
8 | No. |  | Angle Hilti 90deg MT-C-LL1 OC |  | Hilti |  | 501 | [8 empty] | 5.39 | 43.12 |  | 0 |  |  | 40
8 | No. |  | Channel Base Hilti MT-B-O2-OC |  | Hilti |  | 501 | [8 empty] | 14.47 | 115.76 |  | 0 |  |  | 80
16 | No. |  | HLC Sleeve Anchor 10mm HLC 10x50/15 |  | Hilti |  | 501 | [8 empty] | 0.31 | 4.96 |  | 0 |  |  | 40
32 | No. |  | Push Button Hilti M10 MQN-F |  | Hilti |  | 501 | [8 empty] | 2.52 | 80.64 |  | 0 |  |  | 30
8 | No. |  | Wing Nut Hilti M8 MQM-M8-F |  | Hilti |  | 501 | [8 empty] | 0.66 | 5.28 |  | 0 |  |  | 40
8 | No. |  | Hex.Set Screw M8x25 |  | Hilti |  | 501 | [8 empty] | 0.05 | 0.4 |  | 0 |  |  | 40
8 | No. |  | Galv. Nut 8mm M8-F |  | Hilti |  | 501 | [8 empty] | 0.05 | 0.4 |  | 0 |  |  | 40
8 | No. |  | Tray Washers M8 |  |  |  | 501 | [8 empty] | 0.01 | 0.08 |  | 0
|  |  | Supports - HDG - Roof |  | 25 m Roof excluding the structure | [11 empty] | 0 |  | 0 |  |  | 17
3.4 | m |  | Channel MT-40 S OC |  | Hilti | EMAT_019 | 501 | HIL | MS-413m | 02-018 |  |  |  | 1 | 1999-01-15 | 15.65 | 53.21 |  | 0 |  |  | 30
6 | No. |  | Channel 40x40 Endcap MT-EC-40/50 |  | Hilti |  | 501 | [8 empty] | 0.15 | 0.9 |  | 0 |  |  | 34
6.8 | No. |  | Angle Hilti 90deg MT-C-LL1 OC |  | Hilti |  | 501 | [8 empty] | 5.39 | 36.652 |  | 0 |  |  | 16
3.2 | No. |  | Channel Base Hilti MT-B-O2-OC |  | Hilti |  | 501 | [8 empty] | 14.47 | 46.304 |  | 0 |  |  | 32
6.4 | No. |  | HLC Sleeve Anchor 10mm HLC 10x50/15 |  | Hilti |  | 501 | [8 empty] | 0.31 | 1.984 |  | 0 |  |  | 38
6.4 | No. |  | Push Button Hilti M10 MQN-F |  | Hilti |  | 501 | [8 empty] | 2.52 | 16.128 |  | 0 |  |  | 30
7.6 | No. |  | Wing Nut Hilti M8 MQM-M8-F |  | Hilti |  | 501 | [8 empty] | 0.66 | 5.016 |  | 0 |  |  | 38
7.6 | No. |  | Hex.Set Screw M8x25 |  | Hilti |  | 501 | [8 empty] | 0.05 | 0.38 |  | 0 |  |  | 38
7.6 | No. |  | Galv. Nut 8mm M8-F |  | Hilti |  | 501 | [8 empty] | 0.05 | 0.38 |  | 0 |  |  | 38
7.6 | No. |  | Tray Washers M8 |  |  |  | 501 | [8 empty] | 0.01 | 0.076 |  | 0 |  |  | 150
30 | LS |  | Labour to manufacture and install brackets |  | To Install | EMAT_019 | 501 | HIL | MS-413m | 02-018 |  |  |  | 1 | 1999-01-15 | 0 | 0 | 0.25 | 9.375 |  |  | 150
30 | LS |  | Labour to manufacture and install brackets |  | Manufacture | EMAT_019 | 501 | HIL | MS-413m | 02-018 |  |  |  | 1 | 1999-01-15 | 0 | 0 | 0.25 | 9.375
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 110.72 | 3321.6 |  |  |  |  | ITEM | ITEM | [5 empty] | 2142.445 |  | 18.75
Multip
150 | 0 |  | 004# 300mm Without Matterial galvanised steel cable tray complete with cover | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
0 | m |  | 300x50mm Tray |  | Cleveland | TRGV_009 | 650 | (__) | [5 empty] | 1 | 2001-01-06 | 0 | 0 | 0.25 | 0
0 | m |  | Tray 300mm Galv. Cover |  | Cleveland | TRGV_057 | 650 | (__) | [5 empty] | 1 |  | 0 | 0 | 0.25 | 0
0 | m |  | Tray 300mm Galv. Cover clamp |  | Cleveland | TRGV_057 | 650 | (__) | [5 empty] | 1 |  | 3.11 | 0 |  | 0
0 | No. |  | 300x50mm Tray Coupler |  | Cleveland |  | 650 | [8 empty] | 3.43 | 0 | 0.02 | 0
0 | m |  | FLAT BEND |  | Cleveland | TRGV_057 | 650 | (__) | [5 empty] | 1 |  | 43.16 | 0 | 0.25 | 0
0 | m |  | INSIDE RISER BEND |  | Cleveland | TRGV_057 | 650 | (__) | [5 empty] | 1 |  | 21.49 | 0 |  | 0
0 | m |  | TEE |  | Cleveland | TRGV_057 | 650 | (__) | [5 empty] | 1 |  | 54.52 | 0 | 0.25 | 0
0 | No. |  | Tray Earth Links |  | Not quoted by Legrand |  | 650 | [8 empty] | 1.596 | 0 | 0.01 | 0
0 | No. |  | Tray Coupling Bolts |  | Legrand - ESS |  | 650 | [8 empty] | 0.21 | 0 |  | 0
0 | LS |  | SUBCONTRACTING WORKS |  | Crane to carry the materials to the roof | SUBC_001 | 960 | MISC | [5 empty] | 4 | 2004-10-14 | 500 | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
END!
END! |  |  | RATE SHEET GRAND TOTAL | [13 empty] | MATERIAL |  | LABOUR
END!
END! |  |  | COMPONENTS | [7 empty] | COMP_RT | [5 empty] | 3925.4554 |  | 43.125
END! |  |  | RATE SUMS (ITEMS) | [7 empty] | ITEM_RT | [5 empty] | 3925.4554 |  | 43.125
SB!
| V:56 |  |  | COSTCODE TOTAL | [12 empty] | 3925.4554 |  | 43.125
| 1 | cc | Erection materials |  | 501 | [9 empty] | 1 |  | 2142.445 |  | 18.75
| 2 | cc | Busbar Trunking |  | 505 | [9 empty] | 1 |  | 0 |  | 0
| 3 | cc | Switchgear |  | 510 | [9 empty] | 2 |  | 0 |  | 0
| 4 | cc | MCC Equipment |  | 511 | [9 empty] | 2 |  | 0 |  | 0
| 5 | cc | BMS Equipment |  | 512 | [9 empty] | 2 |  | 0 |  | 0
| 6 | cc | PVC Pipes / Ducts |  | 520 | [9 empty] | 1 |  | 0 |  | 0
| 7 | cc | High/medium voltage switchgear |  | 530 | [9 empty] | 2 |  | 0 |  | 0
| 8 | cc | Power Transformers |  | 550 | [9 empty] | 2 |  | 0 |  | 0
| 9 | cc | Control Panels |  | 570 | [9 empty] | 2 |  | 0 |  | 0
| 10 | cc | Electrical Single Core Cables |  | 615 | [9 empty] | 2 |  | 0 |  | 0
| 11 | cc | Electrical Multicore Cables |  | 616 | [9 empty] | 2 |  | 0 |  | 0
| 12 | cc | ELV/BMS/Special Cables |  | 617 | [9 empty] | 2 |  | 0 |  | 0
| 13 | cc | Cables accessories |  | 620 | [9 empty] | 2 |  | 0 |  | 0
| 14 | cc | Galv. Cable Trays |  | 650 | [9 empty] | 1 |  | 1683.0104 |  | 24.375
| 15 | cc | PVC Cable Trays |  | 651 | [9 empty] | 1 |  | 0 |  | 0
| 16 | cc | Galv. Cable Basket |  | 652 | [9 empty] | 1 |  | 0 |  | 0
| 17 | cc | Galv. Cable Ladder |  | 654 | [9 empty] | 1 |  | 0 |  | 0
| 18 | cc | Galv. Cable Trunking |  | 675 | [9 empty] | 1 |  | 0 |  | 0
| 19 | cc | Alum. Cable Trunking |  | 676 | [9 empty] | 1 |  | 0 |  | 0
| 20 | cc | PVC Cable Trunking |  | 680 | [9 empty] | 1 |  | 0 |  | 0
| 21 | cc | Underfloor Cable Trunking |  | 681 | [9 empty] | 1 |  | 0 |  | 0
| 22 | cc | Galv. Conduit |  | 690 | [9 empty] | 1 |  | 0 |  | 0
| 23 | cc | PVC Conduit |  | 700 | [9 empty] | 1 |  | 0 |  | 0
| 24 | cc | Wiring Accessories |  | 705 | [9 empty] | 3 |  | 0 |  | 0
| 25 | cc | Dimming Equipment |  | 706 | [9 empty] | 3 |  | 0 |  | 0
| 26 | cc | Fire Alarm Equipment |  | 725 | [9 empty] | 3 |  | 0 |  | 0
| 27 | cc | Fire Barriers |  | 726 | [9 empty] | 3 |  | 0 |  | 0
| 28 | cc | Security Alarm System |  | 750 | [9 empty] | 3 |  | 0 |  | 0
| 29 | cc | Access Control |  | 751 | [9 empty] | 3 |  | 0 |  | 0
| 30 | cc | Hotel Electronic Lock |  | 752 | [9 empty] | 3 |  | 0 |  | 0
| 31 | cc | Sub-Contracting Installation Elec |  | 753 | [9 empty] | 3 |  | 0 |  | 0
| 32 | cc | Timing Equipment |  | 770 | [9 empty] | 3 |  | 0 |  | 0
| 33 | cc | Public Address |  | 790 | [9 empty] | 3 |  | 0 |  | 0
| 34 | cc | Voice Alarm Equipment |  | 791 | [9 empty] | 3 |  | 0 |  | 0
| 35 | cc | Lightning / Bonding System |  | 810 | [9 empty] | 3 |  | 0 |  | 0
| 36 | cc | T.V System |  | 815 | [9 empty] | 3 |  | 0 |  | 0
| 37 | cc | UPS/Voltage Stabilisers |  | 820 | [9 empty] | 2 |  | 0 |  | 0
| 38 | cc | Data Network Equipment |  | 821 | [9 empty] | 3 |  | 0 |  | 0
| 39 | cc | Light Fittings |  | 835 | [9 empty] | 3 |  | 0 |  | 0
| 40 | cc | Generators, AMF Panels |  | 845 | [9 empty] | 2 |  | 0 |  | 0
| 41 | cc | Telephone Equipment |  | 855 | [9 empty] | 3 |  | 0 |  | 0
| 42 | cc | Intercom |  | 856 | [9 empty] | 3 |  | 0 |  | 0
| 43 | cc | Mechanical for Electrical |  | 857 | [9 empty] | 3 |  | 0 |  | 0
| 44 | cc | Nurse Call |  | 858 | [9 empty] | 3 |  | 0 |  | 0
| 45 | cc | C.C.T.V. Equipment |  | 865 | [9 empty] | 3 |  | 0 |  | 0
| 46 | cc | Tools and Instruments |  | 870 | [9 empty] | 4 |  | 0 |  | 0
| 47 | cc | Consumbles |  | 875 | [9 empty] | 1 |  | 0 |  | 0
| 48 | cc | Drawings/Manuals |  | 880 | [9 empty] | 3 |  | 0 |  | 0
| 49 | cc | Spare Parts |  | 885 | [9 empty] | 4 |  | 0 |  | 0
| 50 | cc | Labour |  | 900 | [9 empty] | 3 |  | 0 |  | 0
| 51 | cc | Dismantling (Labour Only) |  | 901 | [9 empty] | 1 |  | 0 |  | 0
| 52 | cc | Testing & Commissioning |  | 902 | [9 empty] | 3 |  | 0 |  | 0
| 53 | cc | Sub-Contracting Works |  | 960 | [9 empty] | 4 |  | 100 |  | 0
| 54 | cc | Enemalta Application |  | 961 | [9 empty] | 3 |  | 0 |  | 0
| 55 | cc | Crainage and Transportation |  | 962 | [9 empty] | 1 |  | 0 |  | 0
| 56 | cc | Provisional Sum |  | 970 | [9 empty] | 4 |  | 0 |  | 0
|  | cc |  |  | Fix 1 |  | 1 | [9 empty] | 3825.4554 |  | 43.125
|  | cc |  |  | Fix 2 |  | 2 | [9 empty] | 0 |  | 0
|  | cc |  |  | Fix 3 |  | 2 | [9 empty] | 0 |  | 0
|  | cc |  |  | Others |  | 3 | [9 empty] | 100 |  | 0
|  | cc |  |  | TOTAL | [11 empty] | 3925.4554 |  | 43.125

## Elec_Est
| CLIENT: | 1 | ST Microelectronics (Malta) Ltd. |  | 0 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | € | R/Lab Cont | R | 1.25 | BOQ | INCL | MULT | AREA | BOQ | TDWG | ACT | DIFF
| PROJECT: | 1 | KK2 General Exhaust Replacement |  | Electrical |  |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_A | 1.25 | 34.325
| JOB DESC: | 1 | Electrical Supply and Installation |  | Controls |  |  | 3 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_B | 1.25 | 34.325
| QUOTE No: | 1 | EL25-0559 |  | 0 |  |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_C | 0 | 0
| CLIENTs REF: | 1 | Tender |  | 0 |  |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_D | 0 | 0
| VAT/DUTIES: | 1 | VAT EXCL. |  | 0 |  |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_E | 0 | 0
| SAVED ON: | 1 | 2007-10-09 |  | 0 |  |  | 7 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_F | 0 | 0
| ESTIMATOR: | 1 | Umut Kaymak |  | 0 |  |  | 8 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_G | 0 | 0
| LABOUR RATE: | 1 | 27.46 |  | 0 |  |  | 9 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_H | 0 | 0
|  | 1 |  |  | 0 |  |  | 10 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_I | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | mu_J | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | MIXED | MAT MU | LAB RATE
[6 empty] | ISELL | C_CODE | MAKE | PART_NO | MARKUP | TYPE | LIST_P | P_FACT | FIX | DATE | %Dsct in BOQ | MU TYPE | MAT MU | LAB RATE | [13 empty] | Tot Mat Cost | Unit Lab phr. | Tot Lab phr. | < for ELM / MEE
TB
|  | t | Item:
Cable Tray Supply & Installation
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
30 | MT |  | Item: 1.01 | 212.98 | 6389.4 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.25 | [8 empty] | 163.55 | 4906.5 | 49.43 | 1482.9 | 6389.4 | 3925.2 | 43.2 | 119052
Hot diped Galvenized Cable tray 200*50mm complete with brackets with lids
|  | h | [E25_0559_ST_Electronics_Exhaust_Replacement_Est_.xlsx]Elec_Rates!$D$26 |  |  | RATE_AAA
30 | 1 | 30 | 002# 200mm galvanised steel cable tray complete with cover |  | Local Rate | RTLO_002 | [9 empty] | 59.43 | 1782.9 | 0.81 | 24.3
|  | h | [E25_0559_ST_Electronics_Exhaust_Replacement_Est_.xlsx]Elec_Rates!$D$41 |  |  | RATE_AAA
30 | 1 | 30 | 003# Cable Containment Support |  | Local Rate | RTLO_002 | [9 empty] | 71.41 | 2142.3 | 0.63 | 18.9
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 3925.2 |  | 43.2
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | LS |  | Item: 1.02 | 0 | 0 | ISELL |  |  |  | mu_A | ITEM |  |  |  |  | Included in item 1.01 |  |  | 0.00 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hot Diped galvanized Hilti structures
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 0 |  | 0
TB
|  | t | Item:
Power Cable Supply, Laying & Wiring
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
50 | MT |  | Item: 1.03 | 24.51 | 1225.5 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.25 | [8 empty] | 16.44 | 822 | 8.07 | 403.5 | 1225.5 | 657.6 | 11.75 | 33467.5
FG16OM16 0,6/1 Kmtr grn lszh 5g16 MMSQ fg160m1 .6/1V
50 | m |  | FG16OM5G016 | 4 circuits | AJ | CAMC_091 | 616 | (__) | 16mm2 | 05-006 |  |  |  | 2 | 2005-03-23 | 10.8 | 540 | 0.06 | 3.75
40 | No |  | Cable Lug 16 mm2 |  |  | CAAC_009 | 620 | CTT | [5 empty] | 2 | 1994-12-01 | 0.14 | 5.6 | 0.06 | 3
8 | No |  | Gland Indoor 32 BWL 4*25/35mm2 |  |  | CAAC_044 | 620 | CMP | [5 empty] | 2 | 1997-01-01 | 14 | 112 | 0.5 | 5
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 657.6 |  | 11.75
TB
|  | t | Item:
Termination of the Power Cables to Existing MCCs
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
2 | No |  | Item: 2.01 | 42.91 | 85.82 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.25 | [8 empty] | 0 | 0 | 42.91 | 85.82 | 85.82 | 0 | 2.5 | 5
Termination of the FG16OM16 0,6/1 Kmtr grn lszh 5g16 MMSQ fg160m1 .6/1V Cable to Existing MCCs
2 | No |  | Cable Termination only |  |  | LABO_001 | 900 | MISC | [5 empty] | 1 |  | 0 | 0 | 1 | 2.5
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 0 |  | 2.5
TB
|  | t | Item:
Dismantling Existing Distribution Board
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | LS |  | Item: 2.01 | 257.44 | 257.44 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.25 | [8 empty] | 0 | 0 | 257.44 | 257.44 | 257.44 | 0 | 7.5 | 7.5
Dismantling the existing Board
1 | LS |  | Dismantling the Existing Board |  |  | LABO_001 | 900 | MISC | [5 empty] | 1 |  |  | 0 | 6 | 7.5
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 0 |  | 7.5
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | LS |  | Item: 2.02 | 171.63 | 171.63 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.25 | [8 empty] | 0 | 0 | 171.63 | 171.63 | 171.63 | 0 | 5 | 5
Terminating the Dismantled cables to existing control panel adjacent to distribution board
1 | LS |  | Termination of 3 x 5x16 cable |  |  | LABO_001 | 900 | MISC | [5 empty] | 1 |  |  | 0 | 4 | 5
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 0 |  | 5
TB
|  | t | Item:
VRFs Supply and Installation
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
2 | No |  | Item: 3.01 | 2178.22 | 4356.44 | ISELL |  |  |  |  | ITEM | [7 empty] | mu :1.25 | [8 empty] | 1644 | 3288 | 534.22 | 1068.44 | 4356.44 | 2630.4 | 31.13 | 5323.06
|  |  | Supply and Install VRFs | [6 empty] | n
|  |  |  | 0.01 | Discrepancy
|  |  | Electrical | 370.74 | 370.74 |  |  |  |  | mu_A | SUBI
| >>> mu_A material here >>> | [15 empty] | 0 |  | 0
2 | No |  | VRF Installation Only |  |  | BMSE_001 | 512 | (__) | [5 empty] | 3 |  | 0 | 0 | 3 | 7.5
2 | No |  | VRF Termination Only |  |  | BMSE_001 | 512 | (__) | [5 empty] | 3 |  | 0 | 0 | 1 | 2.5
10 | No |  | Cable Lug 16 mm2 |  |  | CAAC_009 | 620 | CTT | [5 empty] | 2 | 1994-12-01 | 0.14 | 1.4 | 0.06 | 0.75
[17 empty] | 0 |  | 0
d> | 0 | [8 empty] | mu_A | SUBI | [5 empty] | 1.4 |  | 10.75 | [8 empty] | 1.75
|  |  | Controls | 3985.69 | 3985.7 |  |  |  |  | mu_B | SUBI
2 | No |  | VRF |  |  | BMSE_001 | 512 | (__) | [5 empty] | 3 |  | 1314.5 | 2629 | 8.1508 | 20.3769
[17 empty] | 0 |  | 0
d> | 0 | [8 empty] | mu_B | SUBI | [5 empty] | 2629 |  | 20.3769 | [8 empty] | 3286.25
[6 empty] | ICOST |  |  |  |  | ITEM | [5 empty] | 2630.4 |  | 31.1269
SB
| 0.265 |  | PAGE: |  | 12486.23 | [5 empty] | PAGE | [5 empty] | 7213.2 |  | 101.0769
| Discy: |  |  |  | PAGE SELL | [11 empty] | PAGE MAT |  | PAGE LAB
SB
| 0.265 |  | TOTAL FOR ADDITIONAL ITEMS |  | 12486.23 | [5 empty] | SECT | [5 empty] | 7213.2 |  | 101.0769
| Discy: |  |  |  | SECT SELL | [11 empty] | SECT MAT |  | SECT LAB
SB! | [28 empty] | #REF! |  | #REF! | #REF!
| 0.2525 | cc |  | Electrical (mu_A) : | 8500.53 | [11 empty] | 4584.2 |  | 80.7 | [9 empty] | 5730.25 |  | 2770.0275
| 0.0125 | cc |  | Controls (mu_B) : | 3985.7 | [11 empty] | 2629 |  | 20.3769 | [9 empty] | 3286.25 |  | 699.4375
| 0 | cc |  | 0 (mu_C) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_D) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_E) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_F) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_G) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_H) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_I) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 |  |  | 0 (mu_J) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
|  | MATERIAL SUMMARY |  | MU SUMMARY TOTAL | 12486.23 | ISELL | [10 empty] | 7213.2 |  | 101.0769 | [9 empty] | 9016.5 |  | 3469.465 | 12485.965
[29 empty] | #REF! |  | #REF! | #REF!
| Discy with |  |  | MATERIAL ITEMS TOTAL | [6 empty] | COMP_GT | [5 empty] | 7213.2 |  | 101.0769
equal Mus
| 0.265 |  |  | BOQ ITEMS TOTAL | 12486.23 | [5 empty] | ITEM_GT | [5 empty] | 7213.2 |  | 101.0769
| 0.265 |  |  | PAGES TOTAL | 12486.23 | [5 empty] | PAGE_GT | [5 empty] | 7213.2 |  | 101.0769
SB | 0.265 |  |  | SECTIONS TOTAL | 12486.23 | [5 empty] | SECT_GT | [5 empty] | 7213.2 |  | 101.0769
END!
| V:56 |  |  | COSTCODE TOTAL | [12 empty] | 7213.4554 |  | 101.0019
| 1 | cc | Erection materials |  | 501 | [9 empty] | 1 |  | 2142.445 |  | 18.75
| 2 | cc | Busbar Trunking |  | 505 | [9 empty] | 1 |  | 0 |  | 0
| 3 | cc | Switchgear |  | 510 | [9 empty] | 2 |  | 0 |  | 0
| 4 | cc | MCC Equipment |  | 511 | [9 empty] | 2 |  | 0 |  | 0
| 5 | cc | BMS Equipment |  | 512 | [9 empty] | 2 |  | 2629 |  | 30.3769
| 6 | cc | PVC Pipes / Ducts |  | 520 | [9 empty] | 1 |  | 0 |  | 0
| 7 | cc | High/medium voltage switchgear |  | 530 | [9 empty] | 2 |  | 0 |  | 0
| 8 | cc | Power Transformers |  | 550 | [9 empty] | 2 |  | 0 |  | 0
| 9 | cc | Control Panels |  | 570 | [9 empty] | 2 |  | 0 |  | 0
| 10 | cc | Electrical Single Core Cables |  | 615 | [9 empty] | 2 |  | 0 |  | 0
| 11 | cc | Electrical Multicore Cables |  | 616 | [9 empty] | 2 |  | 540 |  | 3.75
| 12 | cc | ELV/BMS/Special Cables |  | 617 | [9 empty] | 2 |  | 0 |  | 0
| 13 | cc | Cables accessories |  | 620 | [9 empty] | 2 |  | 119 |  | 8.75
| 14 | cc | Galv. Cable Trays |  | 650 | [9 empty] | 1 |  | 1683.0104 |  | 24.375
| 15 | cc | PVC Cable Trays |  | 651 | [9 empty] | 1 |  | 0 |  | 0
| 16 | cc | Galv. Cable Basket |  | 652 | [9 empty] | 1 |  | 0 |  | 0
| 17 | cc | Galv. Cable Ladder |  | 654 | [9 empty] | 1 |  | 0 |  | 0
| 18 | cc | Galv. Cable Trunking |  | 675 | [9 empty] | 1 |  | 0 |  | 0
| 19 | cc | Alum. Cable Trunking |  | 676 | [9 empty] | 1 |  | 0 |  | 0
| 20 | cc | PVC Cable Trunking |  | 680 | [9 empty] | 1 |  | 0 |  | 0
| 21 | cc | Underfloor Cable Trunking |  | 681 | [9 empty] | 1 |  | 0 |  | 0
| 22 | cc | Galv. Conduit |  | 690 | [9 empty] | 1 |  | 0 |  | 0
| 23 | cc | PVC Conduit |  | 700 | [9 empty] | 1 |  | 0 |  | 0
| 24 | cc | Wiring Accessories |  | 705 | [9 empty] | 3 |  | 0 |  | 0
| 25 | cc | Dimming Equipment |  | 706 | [9 empty] | 3 |  | 0 |  | 0
| 26 | cc | Fire Alarm Equipment |  | 725 | [9 empty] | 3 |  | 0 |  | 0
| 27 | cc | Fire Barriers |  | 726 | [9 empty] | 3 |  | 0 |  | 0
| 28 | cc | Security Alarm System |  | 750 | [9 empty] | 3 |  | 0 |  | 0
| 29 | cc | Access Control |  | 751 | [9 empty] | 3 |  | 0 |  | 0
| 30 | cc | Hotel Electronic Lock |  | 752 | [9 empty] | 3 |  | 0 |  | 0
| 31 | cc | Sub-Contracting Installation Elec |  | 753 | [9 empty] | 3 |  | 0 |  | 0
| 32 | cc | Timing Equipment |  | 770 | [9 empty] | 3 |  | 0 |  | 0
| 33 | cc | Public Address |  | 790 | [9 empty] | 3 |  | 0 |  | 0
| 34 | cc | Voice Alarm Equipment |  | 791 | [9 empty] | 3 |  | 0 |  | 0
| 35 | cc | Lightning / Bonding System |  | 810 | [9 empty] | 3 |  | 0 |  | 0
| 36 | cc | T.V System |  | 815 | [9 empty] | 3 |  | 0 |  | 0
| 37 | cc | UPS/Voltage Stabilisers |  | 820 | [9 empty] | 2 |  | 0 |  | 0
| 38 | cc | Data Network Equipment |  | 821 | [9 empty] | 3 |  | 0 |  | 0
| 39 | cc | Light Fittings |  | 835 | [9 empty] | 3 |  | 0 |  | 0
| 40 | cc | Generators, AMF Panels |  | 845 | [9 empty] | 2 |  | 0 |  | 0
| 41 | cc | Telephone Equipment |  | 855 | [9 empty] | 3 |  | 0 |  | 0
| 42 | cc | Intercom |  | 856 | [9 empty] | 3 |  | 0 |  | 0
| 43 | cc | Mechanical for Electrical |  | 857 | [9 empty] | 3 |  | 0 |  | 0
| 44 | cc | Nurse Call |  | 858 | [9 empty] | 3 |  | 0 |  | 0
| 45 | cc | C.C.T.V. Equipment |  | 865 | [9 empty] | 3 |  | 0 |  | 0
| 46 | cc | Tools and Instruments |  | 870 | [9 empty] | 4 |  | 0 |  | 0
| 47 | cc | Consumbles |  | 875 | [9 empty] | 1 |  | 0 |  | 0
| 48 | cc | Drawings/Manuals |  | 880 | [9 empty] | 3 |  | 0 |  | 0
| 49 | cc | Spare Parts |  | 885 | [9 empty] | 4 |  | 0 |  | 0
| 50 | cc | Labour |  | 900 | [9 empty] | 3 |  | 0 |  | 15
| 51 | cc | Dismantling (Labour Only) |  | 901 | [9 empty] | 1 |  | 0 |  | 0
| 52 | cc | Testing & Commissioning |  | 902 | [9 empty] | 3 |  | 0 |  | 0
| 53 | cc | Sub-Contracting Works |  | 960 | [9 empty] | 4 |  | 100 |  | 0
| 54 | cc | Enemalta Application |  | 961 | [9 empty] | 3 |  | 0 |  | 0
| 55 | cc | Crainage and Transportation |  | 962 | [9 empty] | 1 |  | 0 |  | 0
| 56 | cc | Provisional Sum |  | 970 | [9 empty] | 4 |  | 0 |  | 0
|  | cc |  |  | Fix 1 |  | 1 | [9 empty] | 3825.4554 |  | 43.125
|  | cc |  |  | Fix 2 |  | 2 | [9 empty] | 3288 |  | 42.8769
|  | cc |  |  | Fix 3 |  | 2 | [9 empty] | 0 |  | 15
|  | cc |  |  | Others |  | 3 | [9 empty] | 100 |  | 0
|  | cc |  |  | TOTAL | [11 empty] | 7213.4554 |  | 101.0019
| RATE TOTALS IN CURRENT SHEET | RATE TOTALS IN CURRENT SHEET
| 0 |  | 001# 1c x 240sqmm FG160M1 cables
| 30 |  | 002# 200mm galvanised steel cable tray complete with cover
| 30 |  | 003# Cable Containment Support
| 0 |  | 004# 300mm Without Matterial galvanised steel cable tray complete with cover
SB!
Note on A86: Michael Vella: DO NOT insert a new subitem block here or further down. Go up to a hatched marker cell to do this.
Note on AK104: Michael Vella: This cell should be exactly equal to the MU SUMMARY TOTAL.
Note on AH116: Michael Vella: This discrepancy must be small
Note on AJ116: Michael Vella: This discrepancy must be small
Note on AK116: Michael Vella: This discrepancy must be small

## E_BOQ
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
Cable Tray Supply & Installation
1.01 | Hot diped Galvenized Cable tray 200*50mm complete with brackets with lids | 30 | MT | 212.98 | 6389.4
1.02 | Hot Diped galvanized Hilti structures | 1 | LS | 0 | 0
Power Cable Supply, Laying & Wiring
1.03 | FG16OM16 0,6/1 Kmtr grn lszh 5g16 MMSQ fg160m1 .6/1V | 50 | MT | 24.51 | 1225.5
Termination of the Power Cables to Existing MCCs
2.01 | Termination of the FG16OM16 0,6/1 Kmtr grn lszh 5g16 MMSQ fg160m1 .6/1V Cable to Existing MCCs | 2 | No | 42.91 | 85.82
Dismantling Existing Distribution Board
2.01 | Dismantling the existing Board | 1 | LS | 257.44 | 257.44
2.02 | Terminating the Dismantled cables to existing control panel adjacent to distribution board | 1 | LS | 171.63 | 171.63
VRFs Supply and Installation
3.01 | Supply and Install VRFs | 2 | No | 2178.22 | 4356.44
SB | Total - |  | VAT EXCL. | € | 12486.23