## Notes
NOTES
1 | BOQ Item 6.001 | We have allowed to connect the Fan to a 13A DP Fused Outlet included in the electrical BOQ.
2 | BOQ Item 6.002 | We have allowed to connect the Damper to a 13A DP Fused Outlet included in the electrical BOQ. The control wiring installation is included in the REMS BOQ.
3 | BOQ Item 6.008 | The wiring and programming are included within the REMS BOQ
4 | BOQ Item 6.009 | We have allowed to connect the Fan to a 13A DP Fused Outlet included in the electrical BOQ. The control wiring installation is included in the REMS BOQ,. Whilst, the Fan Time OFF delay can be achived by the REMS logic controller.
5 | BOQ Items 7.002 & 7.005 | We have allowed for an empty conduit between the AC Indoor units and the room temperature/fan speed controller.
6 | BOQ Item 7.007 | The AC Connecting up and control wiring installation, are excluded.

## Elec_Est
| CLIENT: | 1 | SUNCREST HOTELS plc |  | 0 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | € | R/Lab Cont | R | 1 | BOQ | INCL | MULT | AREA | BOQ | TDWG | ACT | DIFF
| PROJECT: | 1 | Sunny Cost and Lido Redevelopment |  | Electrical |  |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_A | 1.3 | 35.698
| JOB DESC: | 1 | Sample Room - Electrical for Mechanical |  | Controls Section (Guy) |  |  | 3 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_B | 1.3 | 35.698
| QUOTE No: | 1 | ELM25-0699 |  | 0 |  |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_C | 0 | 0
| CLIENTs REF: | 1 | Sample Room |  | 0 |  |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_D | 0 | 0
| VAT/DUTIES: | 1 | VAT EXCL. |  | 0 |  |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_E | 0 | 0
| SAVED ON: | 1 | 2007-10-09 |  | 0 |  |  | 7 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_F | 0 | 0
| ESTIMATOR: | 1 | R.Farrugia |  | 0 |  |  | 8 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_G | 0 | 0
| LABOUR RATE: | 1 | 27.46 |  | 0 |  |  | 9 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_H | 0 | 0
|  | 1 |  |  | 0 |  |  | 10 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_I | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | mu_J | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | MIXED | MAT MU | LAB RATE
[6 empty] | ISELL | C_CODE | MAKE | PART_NO | MARKUP | TYPE | LIST_P | P_FACT | FIX | DATE | %Dsct in BOQ | MU TYPE | MAT MU | LAB RATE | [13 empty] | Tot Mat Cost | Unit Lab phr. | Tot Lab phr. | < for ELM / MEE
TB
|  | t | Item:
VENTILATION INSTALLATION
TB
|  | t | Item:
SF 01 [Delta P to be as per selected accessories] for bedroom
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | U_L_Phr | T_L_Phr | Mat/Lab=1
1 | LS |  | Item: 6.001 | 24.28 | 24.28 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.3 | [8 empty] | 2.86 | 2.86 | 21.42 | 21.42 | 24.28 | 2.2 | 0.6 | 0.6 | 2.8
|  |  | 30 litres/sec mixed flow fan including electrical connection to double pole provided, complete. Fan to be very silent with silencers if required | [6 empty] | n
2 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CASC_017 | 615 | CRO |  | 02-002 |  |  |  | 2 | 2006-09-28 | 1.1 | 2.2 | 0.05 | 0.1
1 | No |  | Labour to connect Mech Equip (SF01) |  |  | LABO_009 | 900 | MISC | [5 empty] | 1 |  | 0 | 0 | 0.5 | 0.5
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 2.2 |  | 0.6
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | U_L_Phr | T_L_Phr | Mat/Lab=1
1 | LS |  | Item: 6.002 | 24.28 | 24.28 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.3 | [8 empty] | 2.86 | 2.86 | 21.42 | 21.42 | 24.28 | 2.2 | 0.6 | 0.6 | 2.8
|  |  | Motorised 0-10V damper with leakage Class 3 to EN1751-2014 which will be connected to the RMS system for modulation control of damper by CO2 sensor feedback | [6 empty] | n
2 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CASC_017 | 615 | CRO |  | 02-002 |  |  |  | 2 | 2006-09-28 | 1.1 | 2.2 | 0.05 | 0.1
1 | No |  | Labour to connect Mech Equip (Motorised 0-10V damper) |  |  | LABO_009 | 900 | MISC | [5 empty] | 1 |  | 0 | 0 | 0.5 | 0.5
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 2.2 |  | 0.6
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | U_L_Phr | T_L_Phr | Mat/Lab=1
1 | LS |  | Item: 6.008 | 234 | 234 | ISELL |  |  |  | mu_B | ITEM | [7 empty] | mu: 1.3 | [8 empty] | 234 | 234 | 0 | 0 | 234 | 180 | 0 | 0 | 180
|  |  | Provide an indirect OA monitroing devices such as differential pressure sensor, airflow switch or current trasnducer on supply fan, complete with wiring to main door | [6 empty] | n
1 | No |  | Differential pressure sensor |  |  | BMSE_007 | 512 | FRER | 1MCOEAR |  |  |  |  | 2 | 2005-05-24 | 180 | 180 |  | 0
[17 empty] | 0 |  | 0
|  |  | Note: The wiring and programming are included within the REMS BOQ | [13 empty] | 0 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_B | ITEM | [5 empty] | 180 |  | 0
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | U_L_Phr | T_L_Phr | Mat/Lab=1
1 | LS |  | Item: 6.009 | 24.28 | 24.28 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.3 | [8 empty] | 2.86 | 2.86 | 21.42 | 21.42 | 24.28 | 2.2 | 0.6 | 0.6 | 2.8
|  |  | 50 litres/sec mixed flow fan including electrical connection to double pole provided, delay off timer | [6 empty] | n
2 | m |  | Wiring Cable 3c 1.5 mm2 PVC Non-Arm |  |  | CASC_017 | 615 | CRO |  | 02-002 |  |  |  | 2 | 2006-09-28 | 1.1 | 2.2 | 0.05 | 0.1
1 | No |  | Labour to connect Mech Equip (Bathroom 50 litres/sec mixed flow fan) |  |  | LABO_009 | 900 | MISC | [5 empty] | 1 |  | 0 | 0 | 0.5 | 0.5
| No |  | 16A 1 Channel Modular Relay Time Off Delay |  | ESS SQ057269 | WACC_258 | 705 | MEM | F8000 |  |  |  |  | 3 | 2005-03-10 | 26.829 | 0 | 0.35 | 0 | 1
[17 empty] | 0 |  | 0
|  |  | Note: The Time Off Deley can be achived by the REMS logic controller | [13 empty] | 0 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 2.2 |  | 0.6
TB
|  | t | Item:
AIR CONDITIONING INSTALLATION
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | U_L_Phr | T_L_Phr | Mat/Lab=1
1 | No |  | Item: 7.002 | 21.37 | 21.37 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.3 | [8 empty] | 2.81 | 2.81 | 18.56 | 18.56 | 21.37 | 2.16 | 0.52 | 0.52 | 2.68
|  |  | Wall mounted controller | [6 empty] | n
2 | m |  | 20mm Conduit LSZH - RATE |  |  | COPV_003 | 700 | GEN | 20mm |  |  |  |  | 1 | 2015-07-28 | 0.67 | 1.34 | 0.13 | 0.26
2 | m |  | 20mm Flexible Conduit LSZH - RATE |  |  | COPV_003 | 700 | GEN | 20mm |  |  |  |  | 1 | 2015-07-28 | 0.41 | 0.82 | 0.13 | 0.26
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 2.16 |  | 0.52
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | U_L_Phr | T_L_Phr | Mat/Lab=1
1 | No |  | Item: 7.005 | 21.37 | 21.37 | ISELL |  |  |  | mu_A | ITEM | [7 empty] | mu :1.3 | [8 empty] | 2.81 | 2.81 | 18.56 | 18.56 | 21.37 | 2.16 | 0.52 | 0.52 | 2.68
|  |  | Wall mounted controller | [6 empty] | n
2 | m |  | 20mm Conduit LSZH - RATE |  |  | COPV_003 | 700 | GEN | 20mm |  |  |  |  | 1 | 2015-07-28 | 0.67 | 1.34 | 0.13 | 0.26
2 | m |  | 20mm Flexible Conduit LSZH - RATE |  |  | COPV_003 | 700 | GEN | 20mm |  |  |  |  | 1 | 2015-07-28 | 0.41 | 0.82 | 0.13 | 0.26
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 2.16 |  | 0.52
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | U_L_Phr | T_L_Phr | Mat/Lab=1
1 | LS |  | Item: 7.007 | 0 | 0 | ISELL |  |  |  | mu_A | ITEM |  |  |  |  | NA |  |  | 0.00 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Provide means of having ac indoor unit fan working without outdoor, with speed hi-med-low modes for noise level similuation | [6 empty] | n
[17 empty] | 0 |  | 0
|  |  | NA | [13 empty] | 0 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_A | ITEM | [5 empty] | 0 |  | 0
SB
| -0.00168 |  | PAGE : |  | 349.58 | [5 empty] | PAGE | [5 empty] | 190.92 |  | 2.84
| Disc: |  |  |  | PAGE SELL | [11 empty] | PAGE MAT |  | PAGE LAB
[29 empty] | T_M_Sell |  | T_L_Sell | Total_Sell
SB! | [28 empty] | 248.2 |  | 101.38 | 349.58
| 0.00168 | cc |  | Electrical (mu_A) : | 115.58 | [11 empty] | 10.92 |  | 2.84 | [9 empty] | 14.196 |  | 101.3823
| 0 | cc |  | Controls Section (Guy) (mu_B) : | 234 | [11 empty] | 180 |  | 0 | [9 empty] | 234 |  | 0
| 0 | cc |  | 0 (mu_C) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_D) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_E) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_F) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_G) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_H) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_I) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 |  |  | 0 (mu_J) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
|  | MATERIAL SUMMARY |  | MU SUMMARY TOTAL | 349.58 | ISELL | [10 empty] | 190.92 |  | 2.84 | [9 empty] | 248.196 |  | 101.3823 | 349.5783
[29 empty] | 0.004 |  | -0.00232 | 0.00168
| Discy with |  |  | MATERIAL ITEMS TOTAL | [6 empty] | COMP_GT | [5 empty] | 190.92 |  | 2.84
equal Mus
| 0.00168 |  |  | BOQ ITEMS TOTAL | 349.58 | [5 empty] | ITEM_GT | [5 empty] | 190.92 |  | 2.84
| 0.00168 |  |  | PAGES TOTAL | 349.58 | [5 empty] | PAGE_GT | [5 empty] | 190.92 |  | 2.84
SB | 0 |  |  | SECTIONS TOTAL | 0 | [5 empty] | SECT_GT | [5 empty] | 0 |  | 0
END!
| V:56 |  |  | COSTCODE TOTAL | [12 empty] | 190.92 |  | 2.84
| 1 | cc | Erection materials |  | 501 | [9 empty] | 1 |  | 0 |  | 0
| 2 | cc | Busbar Trunking |  | 505 | [9 empty] | 1 |  | 0 |  | 0
| 3 | cc | Switchgear |  | 510 | [9 empty] | 2 |  | 0 |  | 0
| 4 | cc | MCC Equipment |  | 511 | [9 empty] | 2 |  | 0 |  | 0
| 5 | cc | BMS Equipment |  | 512 | [9 empty] | 2 |  | 180 |  | 0
| 6 | cc | PVC Pipes / Ducts |  | 520 | [9 empty] | 1 |  | 0 |  | 0
| 7 | cc | High/medium voltage switchgear |  | 530 | [9 empty] | 2 |  | 0 |  | 0
| 8 | cc | Power Transformers |  | 550 | [9 empty] | 2 |  | 0 |  | 0
| 9 | cc | Control Panels |  | 570 | [9 empty] | 2 |  | 0 |  | 0
| 10 | cc | Electrical Single Core Cables |  | 615 | [9 empty] | 2 |  | 6.6 |  | 0.3
| 11 | cc | Electrical Multicore Cables |  | 616 | [9 empty] | 2 |  | 0 |  | 0
| 12 | cc | ELV/BMS/Special Cables |  | 617 | [9 empty] | 2 |  | 0 |  | 0
| 13 | cc | Cables accessories |  | 620 | [9 empty] | 2 |  | 0 |  | 0
| 14 | cc | Galv. Cable Trays |  | 650 | [9 empty] | 1 |  | 0 |  | 0
| 15 | cc | PVC Cable Trays |  | 651 | [9 empty] | 1 |  | 0 |  | 0
| 16 | cc | Galv. Cable Basket |  | 652 | [9 empty] | 1 |  | 0 |  | 0
| 17 | cc | Galv. Cable Ladder |  | 654 | [9 empty] | 1 |  | 0 |  | 0
| 18 | cc | Galv. Cable Trunking |  | 675 | [9 empty] | 1 |  | 0 |  | 0
| 19 | cc | Alum. Cable Trunking |  | 676 | [9 empty] | 1 |  | 0 |  | 0
| 20 | cc | PVC Cable Trunking |  | 680 | [9 empty] | 1 |  | 0 |  | 0
| 21 | cc | Underfloor Cable Trunking |  | 681 | [9 empty] | 1 |  | 0 |  | 0
| 22 | cc | Galv. Conduit |  | 690 | [9 empty] | 1 |  | 0 |  | 0
| 23 | cc | PVC Conduit |  | 700 | [9 empty] | 1 |  | 4.32 |  | 1.04
| 24 | cc | Wiring Accessories |  | 705 | [9 empty] | 3 |  | 0 |  | 0
| 25 | cc | Dimming Equipment |  | 706 | [9 empty] | 3 |  | 0 |  | 0
| 26 | cc | Fire Alarm Equipment |  | 725 | [9 empty] | 3 |  | 0 |  | 0
| 27 | cc | Fire Barriers |  | 726 | [9 empty] | 3 |  | 0 |  | 0
| 28 | cc | Security Alarm System |  | 750 | [9 empty] | 3 |  | 0 |  | 0
| 29 | cc | Access Control |  | 751 | [9 empty] | 3 |  | 0 |  | 0
| 30 | cc | Hotel Electronic Lock |  | 752 | [9 empty] | 3 |  | 0 |  | 0
| 31 | cc | Sub-Contracting Installation Elec |  | 753 | [9 empty] | 3 |  | 0 |  | 0
| 32 | cc | Timing Equipment |  | 770 | [9 empty] | 3 |  | 0 |  | 0
| 33 | cc | Public Address |  | 790 | [9 empty] | 3 |  | 0 |  | 0
| 34 | cc | Voice Alarm Equipment |  | 791 | [9 empty] | 3 |  | 0 |  | 0
| 35 | cc | Lightning / Bonding System |  | 810 | [9 empty] | 3 |  | 0 |  | 0
| 36 | cc | T.V System |  | 815 | [9 empty] | 3 |  | 0 |  | 0
| 37 | cc | UPS/Voltage Stabilisers |  | 820 | [9 empty] | 2 |  | 0 |  | 0
| 38 | cc | Data Network Equipment |  | 821 | [9 empty] | 3 |  | 0 |  | 0
| 39 | cc | Light Fittings |  | 835 | [9 empty] | 3 |  | 0 |  | 0
| 40 | cc | Generators, AMF Panels |  | 845 | [9 empty] | 2 |  | 0 |  | 0
| 41 | cc | Telephone Equipment |  | 855 | [9 empty] | 3 |  | 0 |  | 0
| 42 | cc | Intercom |  | 856 | [9 empty] | 3 |  | 0 |  | 0
| 43 | cc | Mechanical for Electrical |  | 857 | [9 empty] | 3 |  | 0 |  | 0
| 44 | cc | Nurse Call |  | 858 | [9 empty] | 3 |  | 0 |  | 0
| 45 | cc | C.C.T.V. Equipment |  | 865 | [9 empty] | 3 |  | 0 |  | 0
| 46 | cc | Tools and Instruments |  | 870 | [9 empty] | 4 |  | 0 |  | 0
| 47 | cc | Consumbles |  | 875 | [9 empty] | 1 |  | 0 |  | 0
| 48 | cc | Drawings/Manuals |  | 880 | [9 empty] | 3 |  | 0 |  | 0
| 49 | cc | Spare Parts |  | 885 | [9 empty] | 4 |  | 0 |  | 0
| 50 | cc | Labour |  | 900 | [9 empty] | 3 |  | 0 |  | 1.5
| 51 | cc | Dismantling (Labour Only) |  | 901 | [9 empty] | 1 |  | 0 |  | 0
| 52 | cc | Testing & Commissioning |  | 902 | [9 empty] | 3 |  | 0 |  | 0
| 53 | cc | Sub-Contracting Works |  | 960 | [9 empty] | 4 |  | 0 |  | 0
| 54 | cc | Enemalta Application |  | 961 | [9 empty] | 3 |  | 0 |  | 0
| 55 | cc | Crainage and Transportation |  | 962 | [9 empty] | 1 |  | 0 |  | 0
| 56 | cc | Provisional Sum |  | 970 | [9 empty] | 4 |  | 0 |  | 0
|  | cc |  |  | Fix 1 |  | 1 | [9 empty] | 4.32 |  | 1.04
|  | cc |  |  | Fix 2 |  | 2 | [9 empty] | 186.6 |  | 0.3
|  | cc |  |  | Fix 3 |  | 2 | [9 empty] | 0 |  | 1.5
|  | cc |  |  | Others |  | 3 | [9 empty] | 0 |  | 0
|  | cc |  |  | TOTAL | [11 empty] | 190.92 |  | 2.84
Note on AK85: Michael Vella: This cell should be exactly equal to the MU SUMMARY TOTAL.
Note on AH97: Michael Vella: This discrepancy must be small
Note on AJ97: Michael Vella: This discrepancy must be small
Note on AK97: Michael Vella: This discrepancy must be small

## ML_Sum
| CLIENT: | 1 | SUNCREST HOTELS plc |  |  | TRUE | TRUE | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | € | Recon /Lab.Cont >> | R | 1 | 1 | BOQ | x | x | x | x | x | x | x
| PROJECT: | 1 | Sunny Cost and Lido Redevelopment |  | Electrical | TRUE |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | A) 1.3-1.3 | 1.3 | 35.698 |  |  | x | x | x | x | x | x | x
| JOB DESC: | 1 | Sample Room - Electrical for Mechanical |  | Controls Section (Guy) | TRUE |  | 3 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | B) 1.3-1.3 | 1.3 | 35.698 |  |  | x | x | x | x | x | x | x
| INT. QUOT No: | 1 | ELM25-0699 |  |  | TRUE |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | C) |  | 0 |  |  | x | x | x | x | x | x | x
| CLIENTs REF: | 1 | Sample Room |  |  | TRUE |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | D) |  | 0 |  |  | x | x | x | x | x | x | x
| VAT: | 1 | VAT EXCL. |  |  | TRUE |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | E) |  | 0 |  |  | x | x | x | x | x | x | x
| SAVED ON: | 1 | 2025-11-10 |  |  | TRUE |  | 7 | 1 | 1 | 1 | 1 | 1 |  |  |  | F) |  | 0 |  |  | x | x | x | x | x | x | x
| ESTIMATOR: | 1 | R.Farrugia |  |  | TRUE |  | 8 | 1 | 1 | 1 | 1 | 1 |  |  |  | G) |  | 0 |  |  | x | x | x | x | x | x | x
| LAB. COST: | 1 | 27.46 |  |  | TRUE |  | 9 | 1 | 1 | 1 | 1 | 1 |  |  |  | H) |  | 0 |  |  | x | x | x | x | x | x | x
|  | 1 |  |  |  | TRUE |  | 10 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I) |  | 0 |  |  | x | x | x | x | x | x | x
|  | 1 | [14 empty] | J) |  | 0 |  |  | x | x | x | x | x | x | x
|  | 1 |  |  |  | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS |  | MIXED - X,Y ) | MAT MU | LAB RATE |  |  | x | x | x | x | x | x | x
| MATERIAL & LABOUR SUMMARY |  |  |  |  | ItemCode | CostCode | MAKE | PART_NO | MARKUP | TYPE | LIST_P | SET | FIX | DATE | %Dsct in BOQ | MATMU-LABMU | MAT CONT >> | 1
[22 empty] | x | x | x | x | x | x | x
[16 empty] | 0% | Average Discount applied in BOQ (Q2-Q12) |  |  |  |  | x | x | x | x | x | x | x
[16 empty] | 0% | Average Discount applied on Totals (Q23-Q32) |  |  |  |  | x | x | x | x | x | x | x
[16 empty] | 0% | Overall Discount
[16 empty] | 1.3 | Overall Markup (Final Selling Excl.VAT/Total Cost )
|  |  |  | DISCOUNTED | SELLING | [10 empty] | % Discnt | MATERIAL |  | LABOUR
Discy.A-J | Markup/LRate |  |  | SELLING € | € | VAT/DISC | MU | LABRATE | LABCOST | [6 empty] | on Totals | € |  | Pair Hrs.
0.00168 | A) 1.3, 35.7 |  | Electrical | 115.58 | 115.58 | 1 | 1.3 | 35.698 | 27.46 | [7 empty] | 10.92 |  | 2.84
0 | A) 1.3 |  | Controls Section (Guy) | 234 | 234 | 1 | 1.3 | 35.698 | 27.46 | [7 empty] | 180 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
MIXED
Discy.L | 349.58 |  |  | 349.58 | 349.58 | [11 empty] | 190.92 |  | 2.84
0.00 | BOQ TOTAL |  |  | ESTIM TOTAL (€)
1.125 | <1 Actual LabCont | [15 empty] | 190.92 | C.C.Totals | 2.84
<2 Phrs @ 1.00
| <3 Phrs @ Actual | [14 empty] | Discy.T >> | 0 | PRINT | 0
| Values Only on : |  | 2025-11-10 | [13 empty] | 190.92 |  | 2.84
REMARKS:
1) VAT and Duties as above.
ESTIMATOR: |  |  | R.Farrugia | [12 empty] | APPROVED BY:
SIGNED: | [15 empty] | DATE APPROVED:
FILE LOCATION: |  |  | K:\est\Sunny Coast Hotel\Estimates\[ELM25_0699_Mock_Up_Room_Elec_for_Mech.xlsx]ML_Sum
PANTA CONTRACTING LTD. - ELECTRICAL DIVISION
CONTRACT / VARIATION INPUT DOCUMENT
Copy to:-
|  |  | Client: | SUNCREST HOTELS plc | [13 empty] | Ms. S. Magri
|  |  | Project: | Sunny Cost and Lido Redevelopment | [13 empty] | Mr. K. Micallef
|  |  | Job Description: | Sample Room - Electrical for Mechanical | [13 empty] | Mr. A. Sciberras
|  |  | Quote No: | ELM25-0699
|  |  | Client's Ref: | Sample Room
File:-
File No:
Ext. Ref:
Contract /Variation (Excl. VAT)
|  | 349.58 |  | Estim.Sell before Discounts excl.VAT (€): | 349.58
|  |  |  | Overall Discount: | 0%
|  |  |  | Final Sell after Discounts excl.VAT (€): | 349.58
|  |  |  | Labour Rate - | 27.46 | [11 empty] | Mech. Cost to us
|  |  | Mat. Cost | Labour | Total Cost | [11 empty] | Sell Excl.VAT / Total Cost
|  |  | € | Pair.Hrs | €
|  |  | 190.92 | 2.84 | 268.9064 | [11 empty] | 1.3
( From CostCode Totals )
Advanced Payment:
Retention:
Awarded Date:
Estimated Start Date:
Estimated Completion Date:
.................
|  |  | A. Sciberras | [13 empty] | Date issued:
0
PANTA CONTRACTING LTD. - ELECTRICAL DIVISION
ELECTRICAL AND ELV CONTRACT / VARIATION BUDGET COST
|  |  | Project: | Sunny Cost and Lido Redevelopment
|  |  | Job Desc: | Sample Room - Electrical for Mechanical
|  |  | Client's Ref: | Sample Room
|  |  | COSTCODE |  | Cost | [10 empty] | Mat. | Mat Cost | Lab Cost @ | Labour
[5 empty] | Code | [10 empty] | Cont. | € | 27.46 | Pair.Hrs
| V:56 |  | BOQ RateOnly Items | [11 empty] | FIX | 1
| 1(J) | cc | Erection materials |  | 501 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 2 | cc | Busbar Trunking |  | 505 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 3 | cc | Switchgear |  | 510 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 4 | cc | MCC Equipment |  | 511 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 5 | cc | BMS Equipment |  | 512 | [9 empty] | 2 | 1 | 180 | 0 | 0
| 6 | cc | PVC Pipes / Ducts |  | 520 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 7 | cc | High/medium voltage switchgear |  | 530 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 8 | cc | Power Transformers |  | 550 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 9 | cc | Control Panels |  | 570 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 10 | cc | Electrical Single Core Cables |  | 615 | [9 empty] | 2 | 1 | 6.6 | 8.238 | 0.3
| 11(K) | cc | Electrical Multicore Cables |  | 616 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 12 | cc | ELV/BMS/Special Cables |  | 617 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 13 | cc | Cable Accessories |  | 620 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 14 | cc | Galv. Cable Trays |  | 650 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 15 | cc | PVC Cable Trays |  | 651 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 16 | cc | Galv. Cable Basket |  | 652 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 17 | cc | Galv. Cable Ladder |  | 654 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 18 | cc | Galv. Cable Trunking |  | 675 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 19 | cc | Alum. Cable Trunking |  | 676 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 20 | cc | PVC Cable Trunking |  | 680 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 21(L) | cc | Underfloor Cable Trunking |  | 681 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 22 | cc | Galv. Conduit |  | 690 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 23 | cc | PVC Conduit |  | 700 | [9 empty] | 1 | 1 | 4.32 | 28.5584 | 1.04
| 24 | cc | Wiring Accessories |  | 705 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 25 | cc | Dimming Equipment |  | 706 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 26 | cc | Fire Alarm Equipment |  | 725 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 27 | cc | Fire Barriers |  | 726 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 28 | cc | Security Alarm System |  | 750 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 29 | cc | Access Control |  | 751 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 30 | cc | Hotel Electronic Lock |  | 752 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 31(M) | cc | Sub-Contracting Installation Elec |  | 753 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 32 | cc | Timing Equipment |  | 770 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 33 | cc | Public Address |  | 790 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 34 | cc | Voice Alarm Equipment |  | 791 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 35 | cc | Lightning / Bonding System |  | 810 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 36 | cc | T.V System |  | 815 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 37 | cc | UPS/Voltage Stabilisers |  | 820 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 38 | cc | Data Network Equipment |  | 821 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 39 | cc | Light Fittings |  | 835 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 40 | cc | Generators, AMF Panels |  | 845 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 41(N) | cc | Telephone Equipment |  | 855 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 42 | cc | Intercom |  | 856 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 43 | cc | Mechanical for Electrical |  | 857 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 44 | cc | Nurse Call |  | 858 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 45 | cc | C.C.T.V. Equipment |  | 865 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 46 | cc | Tools and Instruments |  | 870 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 47 | cc | Consumbles |  | 875 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 48 | cc | Drawings/Manuals |  | 880 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 49 | cc | Spare Parts |  | 885 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 50 | cc | Labour |  | 900 | [9 empty] | 3 | 1 | 0 | 41.19 | 1.5
| 51(O) | cc | Dismantling (Labour Only) |  | 901 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 52 | cc | Testing & Commissioning |  | 902 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 53 | cc | Sub-Contracting Works |  | 960 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 54 | cc | Enemalta Application |  | 961 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 55 | cc | Crainage and Transportation |  | 962 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 56 | cc | Provisional Sum |  | 970 | [9 empty] | 4 | 1 | 0 | 0 | 0
|  |  | Totals | [13 empty] | 190.92 | 77.9864 | 2.84
|  | cc |  |  | Fix 1 |  | 1 | [9 empty] | 4.32 |  | 1.04
|  | cc |  |  | Fix 2 |  | 2 | [9 empty] | 186.6 |  | 0.3
|  | cc |  |  | Fix 3 |  | 2 | [9 empty] | 0 |  | 1.5
|  | cc |  |  | Others |  | 3 | [9 empty] | 0 |  | 0
|  | cc |  |  | TOTAL | [11 empty] | 190.92 |  | 2.84
.................
A. Sciberras
0
Comment / Change in Scope
1.Form/0Mat
2.VAT
3.DiscyA-J
4.MU/LabRate
5.Ov.Dsct/MU
6ab.Lab.Cont.
7.Mat.Cont.
8.BOQ
9.Recon.
11.ValsOnly
10.Avg.Rates OK?
Note on C1: Michael Vella: Insert Foreign Currency here (say: 1.55 - $US) and change Q1 accordingly
Note on W1: Michael Vella: BOQ - Use numbers in BOQ column TDWG - Use numbers in TDWG column ACT - Use numbers in ACT column DIF_TD - Use (TDWG - BOQ) difference DIF_A - Use (ACT - BOQ) difference
Note on R2: Michael Vella: When you want to uplift markups to offset a discount, first generate your estimate without any discount and paste the estimate totals as values-only. Then divide markups by (1-Dsct%) to get to your original values-only totals.
Note on B3: Michael Vella: When job description starts with "Supply only" and the Quote No. is "EL" then the Quote Title in the Quote worksheet will change from PANTA CONTRACTING LTD to PANTA RETAIL LTD.
Note on D7: Michael Vella: Press <CTRL :> to enter the current date.
Note on R12: Michael Vella: Enter the markups used in this cell to make Mario aware eg: (MIXED I,J). Preferably dedicated markups should be used for the mixed subitems which are not used anywhere else. Also the same discount value should then be entered for all three (MIXED, I and J)
Note on A33: Michael Vella: Select MIXED if mixed markups are used. Leave empty if mixed markups are not used.
Note on C33: Michael Vella: If a <%Discount on Totals> is required on Mixed Item Blocks you must use dedicated markups (say I and J) for the SubItems that make up these blocks. These markups must then NOT be used for anything else in this estimate. Enter the markups used in this cell to make Mario aware as (MIXED I,J). Also the same discount value should then be entered for both these markups.
Note on R33: Michael Vella: If a <%Discount on Totals> is required on Mixed Item Blocks you must use dedicated markups (say I and J) for the SubItems that make up these blocks. These markups must then NOT be used for anything else in this estimate. Enter the markups used in this cell to make Mario aware as (MIXED I,J). Also the same discount value should then be entered for both these markups.
Note on A37: Michael Vella: Step 1. Enter the Actual Labour Contingency ($T1) used in this cell.
Note on S37: Michael Vella: Cost Code Totals for entry into P.I.T. by Amanda
Note on A38: Michael Vella: Step 2. Paste the Labour PairHours ($T35) as a value with the Labour Contingency set at 1.00 in this cell.
Note on A39: Michael Vella: Step 3. Paste the Labour PairHours ($T35) as a value with the actual Labour Contingency used in this cell.
Note on S39: Michael Vella: Select <Test for 0.00> and confirm that DiscyT are both 0.00, then make sure that you select PRINT again before printing.
Note on D41: Michael Vella: Press <CTRL :> to enter the current date.

## Quote
PANTA CONTRACTING LIMITED
ELEC-FOR-MECH INTERNAL QUOTATION
| ATT: |  | Jason Camilleri | [13 empty] | Dated: | 2025-11-10 16:11
| CLIENT: | Link to ML_SUM $D1 | SUNCREST HOTELS plc
| PROJECT: | Link to ML_SUM $D2 | Sunny Cost and Lido Redevelopment
| JOB DESC: | Link to ML_SUM $D3 | Sample Room - Electrical for Mechanical
| QUOTE No: | Link to ML_SUM $D4 | ELM25-0699
| CLIENT's Ref: | Link to ML_SUM $D5 | Sample Room
|  |  | Material Cost (€) : | 190.92 | VAT EXCL. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED.
|  |  | Labour Pair Hours : | 2.84
Signed for and on behalf of | [15 empty] | Signed for and on behalf of
Electrical Division | [15 empty] | Division
Records
Mr. K. Micallef
File
CONDITIONS:
1) Quote is valid for 30 days from above date.
3) We have assumed that we will be allowed to work unhindered between 7.00 to 15.30 on weekdays.
EXCLUSIONS:
1) Any builders' work except conduit chases in walls / as per contract.
2) Work outside our normal working hours.
3) Security of the works after normal working hours.
4) Cutting of holes in gypsum partitions or false ceilings to accommodate electrical devices.
5) Dismantling of any existing installation / false ceiling / furnishings unless included in attached BOQ.
6) Anything not mentioned in our Bill of Quantities.
DESCRIPTION OF WORKS / SPECIFICATIONS:
1) As per the attached BOQ.
2) Technical literature for the items offered is attached.

## MUR MEP BOQ
| SUNNY COAST MOCK UP ROOM MEP Bill of Quantities | [5 empty] | REV00
Preliminaries and General Conditions
ITEM | DESCRIPTION | QTY | UNIT |  |  | RATE EXC. VAT | TOTAL EXC. VAT
The Preliminary Items included hereunder apply to the whole of the works contained in these Bills of Quantities and the rates and / or amounts inserted by the Contractor shall be deemed to apply to the whole of the works carried out under this Contract. The Contractor shall be deemed to have allowed in his tender for all costs in respect of all items described in the Preliminaries section of the Bills of Quantities. In the absence of any sum against any item or items , any monetary cost attributable thereto shall be deemed to be included elsewhere in the Preliminaries section or the unit rates for the measured works. The documents forming the Contract are to be taken as mutually explanatory to one another and any sum inserted here shall be deemed to cover the complete requirements of the Conditions of Contract, In the event of no amounts being inserted by the Contractor in respect of this Bill, no relative payment will be included in interim payments and the final All prices quoted in this tender are exclusive of V.A.T, but inclusive of all applicable Taxes and Levies. The contractor will be responsible for obtaining and incurring all expenses related to any permits that might be required by the local council and for any other fees that might become due to the local council or the competent authorities, bodies and /or agencies in relation to obstruction to traffic and pedestrians, necessary hoardings etc. Prior to submitting this tender document, the contractor is required to consult with the local council in relation to all requirements to carry out the scope of works of this tender.
Health and Safety
1 | Allow all costs for the employment of a licenced Health and Safety Officer for the entire duration of the Contract. The officer shall be responsible for enforcing all health and safety measures required by law, preparation of risk assessments for approval and work in conjuction with the H&S Officer appointed by the Employer. The Contractor shall also make provisions for a services of Fire Marshal during the works, in order to prevent any fires caused by Hot Works and other risks. | 1 | LS |  |  | INC | INC
Regular Cleaning
1.003 | Daily clean the site from any debris or material which may be intentionally or accidentally deposited during the course of works and during the transportation of material to the approariate disposal point | 1 | LS |  |  | INC | INC
Preliminary Review of Project
1.004 | The contractor shall obtain all the required operational information from Client, Perit and Engineers pertaining to the Risks related to Fire, so as to enable the full understanding of the design intent. The information shall include: materials, raw and finished, processes and chemicals used, quantities, packaging and storage format, shelving and stacking, ventilation requirements related to pharmaceutical industry, air pressure in rooms and corridors, safety and security, etc. | 1 | LS |  |  | INC | INC
1.005 | The contractor shall review the M&E project documentation, and understand the services that will interface or clash (in terms of routing, levels and space allocation) and thus liaise with the Engineers for solutions. Any preparatory works as well as builders' works, preparation, openings, plinths, etc must be delth with at this stage. | 1 | LS |  |  | INC | INC
Drawings
1.004 | Provision of working drawings and reengineering as necessary including updating of drawings as required and as the works proceed. | 1 | LS |  |  | INC | INC
Insurances
1.005 | Contractor's Insurance CAR Policy covering the total contract value. The contractor must also take out a professional Indemnity Insurance to cover the design and therefore its warranted Engineers. | 1 | LS |  |  | INC | INC
1.006 | Contractor's Insurance covering death or injury to Contractor's Personnel | 1 | LS |  |  | INC | INC
1.007 | Contractor's Insurance covering loss or damage to Contractor's plant and equipment. | 1 | LS |  |  | INC | INC
Builder's Works Drawings
1.008 | The contractor must submit detailed builders work drawings, coordinated with the M&E drawings and the Fire compartmentation drawings issued by the Fire Engineer and Perit. The builder's work must provide clear information regarding all penetrations, holes and cores needed, the position with x & y dimensions, hole diameters, etc. The drawings must also detail whether the builder or finishes contractor will need to carry out future interventions of making good. the drawings must include additional works such as plinths (dimensions), puddle flanges, overflows and sleeves, doorways or hatches for equipment access. Where contractor may need access to lifters, cherry pickers, scaffolding, crane, etc, this must be agreed upon from this stage of the project. | 1 | LS |  |  | INC | INC
Others
1.009 | Provision of mobile toilets facilities on site, incl. emptying, cleaning etc | 1 | LS |  |  | by client | by client
1.01 | Provision of security services on site | 1 | LS |  |  | by client | by client
1.011 | Provision of CONTRACTOR MEP Project management | 1 | LS |  |  | INC | INC
1.012 | Prepare coordinated drawings for all services | 1 | LS |  |  | INC | INC
1.014 | Any other works, Contractor to list | 1 | LS |  |  | INC | INC
| TOTAL FOR PRELIMINARIES in € exc VAT | [5 empty] | INC
*INC. = included, LS= lump sump, m= meters, No. =Number
SPRINKLER INSTALLATION
ITEM | DESCRIPTION | QTY | UNIT |  |  | RATE EXC. VAT | TOTAL EXC. VAT
4 | Take over design , reengineer and produce coordinated working drawings | 1 | LS |  |  | INC | INC
Supply, install and connect the following medium gauge galvanised steel pipework including all brackets, fittings etc
4.001 | 25mm | 16 | m |  |  |  | 0
4.002 | 32mm | 2 | m |  |  |  | 0
4.003 | 50mm | 8 | m |  |  |  | 0
4.004 | Supply, install and connect Pendent type Sprinkler Quick Response, K80, 68DegC, concealed | 2 | No. |  |  |  | 0
4.005 | Supply, install and connect, Sidewall type Sprinkler Quick Response, K80, 68DegC, escutcheon plate | 5 | No. |  |  |  | 0
4.006 | Flexibles, if required | 2 | No. |  |  |  | 0
4.007 | White Cover plate for concealed sprinkler | 2 | No. |  |  |  | 0
Builder's Work
4.008 | Allow for all builder's work penetrations in structural walls, slabs or ceilings and including making good c/w with rendering and painting around pipework penetrations up to 300x300mm size | 1 | L.S. |  |  | INC | INC
4.009 | Allow for sealing of all M&E pentrations with fire collars, fire bags, and fire retardant foam of the intumescent type, for all penetrations carried out in the building crossing fire zones/compartments/barriers. Refer to Fire Safety Report for fire compartments & REI rating. All fire zone sealing to be individually labeled, photographed and documented in a fire file. | 1 | L.S. |  |  | INC | INC
Ancillary Items
4.01 | Provision for extra structures, brackets, fittings etc required to mount equipment | 1 | L.S. |  |  | INC | INC
| TOTAL FOR SPRINKLER SYSTEM in € exc VAT | [5 empty] | 0
VENTILATION INSTALLATION
ITEM | DESCRIPTION | QTY | UNIT | Total Material Cost | Total Labour Hours | RATE EXC. VAT | TOTAL EXC. VAT
6 | Take over design , reengineer and produce coordinated working drawings | 1 | LS |  |  | INC | INC
Supply and install the following mixed flow fans including power supply connection, all conduit,trunking, chasing, penetrations, sleeves, wiring and all other items necessary for a complete and functional system
SF 01 [Delta P to be as per selected accessories] for bedroom
6.001 | 30 litres/sec mixed flow fan including electrical connection to double pole provided, complete. Fan to be very silent with silencers if required | 1 | LS | 2.2 | 0.6 | 24.28 | 24.28
6.002 | Motorised 0-10V damper with leakage Class 3 to EN1751-2014 which will be connected to the RMS system for modulation control of damper by CO2 sensor feedback | 1 | LS | 2.2 | 0.6 | 24.28 | 24.28
6.003 | Washable Class F7 filter with Filter Box | 1 | LS |  |  |  | 0
6.004 | Circular ducting with 13mm insulation to sealing class A, Ductwork designed to operate at a static pressure greater than 750 Pa. Sealing to EN 15727-2010, UNI EN 1507-2008, UNI EN 12237-2004, and UNI EN 13403-2004 standards are applicable | 1 | LS |  |  |  | 0
6.005 | Flexible ducting to connect to fan and grille | 1 | LS |  |  |  | 0
6.006 | Extract grille | 1 | LS |  |  |  | 0
6.007 | Extra over to achieve < NC30 or 35dBA | 1 | LS |  |  | INC | INC
6.008 | Provide an indirect OA monitroing devices such as differential pressure sensor, airflow switch or current trasnducer on supply fan, complete with wiring to main door | 1 | LS | 180 | 0 | 234 | 234
EF 01 [Delta P to be as per selected accessories] for shower and toilet
6.009 | 50 litres/sec mixed flow fan including electrical connection to double pole provided, delay off timer | 1 | LS | 2.2 | 0.6 | 24.28 | 24.28
6.01 | Circular ducting with 13mm insulation . Ductwork designed to operate at a static pressure greater than 750 Pa. Sealing to EN 15727-2010, UNI EN 1507-2008, UNI EN 12237-2004, and UNI EN 13403-2004 standards are applicable | 1 | LS |  |  |  | 0
6.011 | Disc Valve | 2 | LS |  |  |  | 0
6.012 | Extract grille | 1 | LS |  |  |  | 0
6.013 | Extra over to achieve < NC30 or 35dBA | 1 | LS |  |  | INC | INC
6.014 | Non motorised back draft damper with leakage Class 3 to EN1751-2014 | 1 | LS |  |  |  | 0
0
| Kitchen hood | [5 empty] | 0
6.015 | Circular ducting | 1 | LS |  |  |  | 0
6.016 | Non motorised back draft damper with leakage Class 3 to EN1751-2014 | 1 | LS |  |  |  | 0
6.017 | Extract grille | 1 | LS |  |  |  | 0
0
| Builder's Work | [5 empty] | 0
6.018 | Allow for all builder's work penetrations in structural walls, slabs or ceilings and including making good c/w with rendering and painting around pipework penetrations up to 300x300mm size | 1 | L.S. |  |  |  | 0
6.019 | Allow for sealing of all M&E pentrations with fire collars, fire bags, and fire retardant foam of the intumescent type, for all penetrations carried out in the building crossing fire zones/compartments/barriers. Refer to Fire Safety Report for fire compartments & REI rating. All fire zone sealing to be individually labeled, photographed and documented in a fire file. | 1 | L.S. |  |  |  | 0
0
| Labelling | [5 empty] | 0
6.02 | Supply and install labelling using proper fixing adhesive on all salient equipment such as pipes, valves, cables, switchgear | 1 | L.S. |  |  | INC | INC
Ancillary Items
6.021 | Provision for extra structures, brackets, fittings etc required to mount equipment | 1 | L.S. |  |  | INC | INC
6.022 | Testing, commissioning & Certification of all installations | 1 | L.S. |  |  |  | 0
6.023 | Supply two sets of printed as-fitted drawings and operation manuals and one copy in electronic format | 1 | L.S. |  |  |  | 0
| TOTAL FOR VENTILATION INSTALLATION in € exc VAT |  |  | 186.6 | 1.8 |  | 306.84
AIR CONDITIONING INSTALLATION
ITEM | DESCRIPTION | QTY | UNIT | Total Material Cost | Total Labour Hours | RATE EXC. VAT | TOTAL EXC. VAT
7 | Take over design , reengineer and produce coordinated working drawings | 1 | LS |  |  | INC | INC
0
| Supply and install the following indoor units | [5 empty] | 0
0
7.001 | Concealed indoor unit for 3.5kW bedroom complete with supply and return grille, c/w wall mounted controller, chased conduit, wiring, connection to double pole. Indoor model to be compatabile with water cooled outdoor VR units range. | 1 | No. |  |  |  | 0
7.002 | Wall mounted controller | 1 | No. | 2.16 | 0.52 | 21.37 | 21.37
7.003 | Provide means of having ac indoor unit fan working without outdoor, with speed hi-med-low modes for noise level similuation | 1 | LS |  |  |  | 0
Extra over to achieve < NC30 or 35dBA
| Note. The controller to be suitable for hotel, (important this is not an over complicated type of control), The controller or the indoor unit must have dry contact to enable/disable unit. Any power supplies to be included if requried. | [5 empty] | 0
7.004 | Concealed indoor unit for 7.1kW main living area complete with supply and return grille | 1 | No. |  |  |  | 0
7.005 | Wall mounted controller | 1 | No. | 2.16 | 0.52 | 21.37 | 21.37
7.006 | Pheonlic ducting 600X200, the resistance R of the insulation must not exceed R-0.6, Ductwork designed to operate at a static pressure greater than 750 Pa. Sealing to EN 15727-2010, UNI EN 1507-2008, UNI EN 12237-2004, and UNI EN 13403-2004 standards are applicable | 4 | m |  |  |  | 0
7.007 | Transformation pieces | 1 | LS
7.007 | Provide means of having ac indoor unit fan working without outdoor, with speed hi-med-low modes for noise level similuation | 1 | LS | NA | NA | 0 | 0
7.008 | Extra over to achieve < NC30 or 35dBA | 1 | LS
7.008 | Supply and install all copper pipes for the above 2 air-conditioning units, connecting VR indoor units, including all refnets, copper to copper welding, brackets and supports, and 25mm closed cell insulation | 1 | LS |  |  |  | 0
0
7.009 | Supply and install in appropriate gradient u-PVC drain pipes complete with 13mm insulation and including all fittings, brackets and supports for both indoor units | 1 | LS |  |  |  | 0
0
| Builder's Work | [5 empty] | 0
7.01 | Allow for all builder's work penetrations in structural walls, slabs or ceilings and including making good c/w with rendering and painting around pipework penetrations up to 300x300mm size | 1 | L.S. |  |  |  | 0
7.011 | Allow for sealing of all M&E pentrations with fire collars, fire bags, and fire retardant foam of the intumescent type, for all penetrations carried out in the building crossing fire zones/compartments/barriers. Refer to Fire Safety Report for fire compartments & REI rating. All fire zone sealing to be individually labeled, photographed and documented in a fire file. | 1 | L.S. |  |  |  | 0
0
| TOTAL FOR AIR CONDITIONING INSTALLATION in € exc VAT |  |  | 4.32 | 1.04 |  | 42.74
PROVISION FOR DAY RATES AND MAINTENANCE INSTALLATION
ITEM | DESCRIPTION | QTY | UNIT |  |  | RATE EXC. VAT | TOTAL EXC. VAT
Day works: Provide and Supervise as directed the following:
8 | Technician | 1 | hr |  |  |  | rate
8.001 | Skilled tradesman | 1 | hr |  |  |  | rate
8.002 | Labourer/Mate | 1 | hr |  |  |  | rate
| TOTAL FOR DAY RATES & MAINTENANCE in € exc VAT | [5 empty] | rate
PLUMBING INSTALLATION
ITEM | DESCRIPTION | QTY | UNIT |  |  | RATE EXC. VAT | TOTAL EXC. VAT
11 | Take over design , reengineer and produce coordinated working drawings | 1 | LS |  |  | INC | INC
| Supply and install the following pipework, (chased in wall, buried or fixed to blockwork), including fittings, brackets, wall plates etc for a complete system | [5 empty] | 0
0
11.001 | PROVISIONAL Supply, install and connect a temporary Ø25mm composite PPR SDR 7.4 for temporary water supply to sample room | 25 | m |  |  |  | 0
0
11.002 | Supply, install and connect all Hot, cold and return pipework in sample room, complete with brackets, fittings, wall plates etc for a complete system. Hot and Return pipe work to have 25mm thick insulation | 1 | LS |  |  |  | 0
| Supply, install and connect Isolating valve from same pipe manufacturer | [5 empty] | 0
11.003 | Ø25mm | 3 | LS |  |  |  | 0
| Plumbing hot and cold using Polyprop pipe work, the following plumbing points: Note. Hot and Return pipe work to have 25mm thick insulation | [5 empty] | 0
11.004 | Wash hand basin - hot and cold | 1 | No. |  |  |  | 0
11.005 | Sink - hot and cold | 1 | No. |  |  |  | 0
11.006 | Dishwasher - cold only | 1 | No. |  |  |  | 0
11.007 | Toilet - cold only | 1 | No. |  |  |  | 0
11.008 | Shower mixer concealed - hot and cold | 1 | No. |  |  |  | 0
11.009 | Shower head | 1 | No. |  |  |  | 0
11.01 | Hand shower | 1 | No. |  |  |  | 0
0
| Prepare Drains for the following: | [5 empty] | 0
11.011 | Wash hand basin | 1 | No. |  |  |  | 0
11.012 | Sink | 1 | No. |  |  |  | 0
11.013 | Toilet | 1 | No. |  |  |  | 0
11.014 | Shower tray | 1 | No. |  |  |  | 0
0
| Install only the following : | [5 empty] | 0
11.015 | Wash hand basin, mixer and waste | 1 | No. |  |  |  | 0
11.016 | Kitchen sink, mixer and waste | 1 | No. |  |  |  | 0
11.017 | Connect dishwasher waste | 1 | No. |  |  |  | 0
11.018 | WC and flushing | 1 | No. |  |  |  | 0
11.019 | Shower mixer concealed | 1 | No. |  |  |  | 0
11.02 | Hand shower | 1 | No. |  |  |  | 0
11.021 | Shower head | 1 | No. |  |  |  | 0
11.022 | Shower tray | 1 | No. |  |  |  | 0
11.023 | Shower glass | 1 | No. |  |  |  | 0
11.024 | Mirror | 1 | No. |  |  |  | 0
11.025 | Other accessories such as Toilet paper holder, Tower rail, hook, toothbrush holder, soap dispenser - rate per accessory | 6 | No. |  |  |  | 0
0
| Shower Tray drain - supplied by others | [5 empty] | 0
11.026 | Supply only Angle Valves and Flexibles | 5 | No. |  |  |  | 0
11.027 | Install only Angle Valves and Flexibles | 5 | No. |  |  |  | 0
0
| Builder's Work | [5 empty] | 0
11.028 | Allow for all builder's work penetrations in structural walls, slabs or ceilings and including making good c/w with rendering and painting around pipework penetrations up to 300x300mm size | 1 | L.S. |  |  | INC | inc
11.029 | Allow for sealing of all M&E pentrations with fire collars, fire bags, and fire retardant foam of the intumescent type, for all penetrations carried out in the building crossing fire zones/compartments/barriers. Refer to Fire Safety Report for fire compartments & REI rating. All fire zone sealing to be individually labeled, photographed and documented in a fire file. | 1 | L.S. |  |  | INC | inc
0
| Labelling | [5 empty] | 0
11.03 | Supply and install labelling using proper fixing adhesive on all salient equipment such as pipes, valves, cables, switchgear | 1 | L.S. |  |  | INC | inc
0
| Ancillary Items | [5 empty] | 0
11.031 | Provision for extra structures, brackets, fittings etc required to mount equipment | 1 | L.S. |  |  | inc | inc
11.032 | Testing, commissioning & Certification of all installations | 1 | L.S. |  |  | INC | inc
11.033 | Supply two sets of printed as-fitted drawings and operation manuals and one copy in electronic format | 1 | L.S. |  |  | INC | inc
| TOTAL FOR PLUMBING INSTALLATION in € exc VAT | [5 empty] | 0
FIRE FIGHTING EQUIPMENT
Supply and install the following fire extinguishers
12 | Fire blanket | 1 | No |  |  |  | 0
| TOTAL FOR FIRE FIGHTING EQUIPMENT in € exc VAT | [5 empty] | 0
ANCILLERIES AND UNBILLED ITEMS
ITEM | DESCRIPTION | QTY | UNIT |  |  | RATE EXC. VAT | TOTAL EXC. VAT
| TOTAL FOR UNBILLED ITEMS in € exc VAT | [5 empty] | 0
Mock Up Room
COLLECTION PAGE
1 | TOTAL FOR PRELIMINARIES in € exc VAT | [5 empty] | INC
2
3
4 | TOTAL FOR SPRINKLER SYSTEM in € exc VAT | [5 empty] | 0
5
6 | TOTAL FOR VENTILATION INSTALLATION in € exc VAT |  |  | 186.6 | 1.8 |  | 306.84
7 | TOTAL FOR AIR CONDITIONING INSTALLATION in € exc VAT |  |  | 4.32 | 1.04 |  | 42.74
8 | TOTAL FOR DAY RATES & MAINTENANCE in € exc VAT | [5 empty] | rate
9
10 | TOTAL FOR PLUMBING INSTALLATION in € exc VAT | [5 empty] | 0
11 | TOTAL FOR FIRE FIGHTING EQUIPMENT in € exc VAT | [5 empty] | 0
12 | TOTAL FOR UNBILLED ITEMS in € exc VAT | [5 empty] | 0
| GRAND TOTAL IN EUROs exc VAT |  |  | 190.92 | 2.84 |  | 349.58
[6 empty] | GENSET??? | 80000
[6 empty] | LIFT | 60000
[6 empty] | LIFT | 40000
180349.58