## Notes
NOTES | Rev: 235
checkdesc
ELECTRICAL | Elec_Rates
Elec_Est
Dist Boards | Elv_Rates
1 | ELV_Est
2 | Ext_Quote
Int_Quote
Wiring Accessories | Est_BOQ
1
2 | Camilleri&Cuschieri Tenders
Conduit
ELV | Wiring
Supply
Fire Alarm
1
2
3
Data
1
2
3

## ML_Sum
| CLIENT: | 1 | Portomaso |  |  | FALSE | FALSE | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | € | Recon /Lab.Cont >> | R | 1 | 1 | BOQ | x | x | x | x | x | x | x
| PROJECT: | 1 | Portomaso Phase 4 |  | Controls | FALSE |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | A) 1-1 | 1 | 27.46 |  |  | x | x | x | x | x | x | x
| JOB DESC: | 1 | Heat Meters as per SI2 |  | Preliminaries | FALSE |  | 3 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | B) 1-1 | 1 | 27.46 |  |  | x | x | x | x | x | x | x
| INT. QUOT No: | 1 | EL |  | BMS - Pair | FALSE |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | C) 1-1.24 | 1 | 34 |  |  | x | x | x | x | x | x | x
| CLIENTs REF: | 1 |  |  | BMS - Tech | FALSE |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | D) 1-0.8 | 1 | 22 |  |  | x | x | x | x | x | x | x
| VAT: | 1 | VAT EXCL. |  | BMS - Engineer | FALSE |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | E) 1-1.09 | 1 | 30 |  |  | x | x | x | x | x | x | x
| SAVED ON: | 1 |  |  |  | FALSE |  | 7 | 1 | 1 | 1 | 1 | 1 |  |  |  | F) |  |  |  |  | x | x | x | x | x | x | x
| ESTIMATOR: | 1 | G. Baranyay |  |  | FALSE |  | 8 | 1 | 1 | 1 | 1 | 1 |  |  |  | G) |  |  |  |  | x | x | x | x | x | x | x
| LAB. COST: | 1 | 27.46 | Cost for 2025 |  | FALSE |  | 9 | 1 | 1 | 1 | 1 | 1 |  |  |  | H) |  |  |  |  | x | x | x | x | x | x | x
|  | 1 |  |  |  | FALSE |  | 10 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | I) |  |  |  |  | x | x | x | x | x | x | x
|  | 1 | [14 empty] | J) |  |  |  |  | x | x | x | x | x | x | x
|  | 1 |  |  |  | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS | SYSTEMS |  | MIXED - X,Y ) | MAT MU | LAB RATE |  |  | x | x | x | x | x | x | x
| MATERIAL & LABOUR SUMMARY |  |  |  |  | ItemCode | CostCode | MAKE | PART_NO | MARKUP | TYPE | LIST_P | SET | FIX | DATE | %Dsct in BOQ | MATMU-LABMU | MAT CONT >> | 1
[22 empty] | x | x | x | x | x | x | x
[16 empty] | 0% | Average Discount applied in BOQ (Q2-Q12) |  |  |  |  | x | x | x | x | x | x | x
[16 empty] | 0% | Average Discount applied on Totals (Q23-Q32) |  |  |  |  | x | x | x | x | x | x | x
[16 empty] | 0% | Overall Discount
CHECKLIST INCOMPLETE !
[16 empty] | 2.9258 | Overall Markup (Final Selling Excl.VAT/Total Cost )
|  |  |  | DISCOUNTED | SELLING | [10 empty] | % Discnt | MATERIAL |  | LABOUR
Discy.A-J | Markup/LRate |  |  | SELLING € | € | VAT/DISC | MU | LABRATE | LABCOST | [6 empty] | on Totals | € |  | Pair Hrs.
|  |  | Controls | 0 | 0 | 1 | 1 | 27.46 | 27.46 | [7 empty] | 0 |  | 0
|  |  | Preliminaries | 0 | 0 | 1 | 1 | 27.46 | 27.46 | [7 empty] | 0 |  | 0
0 | A) 1, 34 |  | BMS - Pair | 13271.91 | 13271.91 | 1 | 1 | 34 | 27.46 | [7 empty] | 12829.91 |  | 13
|  |  | BMS - Tech | 0 | 0 | 1 | 1 | 22 | 21.44 | [7 empty] | 0 |  | 0
|  |  | BMS - Engineer | 0 | 0 | 1 | 1 | 30 | 30 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
|  |  |  | 0 | 0 | 1 | 0 | 0 | 27.46 | [7 empty] | 0 |  | 0
MIXED
Discy.L | 13271.91 |  |  | 13271.91 | 13271.91 | [11 empty] | 12829.91 |  | 13
0.00 | BOQ TOTAL |  |  | ESTIM TOTAL (€)
1.125 | <1 Actual LabCont | [15 empty] | 4426.28 | C.C.Totals | 4
<2 Phrs @ 1.00
| <3 Phrs @ Actual | [14 empty] | Discy.T >> | -8403.63 | PRINT | -9
| Values Only on : |  | 2001-01-01 | values only | values only | [11 empty] | values only |  | values only
REMARKS:
1) VAT and Duties as above.
2)
ESTIMATOR: |  |  | G. Baranyay | [12 empty] | APPROVED BY:
SIGNED: | [15 empty] | DATE APPROVED:
FILE LOCATION: |  |  | V:\2. Awarded Jobs\2. Projects\P224 - Holiday Inn\1. Estimate\[Holiday_Inn_Variation_Light_Circuits_Pool_(P224.4.10_R0.1).xlsx]E_BOQ
PANTA CONTRACTING LTD. - ELECTRICAL DIVISION
CONTRACT / VARIATION INPUT DOCUMENT
Copy to:-
|  |  | Client: | Portomaso | [13 empty] | Ms. S. Magri
|  |  | Project: | Portomaso Phase 4 | [13 empty] | Mr. K. Micallef
|  |  | Job Description: | Heat Meters as per SI2 | [13 empty] | Mr. A. Sciberras
|  |  | Quote No: | EL
|  |  | Client's Ref: | 0
File:-
File No:
Ext. Ref:
Contract /Variation (Excl. VAT)
|  | 13271.91 |  | Estim.Sell before Discounts excl.VAT (€): | 13271.91
|  |  |  | Overall Discount: | 0%
|  |  |  | Final Sell after Discounts excl.VAT (€): | 13271.91
|  |  |  | Labour Rate - | 27.46 | [11 empty] | Mech. Cost to us
|  |  | Mat. Cost | Labour | Total Cost | [11 empty] | Sell Excl.VAT / Total Cost
|  |  | € | Pair.Hrs | €
|  |  | 4426.28 | 4 | 4536.12 | [11 empty] | 2.9258
( From CostCode Totals )
Advanced Payment:
Retention:
Awarded Date:
Estimated Start Date:
Estimated Completion Date:
.................
|  |  | A. Sciberras | [13 empty] | Date issued:
2025-09-22 14:03
PANTA CONTRACTING LTD. - ELECTRICAL DIVISION
ELECTRICAL AND ELV CONTRACT / VARIATION BUDGET COST
|  |  | Project: | Portomaso Phase 4
|  |  | Job Desc: | Heat Meters as per SI2
|  |  | Client's Ref: | 0
|  |  | COSTCODE |  | Cost | [10 empty] | Mat. | Mat Cost | Lab Cost @ | Labour
[5 empty] | Code | [10 empty] | Cont. | € | 27.46 | Pair.Hrs
| V:56 |  | BOQ RateOnly Items | [11 empty] | FIX | 1
| 1(J) | cc | Erection materials |  | 501 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 2 | cc | Busbar Trunking |  | 505 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 3 | cc | Switchgear |  | 510 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 4 | cc | MCC Equipment |  | 511 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 5 | cc | BMS Equipment |  | 512 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 6 | cc | PVC Pipes / Ducts |  | 520 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 7 | cc | High/medium voltage switchgear |  | 530 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 8 | cc | Power Transformers |  | 550 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 9 | cc | Control Panels |  | 570 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 10 | cc | Electrical Single Core Cables |  | 615 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 11(K) | cc | Electrical Multicore Cables |  | 616 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 12 | cc | ELV/BMS/Special Cables |  | 617 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 13 | cc | Cable Accessories |  | 620 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 14 | cc | Galv. Cable Trays |  | 650 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 15 | cc | PVC Cable Trays |  | 651 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 16 | cc | Galv. Cable Basket |  | 652 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 17 | cc | Galv. Cable Ladder |  | 654 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 18 | cc | Galv. Cable Trunking |  | 675 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 19 | cc | Alum. Cable Trunking |  | 676 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 20 | cc | PVC Cable Trunking |  | 680 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 21(L) | cc | Underfloor Cable Trunking |  | 681 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 22 | cc | Galv. Conduit |  | 690 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 23 | cc | PVC Conduit |  | 700 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 24 | cc | Wiring Accessories |  | 705 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 25 | cc | Dimming Equipment |  | 706 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 26 | cc | Fire Alarm Equipment |  | 725 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 27 | cc | Fire Barriers |  | 726 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 28 | cc | Security Alarm System |  | 750 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 29 | cc | Access Control |  | 751 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 30 | cc | Hotel Electronic Lock |  | 752 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 31(M) | cc | Sub-Contracting Installation Elec |  | 753 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 32 | cc | Timing Equipment |  | 770 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 33 | cc | Public Address |  | 790 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 34 | cc | Voice Alarm Equipment |  | 791 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 35 | cc | Lightning / Bonding System |  | 810 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 36 | cc | T.V System |  | 815 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 37 | cc | UPS/Voltage Stabilisers |  | 820 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 38 | cc | Data Network Equipment |  | 821 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 39 | cc | Light Fittings |  | 835 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 40 | cc | Generators, AMF Panels |  | 845 | [9 empty] | 2 | 1 | 0 | 0 | 0
| 41(N) | cc | Telephone Equipment |  | 855 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 42 | cc | Intercom |  | 856 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 43 | cc | Mechanical for Electrical |  | 857 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 44 | cc | Nurse Call |  | 858 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 45 | cc | C.C.T.V. Equipment |  | 865 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 46 | cc | Tools and Instruments |  | 870 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 47 | cc | Consumbles |  | 875 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 48 | cc | Drawings/Manuals |  | 880 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 49 | cc | Spare Parts |  | 885 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 50 | cc | Labour |  | 900 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 51(O) | cc | Dismantling (Labour Only) |  | 901 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 52 | cc | Testing & Commissioning |  | 902 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 53 | cc | Sub-Contracting Works |  | 960 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 54 | cc | Enemalta Application |  | 961 | [9 empty] | 3 | 1 | 0 | 0 | 0
| 55 | cc | Crainage and Transportation |  | 962 | [9 empty] | 1 | 1 | 0 | 0 | 0
| 57 | cc | Controllers |  | 410 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 58 | cc | Controller Modules |  | 411 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 59 | cc | Signal Cable |  | 412 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 60 | cc | Modbus Cable |  | 413 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 61 | cc | CAT Cable |  | 414 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 62 | cc | Control Panels MCC DDC Security Fire |  | 415 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 63 | cc | Field Devices |  | 416 | [9 empty] | 4 | 1 | 4426.28 | 109.84 | 4
| 64 | cc | DALI - KNX |  | 417 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 65 | cc | Fire Equipment |  | 418 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 66 | cc | Data Networks Equipment |  | 419 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 67 | cc | Panel Building |  | 420 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 68 | cc | Termination, Point Testing, FAT |  | 421 | [9 empty] | 4 | 1 | 0 | 0 | 0
| 56 | cc | Provisional Sum |  | 970 | [9 empty] | 4 | 1 | 0 | 0 | 0
|  |  | Totals | [13 empty] | 4426.28 | 109.84 | 4
|  | cc |  |  | Fix 1 |  | 1 | [9 empty] | 0 |  | 0 |  | 000Termination, Point Testing, FAT
|  | cc |  |  | Fix 2 |  | 2 | [9 empty] | 0 |  | 0
|  | cc |  |  | Fix 3 |  | 2 | [9 empty] | 0 |  | 0
|  | cc |  |  | Others |  | 3 | [9 empty] | 4426.28 |  | 4
|  | cc |  |  | TOTAL | [11 empty] | 4426.28 |  | 4
.................
A. Sciberras
2025-09-22 14:03
Comment / Change in Scope
1.Form/0Mat
2.VAT
3.DiscyA-J
4.MU/LabRate
5.Ov.Dsct/MU
6ab.Lab.Cont.
7.Mat.Cont.
8.BOQ
9.Recon.
11.ValsOnly
10.Avg.Rates OK?
Note on C1: Michael Vella: Insert Foreign Currency here (say: 1.55 - $US) and change Q1 accordingly
Note on W1: Michael Vella: BOQ - Use numbers in BOQ column TDWG - Use numbers in TDWG column ACT - Use numbers in ACT column DIF_TD - Use (TDWG - BOQ) difference DIF_A - Use (ACT - BOQ) difference
Note on R2: Michael Vella: When you want to uplift markups to offset a discount, first generate your estimate without any discount and paste the estimate totals as values-only. Then divide markups by (1-Dsct%) to get to your original values-only totals.
Note on B3: Michael Vella: When job description starts with "Supply only" and the Quote No. is "EL" then the Quote Title in the Quote worksheet will change from PANTA CONTRACTING LTD to PANTA RETAIL LTD.
Note on D7: Michael Vella: Press <CTRL :> to enter the current date.
Note on R12: Michael Vella: Enter the markups used in this cell to make Mario aware eg: (MIXED I,J). Preferably dedicated markups should be used for the mixed subitems which are not used anywhere else. Also the same discount value should then be entered for all three (MIXED, I and J)
Note on A33: Michael Vella: Select MIXED if mixed markups are used. Leave empty if mixed markups are not used.
Note on C33: Michael Vella: If a <%Discount on Totals> is required on Mixed Item Blocks you must use dedicated markups (say I and J) for the SubItems that make up these blocks. These markups must then NOT be used for anything else in this estimate. Enter the markups used in this cell to make Mario aware as (MIXED I,J). Also the same discount value should then be entered for both these markups.
Note on R33: Michael Vella: If a <%Discount on Totals> is required on Mixed Item Blocks you must use dedicated markups (say I and J) for the SubItems that make up these blocks. These markups must then NOT be used for anything else in this estimate. Enter the markups used in this cell to make Mario aware as (MIXED I,J). Also the same discount value should then be entered for both these markups.
Note on A37: Michael Vella: Step 1. Enter the Actual Labour Contingency ($T1) used in this cell.
Note on S37: Michael Vella: Cost Code Totals for entry into P.I.T. by Amanda
Note on A38: Michael Vella: Step 2. Paste the Labour PairHours ($T35) as a value with the Labour Contingency set at 1.00 in this cell.
Note on A39: Michael Vella: Step 3. Paste the Labour PairHours ($T35) as a value with the actual Labour Contingency used in this cell.
Note on S39: Michael Vella: Select <Test for 0.00> and confirm that DiscyT are both 0.00, then make sure that you select PRINT again before printing.
Note on D41: Michael Vella: Press <CTRL :> to enter the current date.

## Quote
PANTA CONTRACTING LIMITED
ELECTRICAL INTERNAL QUOTATION
| ATT: | [15 empty] | Dated: | 2025-09-22 14:03
| CLIENT: | Link to ML_SUM $D1 | Portomaso
| PROJECT: | Link to ML_SUM $D2 | Portomaso Phase 4
| JOB DESC: | Link to ML_SUM $D3 | Heat Meters as per SI2
| QUOTE No: | Link to ML_SUM $D4 | EL
| CLIENT's Ref: | Link to ML_SUM $D5 | 0
|  |  | Selling Price (€) : | 13271.91 | VAT EXCL. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED. | VAT EXCLUDED.
Signed for and on behalf of | [15 empty] | Signed for and on behalf of
Electrical Division | [15 empty] | Division
Records
Mr. A. Sciberras
File
CONDITIONS:
1) Payment as per contract.
2) Quote is valid for 30 days from above date.
3) Commencement - to be confirmed at time of order.
4) Works await approval in order to proceed. 5) Execution Approx. ?? working weeks
9) We have assumed that we will be allowed to work unhindered between 7.00 to 15.30 on weekdays.
EXCLUSIONS:
1) Any builders' work except conduit chases in walls / as per contract.
2) Work outside our normal working hours.
3) Security of the works after normal working hours.
4) Cutting of holes in gypsum partitions or false ceilings to accommodate electrical devices.
5) Dismantling of any existing installation / false ceiling / furnishings unless included in attached BOQ.
6) Anything not mentioned in our Bill of Quantities.
NOTES:
Notes:
Cost includes:
a.Supply of TEMs along with data sheets and manuals.
b.MBUS Connectivity
c.
TEMs have a Tmax of 55°C.
2.
Cost excludes:
a.Labour hours for installation.
b.Passing of Mbus cable.
c.Engineering hours to connect to BMS.
d.Power to the TEMs.
DESCRIPTION OF WORKS / SPECIFICATIONS:
1) As per the attached BOQ. / This quotation covers the supply, installation and commissioning ……..
2) Technical literature for the items offered is attached.
3)
4)
5)
6)

## Elec_Rates
| CLIENT: | 1 | Portomaso |  | 0 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | € | R/Lab Cont | R | 1 | BOQ | INCL | MULT | AREA | BOQ | TDWG | ACT | DIFF
| PROJECT: | 1 | Portomaso Phase 4 |  | Controls |  |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_A | 1 | 27.46
| JOB DESC: | 1 | Heat Meters as per SI2 |  | Preliminaries |  |  | 3 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_B | 1 | 27.46
| QUOTE No: | 1 | EL |  | BMS - Pair |  |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_C | 1 | 34
| CLIENTs REF: | 1 | 0 |  | BMS - Tech |  |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_D | 1 | 22
| VAT/DUTIES: | 1 | VAT EXCL. |  | BMS - Engineer |  |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_E | 1 | 30
| SAVED ON: | 1 | 2007-10-09 |  | 0 |  |  | 7 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_F | 0 | 0
| ESTIMATOR: | 1 | G. Baranyay |  | 0 |  |  | 8 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_G | 0 | 0
| LABOUR RATE: | 1 | 27.46 |  | 0 |  |  | 9 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_H | 0 | 0
|  | 1 |  |  | 0 |  |  | 10 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_I | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | mu_J | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | MIXED | MAT MU | LAB RATE
[6 empty] | I_CODE | C_CODE | MAKE | PART_NO | MARKUP | TYPE | LIST_P | P_FACT | FIX | DATE | %Dsct in BOQ | MU TYPE | MAT MU | LAB RATE
|  | t | Item:
Start Typing Header
Multip
1 | 0 |  | 000# Controllers | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | Controllers |  |  | BMSE_001 | 410 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# Controller Modules | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | Controller Modules |  |  | BMSE_001 | 411 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# Signal Cable | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | Signal Cable |  |  | BMSE_001 | 412 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# Modbus Cable | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | Modbus Cable |  |  | BMSE_001 | 413 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# CAT Cable | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | CAT Cable |  |  | BMSE_001 | 414 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# Control Panels MCC DDC Security Fire | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | Control Panels MCC DDC Security Fire |  |  | BMSE_001 | 415 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# Field Devices | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | Field Devices |  |  | BMSE_001 | 416 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# DALI - KNX | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | DALI - KNX |  |  | BMSE_001 | 417 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# Fire Equipment | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | Fire Equipment |  |  | BMSE_001 | 418 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# Data Networks Equipment | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | Data Networks Equipment |  |  | BMSE_001 | 419 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# Panel Building | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | Panel Building |  |  | BMSE_001 | 420 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# Termination, Point Testing, FAT | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
1 | No |  | Termination, Point Testing FAT |  |  | BMSE_001 | 421 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
Multip
1 | 0 |  | 000# | [6 empty] | RATE | RATE |  |  |  |  | 0 | 0 |  | 0
Based on:
[17 empty] | 0 |  | 0
[17 empty] | 0 |  | 0
[17 empty] | 0 |  | 0
[17 empty] | 0 |  | 0
[17 empty] | 0 |  | 0
|  | << ==== TOTAL UNITS | [14 empty] | 0 |  | 0
d> | 0 |  | Sell_A | 0 | 0 |  |  |  |  | ITEM | ITEM | [5 empty] | 0 |  | 0
END!
END! |  |  | RATE SHEET GRAND TOTAL | [13 empty] | MATERIAL |  | LABOUR
END!
END! |  |  | COMPONENTS | [7 empty] | COMP_RT | [5 empty] | 0 |  | 0
END! |  |  | RATE SUMS (ITEMS) | [7 empty] | ITEM_RT | [5 empty] | 0 |  | 0
SB!
| V:56 |  |  | COSTCODE TOTAL | [12 empty] | 0 |  | 0
| 1 | cc | Erection materials |  | 501 | [9 empty] | 1 |  | 0 |  | 0
| 2 | cc | Busbar Trunking |  | 505 | [9 empty] | 1 |  | 0 |  | 0
| 3 | cc | Switchgear |  | 510 | [9 empty] | 2 |  | 0 |  | 0
| 4 | cc | MCC Equipment |  | 511 | [9 empty] | 2 |  | 0 |  | 0
| 5 | cc | BMS Equipment |  | 512 | [9 empty] | 2 |  | 0 |  | 0
| 6 | cc | PVC Pipes / Ducts |  | 520 | [9 empty] | 1 |  | 0 |  | 0
| 7 | cc | High/medium voltage switchgear |  | 530 | [9 empty] | 2 |  | 0 |  | 0
| 8 | cc | Power Transformers |  | 550 | [9 empty] | 2 |  | 0 |  | 0
| 9 | cc | Control Panels |  | 570 | [9 empty] | 2 |  | 0 |  | 0
| 10 | cc | Electrical Single Core Cables |  | 615 | [9 empty] | 2 |  | 0 |  | 0
| 11 | cc | Electrical Multicore Cables |  | 616 | [9 empty] | 2 |  | 0 |  | 0
| 12 | cc | ELV/BMS/Special Cables |  | 617 | [9 empty] | 2 |  | 0 |  | 0
| 13 | cc | Cables accessories |  | 620 | [9 empty] | 2 |  | 0 |  | 0
| 14 | cc | Galv. Cable Trays |  | 650 | [9 empty] | 1 |  | 0 |  | 0
| 15 | cc | PVC Cable Trays |  | 651 | [9 empty] | 1 |  | 0 |  | 0
| 16 | cc | Galv. Cable Basket |  | 652 | [9 empty] | 1 |  | 0 |  | 0
| 17 | cc | Galv. Cable Ladder |  | 654 | [9 empty] | 1 |  | 0 |  | 0
| 18 | cc | Galv. Cable Trunking |  | 675 | [9 empty] | 1 |  | 0 |  | 0
| 19 | cc | Alum. Cable Trunking |  | 676 | [9 empty] | 1 |  | 0 |  | 0
| 20 | cc | PVC Cable Trunking |  | 680 | [9 empty] | 1 |  | 0 |  | 0
| 21 | cc | Underfloor Cable Trunking |  | 681 | [9 empty] | 1 |  | 0 |  | 0
| 22 | cc | Galv. Conduit |  | 690 | [9 empty] | 1 |  | 0 |  | 0
| 23 | cc | PVC Conduit |  | 700 | [9 empty] | 1 |  | 0 |  | 0
| 24 | cc | Wiring Accessories |  | 705 | [9 empty] | 3 |  | 0 |  | 0
| 25 | cc | Dimming Equipment |  | 706 | [9 empty] | 3 |  | 0 |  | 0
| 26 | cc | Fire Alarm Equipment |  | 725 | [9 empty] | 3 |  | 0 |  | 0
| 27 | cc | Fire Barriers |  | 726 | [9 empty] | 3 |  | 0 |  | 0
| 28 | cc | Security Alarm System |  | 750 | [9 empty] | 3 |  | 0 |  | 0
| 29 | cc | Access Control |  | 751 | [9 empty] | 3 |  | 0 |  | 0
| 30 | cc | Hotel Electronic Lock |  | 752 | [9 empty] | 3 |  | 0 |  | 0
| 31 | cc | Sub-Contracting Installation Elec |  | 753 | [9 empty] | 3 |  | 0 |  | 0
| 32 | cc | Timing Equipment |  | 770 | [9 empty] | 3 |  | 0 |  | 0
| 33 | cc | Public Address |  | 790 | [9 empty] | 3 |  | 0 |  | 0
| 34 | cc | Voice Alarm Equipment |  | 791 | [9 empty] | 3 |  | 0 |  | 0
| 35 | cc | Lightning / Bonding System |  | 810 | [9 empty] | 3 |  | 0 |  | 0
| 36 | cc | T.V System |  | 815 | [9 empty] | 3 |  | 0 |  | 0
| 37 | cc | UPS/Voltage Stabilisers |  | 820 | [9 empty] | 2 |  | 0 |  | 0
| 38 | cc | Data Network Equipment |  | 821 | [9 empty] | 3 |  | 0 |  | 0
| 39 | cc | Light Fittings |  | 835 | [9 empty] | 3 |  | 0 |  | 0
| 40 | cc | Generators, AMF Panels |  | 845 | [9 empty] | 2 |  | 0 |  | 0
| 41 | cc | Telephone Equipment |  | 855 | [9 empty] | 3 |  | 0 |  | 0
| 42 | cc | Intercom |  | 856 | [9 empty] | 3 |  | 0 |  | 0
| 43 | cc | Mechanical for Electrical |  | 857 | [9 empty] | 3 |  | 0 |  | 0
| 44 | cc | Nurse Call |  | 858 | [9 empty] | 3 |  | 0 |  | 0
| 45 | cc | C.C.T.V. Equipment |  | 865 | [9 empty] | 3 |  | 0 |  | 0
| 46 | cc | Tools and Instruments |  | 870 | [9 empty] | 4 |  | 0 |  | 0
| 47 | cc | Consumbles |  | 875 | [9 empty] | 1 |  | 0 |  | 0
| 48 | cc | Drawings/Manuals |  | 880 | [9 empty] | 3 |  | 0 |  | 0
| 49 | cc | Spare Parts |  | 885 | [9 empty] | 4 |  | 0 |  | 0
| 50 | cc | Labour |  | 900 | [9 empty] | 3 |  | 0 |  | 0
| 51 | cc | Dismantling (Labour Only) |  | 901 | [9 empty] | 1 |  | 0 |  | 0
| 52 | cc | Testing & Commissioning |  | 902 | [9 empty] | 3 |  | 0 |  | 0
| 53 | cc | Sub-Contracting Works |  | 960 | [9 empty] | 4 |  | 0 |  | 0
| 54 | cc | Enemalta Application |  | 961 | [9 empty] | 3 |  | 0 |  | 0
| 55 | cc | Crainage and Transportation |  | 962 | [9 empty] | 1 |  | 0 |  | 0
| 57 | cc | Controllers |  | 410 | [9 empty] | 4 |  | 0 |  | 0
| 58 | cc | Controller Modules |  | 411 | [9 empty] | 4 |  | 0 |  | 0
| 59 | cc | Signal Cable |  | 412 | [9 empty] | 4 |  | 0 |  | 0
| 60 | cc | Modbus Cable |  | 413 | [9 empty] | 4 |  | 0 |  | 0
| 61 | cc | CAT Cable |  | 414 | [9 empty] | 4 |  | 0 |  | 0
| 62 | cc | Control Panels MCC DDC Security Fire |  | 415 | [9 empty] | 4 |  | 0 |  | 0
| 63 | cc | Field Devices |  | 416 | [9 empty] | 4 |  | 0 |  | 0
| 64 | cc | DALI - KNX |  | 417 | [9 empty] | 4 |  | 0 |  | 0
| 65 | cc | Fire Equipment |  | 418 | [9 empty] | 4 |  | 0 |  | 0
| 66 | cc | Data Networks Equipment |  | 419 | [9 empty] | 4 |  | 0 |  | 0
| 67 | cc | Panel Building |  | 420 | [9 empty] | 4 |  | 0 |  | 0
| 68 | cc | Termination, Point Testing, FAT |  | 421 | [9 empty] | 4 |  | 0 |  | 0
| 56 | cc | Provisional Sum |  | 970 | [9 empty] | 4 |  | 0 |  | 0
|  | cc |  |  | Fix 1 |  | 1 | [9 empty] | 0 |  | 0
|  | cc |  |  | Fix 2 |  | 2 | [9 empty] | 0 |  | 0
|  | cc |  |  | Fix 3 |  | 2 | [9 empty] | 0 |  | 0
|  | cc |  |  | Others |  | 3 | [9 empty] | 0 |  | 0
|  | cc |  |  | TOTAL | [11 empty] | 0 |  | 0

## Elec_Est
| CLIENT: | 1 | Portomaso |  | 0 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | € | R/Lab Cont | R | 1 | BOQ | INCL | MULT | AREA | BOQ | TDWG | ACT | DIFF
| PROJECT: | 1 | Portomaso Phase 4 |  | Controls |  |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_A | 1 | 27.46
| JOB DESC: | 1 | Heat Meters as per SI2 |  | Preliminaries |  |  | 3 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_B | 1 | 27.46
| QUOTE No: | 1 | EL |  | BMS - Pair |  |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_C | 1 | 34
| CLIENTs REF: | 1 | 0 |  | BMS - Tech |  |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_D | 1 | 22
| VAT/DUTIES: | 1 | VAT EXCL. |  | BMS - Engineer |  |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_E | 1 | 30
| SAVED ON: | 1 | 2007-10-09 |  | 0 |  |  | 7 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_F | 0 | 0
| ESTIMATOR: | 1 | G. Baranyay |  | 0 |  |  | 8 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_G | 0 | 0
| LABOUR RATE: | 1 | 27.46 |  | 0 |  |  | 9 | 1 | 1 | 1 | 1 | 1 | 0 |  | 0 | mu_H | 0 | 0
|  | 1 |  |  | 0 |  |  | 10 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | mu_I | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | mu_J | 0 | 0
|  | 1 |  |  | 0 | [10 empty] | 0 | MIXED | MAT MU | LAB RATE
[6 empty] | ISELL | C_CODE | MAKE | PART_NO | MARKUP | TYPE | LIST_P | P_FACT | FIX | DATE | %Dsct in BOQ | MU TYPE | MAT MU | LAB RATE | [13 empty] | Tot Mat Cost | Unit Lab phr. | Tot Lab phr. | < for ELM / MEE
TB
|  | t | Item: 1.0
Supply only of:
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | U_L_Phr | T_L_Phr | Mat/Lab=1
2 | No |  | Item: 1.0a | 2043.64 | 4087.28 | ISELL |  |  |  | mu_C | ITEM | [7 empty] | mu: 1.01 | [8 empty] | 1975.64 | 3951.28 | 68 | 136 | 4087.28 | 3951.28 | 2 | 4 | 7910.56
|  |  | Thermal Meter on AHU/11 & AHU/12 (Chilled Pipes) | [6 empty] | n
0 | No |  | Field Devices |  |  | BMSE_001 | 416 | (__) | [5 empty] | 3 |  |  | 0 |  | 0
2 | No. |  | UH50-C74-00 | UH50-C74-00 Cont ultras c/f 40m3/h no alim |  | BMSE_001 | 416 | (__) | [7 empty] | 1720.47 | 3440.94 | 2 | 4
2 | No. |  | WZU-MBG4 | WZU-MBG4 scheda MBus G4 per UH50 |  | BMSE_001 | 416 | (__) | [7 empty] | 48.69 | 97.38 |  | 0
4 | No. |  | WZT-S150 | WZT-S150 Guaina per sonde L150mm |  | BMSE_001 | 416 | (__) | [7 empty] | 40.74 | 162.96 |  | 0
0 | No. |  | WZU-AC110/230-15 | WZU-AC110/230-15 Modulo 110/230V x UH50 |  | BMSE_001 | 416 | (__) | [7 empty] | 47.58 | 0 |  | 0
2 | No. |  | WZU-BD-HALT |  |  | BMSE_001 | 416 | (__) | [7 empty] | 75 | 150 |  | 0
2 | No. |  | (Siemens - AJ Electric) | Shipping |  | BMSE_001 | 416 | (__) | [7 empty] | 50 | 100 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_C | ITEM | [5 empty] | 3951.28 |  | 4
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | U_L_Phr | T_L_Phr | Mat/Lab=1
2 | No |  | Item: 1.0b | 1209.35 | 2418.7 | ISELL |  |  |  | mu_C | ITEM | [7 empty] | mu: 1.01 | [8 empty] | 1141.35 | 2282.7 | 68 | 136 | 2418.7 | 2282.7 | 2 | 4 | 4573.4
|  |  | Thermal Meter on AHU/11 & AHU/12 (Heating Pipes) | [6 empty] | n
2 | No. |  | UH50-C60-00 | UH50-C60-00 Cont ultras c/f 10m3/h no alim | [11 empty] | 907.32 | 1814.64 | 2 | 4
2 | No. |  | WZU-MBG4 | WZU-MBG4 scheda MBus G4 per UH50 | [11 empty] | 48.69 | 97.38 |  | 0
4 | No. |  | WZT-S100 | WZT-S100 Guaina per sonde L100mm | [11 empty] | 30.17 | 120.68 |  | 0
0 | No. |  | WZU-AC110/230-15 | WZU-AC110/230-15 Modulo 110/230V x UH50 | [11 empty] | 47.58 | 0 |  | 0
2 | No. |  | WZU-BD-HALT |  |  | BMSE_001 | 416 | (__) | [7 empty] | 75 | 150 |  | 0
2 | No. |  | (Siemens - AJ Electric) | Shipping |  | BMSE_001 | 416 | (__) | [7 empty] | 50 | 100 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_C | ITEM | [5 empty] | 2282.7 |  | 4
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | U_L_Phr | T_L_Phr | Mat/Lab=1
1 | No |  | Item: 1.0C | 4752 | 4752 | ISELL |  |  |  | mu_C | ITEM | [7 empty] | mu: 1 | [8 empty] | 4650 | 4650 | 102 | 102 | 4752 | 4650 | 3 | 3 | 4653
|  |  | Thermal Meter on Pumps Ref PC3/ 1& 2 (Chilled Water Pumps) | [6 empty] | n
1 | No. |  | 7ME3400-2CC00-3EA3 | 7ME3400-2CC00-3EA3-Z C12+C15+E21+W28 | SITRANS FUS380 - Vedi quotazione prezzo netto | [10 empty] | 3500 | 3500 | 2 | 2
1 | No. |  | 7ME3480-2BF35-2BH0 | 7ME3480-2BF35-2BH0 | SITRANS FUE950 - Vedi quotazione prezzo netto | [10 empty] | 1050 | 1050 | 1 | 1
2 | No. |  | (Siemens - AJ Electric) | Shipping |  | BMSE_001 | 416 | (__) | [7 empty] | 50 | 100 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_C | ITEM | [5 empty] | 4650 |  | 3
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | U_L_Phr | T_L_Phr | Mat/Lab=1
1 | No |  | Item: 1.0C | 2013.93 | 2013.93 | ISELL |  |  |  | mu_C | ITEM | [7 empty] | mu: 1.01 | [8 empty] | 1945.93 | 1945.93 | 68 | 68 | 2013.93 | 1945.93 | 2 | 2 | 1947.93
|  |  | Thermal Meter on Pumps Ref PH3/ 1& 2 (Heating Water Pumps) | [6 empty] | n
1 | No. |  | UH50-C70-00 | UH50-C70-00 Cont ultras c/f 25m3/h no alim | [11 empty] | 1711.9 | 1711.9 | 2 | 2
1 | No. |  | WZU-MBG4 | WZU-MBG4 scheda MBus G4 per UH50 | [11 empty] | 48.69 | 48.69 |  | 0
2 | No. |  | WZT-S100 | WZT-S100 Guaina per sonde L100mm | [11 empty] | 30.17 | 60.34 |  | 0
0 | No. |  | WZU-AC110/230-15 | WZU-AC110/230-15 Modulo 110/230V x UH50 | [11 empty] | 47.58 | 0 |  | 0
1 | No. |  | WZU-BD-HALT |  |  | BMSE_001 | 416 | (__) | [7 empty] | 75 | 75 |  | 0
1 | No. |  | (Siemens - AJ Electric) | Shipping |  | BMSE_001 | 416 | (__) | [7 empty] | 50 | 50 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_C | ITEM | [5 empty] | 1945.93 |  | 2
TB
|  | t | Item: 2.0
Supply and install the pockets in pipework for the following ultrasonic meters:
|  |  |  | Sell Rate | Sell Total |  |  |  |  | IB | [17 empty] | U_M_Sell | T_M_Sell | U_L_Sell | T_L_Sell | Total_Sell | T_M_Cost | T_L_Phr | Mat/Lab=1
1 | No |  | Item: 2.0a | 0 | 0 | ISELL |  |  |  | mu_C | ITEM | [7 empty] | 0.00 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Temperature probes (supply and return) for the above thermal meters | [6 empty] | n
6 | No. |  | Included on Thermal Meters | [13 empty] | 0 |  | 0
[17 empty] | 0 |  | 0
d> | 0 |  |  |  |  | ICOST |  |  |  | mu_C | ITEM | [5 empty] | 0 |  | 0
SB
| -85.02 |  | PAGE : |  | 13271.91 | [5 empty] | PAGE | [5 empty] | 12829.91 |  | 13
| Disc: |  |  |  | PAGE SELL | [11 empty] | PAGE MAT |  | PAGE LAB
[29 empty] | T_M_Sell |  | T_L_Sell | Total_Sell
SB! | [28 empty] | 12829.91 |  | 442 | 13271.91
| 0 | cc |  | Controls (mu_A) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | Preliminaries (mu_B) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | BMS - Pair (mu_C) : | 13271.91 | [11 empty] | 12829.91 |  | 13 | [9 empty] | 12829.91 |  | 442
| 0 | cc |  | BMS - Tech (mu_D) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | BMS - Engineer (mu_E) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_F) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_G) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_H) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 | cc |  | 0 (mu_I) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
| 0 |  |  | 0 (mu_J) : | 0 | [11 empty] | 0 |  | 0 | [9 empty] | 0 |  | 0
|  | MATERIAL SUMMARY |  | MU SUMMARY TOTAL | 13271.91 | ISELL | [10 empty] | 12829.91 |  | 13 | [9 empty] | 12829.91 |  | 442 | 13271.91
[29 empty] | 0 |  | 0 | 0
| Discy with |  |  | MATERIAL ITEMS TOTAL | [6 empty] | COMP_GT | [5 empty] | 12829.91 |  | 13
equal Mus
| 85.02 |  |  | BOQ ITEMS TOTAL | 13271.91 | [5 empty] | ITEM_GT | [5 empty] | 12829.91 |  | 13
| 85.02 |  |  | PAGES TOTAL | 13271.91 | [5 empty] | PAGE_GT | [5 empty] | 12829.91 |  | 13
SB | 0 |  |  | SECTIONS TOTAL | 0 | [5 empty] | SECT_GT | [5 empty] | 0 |  | 0
END!
| V:56 |  |  | COSTCODE TOTAL | [12 empty] | 4426.28 |  | 4
| 1 | cc | Erection materials |  | 501 | [9 empty] | 1 |  | 0 |  | 0
| 2 | cc | Busbar Trunking |  | 505 | [9 empty] | 1 |  | 0 |  | 0
| 3 | cc | Switchgear |  | 510 | [9 empty] | 2 |  | 0 |  | 0
| 4 | cc | MCC Equipment |  | 511 | [9 empty] | 2 |  | 0 |  | 0
| 5 | cc | BMS Equipment |  | 512 | [9 empty] | 2 |  | 0 |  | 0
| 6 | cc | PVC Pipes / Ducts |  | 520 | [9 empty] | 1 |  | 0 |  | 0
| 7 | cc | High/medium voltage switchgear |  | 530 | [9 empty] | 2 |  | 0 |  | 0
| 8 | cc | Power Transformers |  | 550 | [9 empty] | 2 |  | 0 |  | 0
| 9 | cc | Control Panels |  | 570 | [9 empty] | 2 |  | 0 |  | 0
| 10 | cc | Electrical Single Core Cables |  | 615 | [9 empty] | 2 |  | 0 |  | 0
| 11 | cc | Electrical Multicore Cables |  | 616 | [9 empty] | 2 |  | 0 |  | 0
| 12 | cc | ELV/BMS/Special Cables |  | 617 | [9 empty] | 2 |  | 0 |  | 0
| 13 | cc | Cables accessories |  | 620 | [9 empty] | 2 |  | 0 |  | 0
| 14 | cc | Galv. Cable Trays |  | 650 | [9 empty] | 1 |  | 0 |  | 0
| 15 | cc | PVC Cable Trays |  | 651 | [9 empty] | 1 |  | 0 |  | 0
| 16 | cc | Galv. Cable Basket |  | 652 | [9 empty] | 1 |  | 0 |  | 0
| 17 | cc | Galv. Cable Ladder |  | 654 | [9 empty] | 1 |  | 0 |  | 0
| 18 | cc | Galv. Cable Trunking |  | 675 | [9 empty] | 1 |  | 0 |  | 0
| 19 | cc | Alum. Cable Trunking |  | 676 | [9 empty] | 1 |  | 0 |  | 0
| 20 | cc | PVC Cable Trunking |  | 680 | [9 empty] | 1 |  | 0 |  | 0
| 21 | cc | Underfloor Cable Trunking |  | 681 | [9 empty] | 1 |  | 0 |  | 0
| 22 | cc | Galv. Conduit |  | 690 | [9 empty] | 1 |  | 0 |  | 0
| 23 | cc | PVC Conduit |  | 700 | [9 empty] | 1 |  | 0 |  | 0
| 24 | cc | Wiring Accessories |  | 705 | [9 empty] | 3 |  | 0 |  | 0
| 25 | cc | Dimming Equipment |  | 706 | [9 empty] | 3 |  | 0 |  | 0
| 26 | cc | Fire Alarm Equipment |  | 725 | [9 empty] | 3 |  | 0 |  | 0
| 27 | cc | Fire Barriers |  | 726 | [9 empty] | 3 |  | 0 |  | 0
| 28 | cc | Security Alarm System |  | 750 | [9 empty] | 3 |  | 0 |  | 0
| 29 | cc | Access Control |  | 751 | [9 empty] | 3 |  | 0 |  | 0
| 30 | cc | Hotel Electronic Lock |  | 752 | [9 empty] | 3 |  | 0 |  | 0
| 31 | cc | Sub-Contracting Installation Elec |  | 753 | [9 empty] | 3 |  | 0 |  | 0
| 32 | cc | Timing Equipment |  | 770 | [9 empty] | 3 |  | 0 |  | 0
| 33 | cc | Public Address |  | 790 | [9 empty] | 3 |  | 0 |  | 0
| 34 | cc | Voice Alarm Equipment |  | 791 | [9 empty] | 3 |  | 0 |  | 0
| 35 | cc | Lightning / Bonding System |  | 810 | [9 empty] | 3 |  | 0 |  | 0
| 36 | cc | T.V System |  | 815 | [9 empty] | 3 |  | 0 |  | 0
| 37 | cc | UPS/Voltage Stabilisers |  | 820 | [9 empty] | 2 |  | 0 |  | 0
| 38 | cc | Data Network Equipment |  | 821 | [9 empty] | 3 |  | 0 |  | 0
| 39 | cc | Light Fittings |  | 835 | [9 empty] | 3 |  | 0 |  | 0
| 40 | cc | Generators, AMF Panels |  | 845 | [9 empty] | 2 |  | 0 |  | 0
| 41 | cc | Telephone Equipment |  | 855 | [9 empty] | 3 |  | 0 |  | 0
| 42 | cc | Intercom |  | 856 | [9 empty] | 3 |  | 0 |  | 0
| 43 | cc | Mechanical for Electrical |  | 857 | [9 empty] | 3 |  | 0 |  | 0
| 44 | cc | Nurse Call |  | 858 | [9 empty] | 3 |  | 0 |  | 0
| 45 | cc | C.C.T.V. Equipment |  | 865 | [9 empty] | 3 |  | 0 |  | 0
| 46 | cc | Tools and Instruments |  | 870 | [9 empty] | 4 |  | 0 |  | 0
| 47 | cc | Consumbles |  | 875 | [9 empty] | 1 |  | 0 |  | 0
| 48 | cc | Drawings/Manuals |  | 880 | [9 empty] | 3 |  | 0 |  | 0
| 49 | cc | Spare Parts |  | 885 | [9 empty] | 4 |  | 0 |  | 0
| 50 | cc | Labour |  | 900 | [9 empty] | 3 |  | 0 |  | 0
| 51 | cc | Dismantling (Labour Only) |  | 901 | [9 empty] | 1 |  | 0 |  | 0
| 52 | cc | Testing & Commissioning |  | 902 | [9 empty] | 3 |  | 0 |  | 0
| 53 | cc | Sub-Contracting Works |  | 960 | [9 empty] | 4 |  | 0 |  | 0
| 54 | cc | Enemalta Application |  | 961 | [9 empty] | 3 |  | 0 |  | 0
| 55 | cc | Crainage and Transportation |  | 962 | [9 empty] | 1 |  | 0 |  | 0
| 57 | cc | Controllers |  | 410 | [9 empty] | 4 |  | 0 |  | 0
| 58 | cc | Controller Modules |  | 411 | [9 empty] | 4 |  | 0 |  | 0
| 59 | cc | Signal Cable |  | 412 | [9 empty] | 4 |  | 0 |  | 0
| 60 | cc | Modbus Cable |  | 413 | [9 empty] | 4 |  | 0 |  | 0
| 61 | cc | CAT Cable |  | 414 | [9 empty] | 4 |  | 0 |  | 0
| 62 | cc | Control Panels MCC DDC Security Fire |  | 415 | [9 empty] | 4 |  | 0 |  | 0
| 63 | cc | Field Devices |  | 416 | [9 empty] | 4 |  | 4426.28 |  | 4
| 64 | cc | DALI - KNX |  | 417 | [9 empty] | 4 |  | 0 |  | 0
| 65 | cc | Fire Equipment |  | 418 | [9 empty] | 4 |  | 0 |  | 0
| 66 | cc | Data Networks Equipment |  | 419 | [9 empty] | 4 |  | 0 |  | 0
| 67 | cc | Panel Building |  | 420 | [9 empty] | 4 |  | 0 |  | 0
| 68 | cc | Termination, Point Testing, FAT |  | 421 | [9 empty] | 4 |  | 0 |  | 0
| 56 | cc | Provisional Sum |  | 970 | [9 empty] | 4 |  | 0 |  | 0
|  | cc |  |  | Fix 1 |  | 1 | [9 empty] | 0 |  | 0
|  | cc |  |  | Fix 2 |  | 2 | [9 empty] | 0 |  | 0
|  | cc |  |  | Fix 3 |  | 2 | [9 empty] | 0 |  | 0
|  | cc |  |  | Others |  | 3 | [9 empty] | 4426.28 |  | 4
|  | cc |  |  | TOTAL | [11 empty] | 4426.28 |  | 4
| RATE TOTALS IN CURRENT SHEET | RATE TOTALS IN CURRENT SHEET
| 0 |  | 000# Controllers
| 0 |  | 000# Controller Modules
| 0 |  | 000# Signal Cable
| 0 |  | 000# Modbus Cable
| 0 |  | 000# CAT Cable
| 0 |  | 000# Control Panels MCC DDC Security Fire
| 0 |  | 000# Field Devices
| 0 |  | 000# DALI - KNX
| 0 |  | 000# Fire Equipment
| 0 |  | 000# Data Networks Equipment
| 0 |  | 000# Panel Building
| 0 |  | 000# Termination, Point Testing, FAT
| 0 |  | 000#
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
| 0 |  | #REF!
SB!
Note on AK76: Michael Vella: This cell should be exactly equal to the MU SUMMARY TOTAL.
Note on AH88: Michael Vella: This discrepancy must be small
Note on AJ88: Michael Vella: This discrepancy must be small
Note on AK88: Michael Vella: This discrepancy must be small

## E_BOQ
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
checkdesc |  |  |  | € | €
1.0 | Supply only of:
1.0a | Thermal Meter on AHU/11 & AHU/12 (Chilled Pipes) | 2 | No | 2043.64 | 4087.28
1.0b | Thermal Meter on AHU/11 & AHU/12 (Heating Pipes) | 2 | No | 1209.35 | 2418.7
1.0C | Thermal Meter on Pumps Ref PC3/ 1& 2 (Chilled Water Pumps) | 1 | No | 4752 | 4752
1.0C | Thermal Meter on Pumps Ref PH3/ 1& 2 (Heating Water Pumps) | 1 | No | 2013.93 | 2013.93
2.0 | Supply and install the pockets in pipework for the following ultrasonic meters:
2.0a | Temperature probes (supply and return) for the above thermal meters | 1 | No | 0 | 0
Page Total -
Contract Discount -
SB | Discounted Page Total - |  | VAT EXCL. | € | 13271.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
SB |  |  |  | System total - carried forward to summary page : | 0
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
SB |  |  |  | System total - carried forward to summary page : | 0
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
SB |  |  |  | System total - carried forward to summary page : | 0
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
SB |  |  |  | System total - carried forward to summary page : | 0
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
SB |  |  |  | System total - carried forward to summary page : | 0
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
SB |  |  |  | System total - carried forward to summary page : | 0
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
SB |  |  |  | System total - carried forward to summary page : | 0
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
SB |  |  |  | System total - carried forward to summary page : | 0
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | TOTAL
|  |  |  | € | €
SB |  |  |  | System total - carried forward to summary page : | 0
Remember to edit Page Totals !

## E_DBOQ
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0
ITEM | DESCRIPTION | QTY |  |  |  | UNIT | RATE | TOTAL | Unit | Total
|  | BOQ | TDWG | ACT | DIFF |  | € | € | Hrs | Hrs
SB |  |  |  |  | System total - carried forward to summary page : |  | VAT EXCL. | 0 |  | 0